## GSM V1.0
MT8820A GSM LabVIEW Driver Ver1.1_ List of GPIB Command vs.LabVIEW Driver Function
| GPIB Command Name | LabVIEW Driver Function Name
1 | AIFLSCL[?] | MT8820 Audio Input Level.vi
2 | AIGAIN[?] | MT8820 Encoder Input Gain.vi
3 | AINOUT[?] | MT8820 Audio Input Output Connector .vi
4 | ALLMEAS? | MT8820 All Fundamental Measurement Results GSM.vi
5 | ALLMEASITEMS[?] | MT8820 All Fundamental Measurement Items GSM.vi
6 | AMICVOL[?] | MT8820 Handset Microphone Volume.vi
7 | AOFLSCL[?] | MT8820 Audio Output Level.vi
8 | ASPVOL[?] | MT8820 Handset Speaker Volume.vi
9 | AUEXTLOSS[?] | MT8820 External Aux Loss.vi
10 | AVG_CARRF? | MT8820 Carrier Frequency Average.vi
11 | AVG_CARRFERR? | MT8820 Carrier Frequency Error Average.vi
12 | AVG_LMODPWR? | MT8820 RF Output Spectrum Mod Lower Average.vi
13 | AVG_LSWPWR? | MT8820 RF Output Spectrum Switching Lower Average.vi
14 | AVG_MAGTDERR? | MT8820 Magnitude Error Average.vi
15 | AVG_MAXPWR? | MT8820 Power Flatness MAX Power Average.vi
16 | AVG_MINPWR? | MT8820 Power Flatness MIN Power Average.vi
17 | AVG_OFFPWR? | MT8820 Carrier Off Power Average.vi
18 | AVG_PHASEERR? | MT8820 RMS Phase Vector Error Average.vi
19 | AVG_PPHASEERR? | MT8820 Peak Phase Vector Error Average.vi
20 | AVG_PTLEAD? | MT8820 Power vs Time Leading Average.vi
21 | AVG_PTTRAIL? | MT8820 Power vs Time Trailing Average.vi
22 | AVG_PWRTEMP? | MT8820 Template Judgment Average.vi
23 | AVG_RATIO? | MT8820 Power Ratio Average.vi
24 | AVG_TMALMENT? | MT8820 Time Alignment Average.vi
25 | AVG_TXPWR? | MT8820 TX Power Average.vi
26 | AVG_UMODPWR? | MT8820 RF Output Spectrum Mod Upper Average.vi
27 | AVG_USWPWR? | MT8820 RF Output Spectrum Switching Upper Average.vi
28 | BANDCAL | MT8820 Band Calibration.vi
29 | BER? | MT8820 Bit Error Rate Ratio GSM.vi
30 | BERCNT? | MT8820 Bit Error Rate Count GSM.vi
31 | BERRECEIVE? | MT8820 Bit Error Rate Received Bits.vi
32 | BER_INPUTCLK[?] | MT8820 Bit Error Rate Input Data Clock Edge.vi
33 | BER_INPUTPOL[?] | MT8820 Bit Error Rate Input Polarity.vi
34 | BER_MEASINPUT[?] | MT8820 Bit Error Rate Measurement Input.vi
35 | BER_MEAS[?] | MT8820 Bit Error Rate Measurement Mode.vi
36 | BER_SAMPLE[?] | MT8820 Bit Error Rate Number Of Samples GSM.vi
37 | BITOFS[?] | MT8820 Bit Offset.vi
38 | BLER? | MT8820 Block Error Rate.vi
39 | BLERCNT? | MT8820 Block Error Rate Count.vi
40 | BLERPOLINT[?] | MT8820 Block Error Rate Polling Interval.vi
41 | BLERRECEIVE? | MT8820 Block Error Rate Receive Count.vi
42 | BLER_MEAS[?] | MT8820 Block Error Rate Measurement Mode.vi
43 | BLER_SAMPLE[?] | MT8820 Block Error Rate Number Of Samples.vi
44 | CALLCA[?] | MT8820 Neighbour Cell Channel.vi
45 | CALLCVALUE? | MT8820 C Value Query.vi
46 | CALLERR? | MT8820 Call Processing Error GSM.vi
47 | CALLIMEI? | MT8820 IMEI Query.vi
48 | CALLIMSI? | MT8820 IMSI Query.vi
49 | CALLITFLVL? | MT8820 Interference Level Query.vi
50 | CALLNCELL? | MT8820 Adjacent Cell Monitoring.vi
51 | CALLNWNO? | MT8820 Network Phone Number Query.vi
52 | CALLPROC[?] | MT8820 Call Processing Mode.vi
53 | CALLPWRCLASS? | MT8820 MS Power Class.vi
54 | CALLPWRTA? | MT8820 MS Power Level And Timing Advance.vi
55 | CALLREP? | MT8820 RX Level And Quality.vi
56 | CALLRFR | MT8820 Refresh Call Status.vi
57 | CALLRSLT? | MT8820 Call Processing Result GSM.vi
58 | CALLSA | MT8820 Call Start.vi
59 | CALLSIGVAR? | MT8820 Signal Variance Query.vi
60 | CALLSO | MT8820 Call Stop.vi
61 | CALLSTAT? | MT8820 Call Processing Status GSM.vi
62 | CARRF? | MT8820 Carrier Frequency.vi
63 | CARRFERR? | MT8820 Carrier Frequency Error.vi
64 | CHAN[?] | MT8820 TCH Channel GSM.vi
65 | CODEC[?] | MT8820 Codec.vi
66 | CONNTYPE[?] | MT8820 Connection Type.vi
67 | CONTS | MT8820 Continuous Sweep Mode.vi
68 | CS[?] | MT8820 Coding Scheme.vi
69 | CTRLCH[?] | MT8820 CCH Channel.vi
70 | CTRLDLFREQ[?] | MT8820 CCH Downlink Frequency.vi
71 | CTRLULFREQ[?] | MT8820 CCH Uplink Frequency.vi
72 | DLEXTLOSS[?] | MT8820 External Down Link Loss GSM.vi
73 | DLFREQ[?] | MT8820 TCH Downlink Frequency.vi
74 | EXTLOSSW[?] | MT8820 External Loss Mode.vi
75 | FULLCAL | MT8820 Full Calibration.vi
76 | HOTYPE[?] | MT8820 Handover Type.vi
77 | ILVLCTRL[?] | MT8820 Input Level Control.vi
78 | ILVL[?] | MT8820 Input Level GSM.vi
79 | IMSI[?] | MT8820 Int Mobile Sub Identity.vi
80 | ITEMLIST[?] | MT8820 Parameter Items Displayed GSM.vi
81 | LAC[?] | MT8820 Location ID.vi
82 | LBTYPE[?] | MT8820 Loop Back Type.vi
83 | LMODPWR? | MT8820 RF Output Spectrum Mod Lower.vi
84 | LOOPBACK[?] | MT8820 Loop Back Mode.vi
85 | LSWPWR? | MT8820 RF Output Spectrum Switching Lower.vi
86 | LVLCONT[?] | MT8820 RF Output Level Continuous Mode.vi
87 | LVL[?] | MT8820 RF Output Level Mode.vi
88 | MAGTDERR? | MT8820 Magnitude Error.vi
89 | MAXPWR? | MT8820 Power Flatness Maximum.vi
90 | MAX_CARRFERR? | MT8820 Carrier Frequency Error Maximum.vi
91 | MAX_LMODPWR? | MT8820 RF Output Spectrum Mod Lower Maximum.vi
92 | MAX_LSWPWR? | MT8820 RF Output Spectrum Switching Lower Maximum.vi
93 | MAX_MAGTDERR? | MT8820 Magnitude Error Maximum.vi
94 | MAX_MAXPWR? | MT8820 Power Flatness MAX Power Maximum.vi
95 | MAX_MINPWR? | MT8820 Power Flatness MIN Power Maximum.vi
96 | MAX_OFFPWR? | MT8820 Carrier Off Power Maximum.vi
97 | MAX_PHASEERR? | MT8820 RMS Phase Vector Error Maximum.vi
98 | MAX_PPHASEERR? | MT8820 Peak Phase Vector Error Maximum.vi
99 | MAX_PTLEAD? | MT8820 Power VS Time Leading Maximum.vi
100 | MAX_PTTRAIL? | MT8820 Power VS Time Trailing Maximum.vi
101 | MAX_PWRTEMP? | MT8820 Template Judgement Maximum.vi
102 | MAX_RATIO? | MT8820 Power Ratio Maximum.vi
103 | MAX_TMALMENT? | MT8820 Time Alignment Maximum.vi
104 | MAX_TXPWR? | MT8820 TX Power Maximum.vi
105 | MAX_UMODPWR? | MT8820 RF Output Spectrum Mod Upper Maximum.vi
106 | MAX_USWPWR? | MT8820 RF Output Spectrum Switching Upper Maximum.vi
107 | MCC[?] | MT8820 Location ID MCC.vi
108 | MEASMODE[?] | MT8820 Fundamental Measurement Mode.vi
109 | MEASOBJ[?] | MT8820 Measurement Object GSM.vi
110 | MEASSLOT[?] | MT8820 Measurement Slot.vi
111 | MEASSTOP | MT8820 Stop Measurement.vi
112 | MFRMS[?] | MT8820 Multiframe Paging Period.vi
113 | MINPWR? | MT8820 Power Flatness Minimum.vi
114 | MIN_CARRFERR? | MT8820 Carrier Frequency Error Minimum.vi
115 | MIN_LMODPWR? | MT8820 RF Output Spectrum Mod Lower Minimum.vi
116 | MIN_LSWPWR? | MT8820 RF Output Spectrum Switching Lower Minimum.vi
117 | MIN_MAGTDERR? | MT8820 Magnitude Error Minimum.vi
118 | MIN_MAXPWR? | MT8820 Power Flatness MAX Power Minimum.vi
119 | MIN_MINPWR? | MT8820 Power Flatness MIN Power Minimum.vi
120 | MIN_OFFPWR? | MT8820 Carrier Off Power Minimum.vi
121 | MIN_PHASEERR? | MT8820 RMS Phase Vector Error Minimum.vi
122 | MIN_PPHASEERR? | MT8820 Peak Phase Vector Error Minimum.vi
123 | MIN_PTLEAD? | MT8820 Power VS Time Leading Minimum.vi
124 | MIN_PTTRAIL? | MT8820 Power VS Time Trailing Minimum.vi
125 | MIN_PWRTEMP? | MT8820 Template Judgement Minimum.vi
126 | MIN_RATIO? | MT8820 Power Ratio Minimum.vi
127 | MIN_TMALMENT? | MT8820 Time Alignment Minimum.vi
128 | MIN_TXPWR? | MT8820 TX Power Minimum.vi
129 | MIN_UMODPWR? | MT8820 RF Output Spectrum Mod Upper Minimum.vi
130 | MIN_USWPWR? | MT8820 RF Output Spectrum Switching Upper Minimum.vi
131 | MLTSLTCFG[?] | MT8820 Multi Slot Configuration.vi
132 | MNC[?] | MT8820 Location ID MNC.vi
133 | MOD_COUNT[?] | MT8820 Modulation Analysis Count.vi
134 | MOD_MEAS[?] | MT8820 Modulation Analysis Mode.vi
135 | MSPWR[?] | MT8820 MS Power Level.vi
136 | MSTAT? | MT8820 Measurement Status.vi
137 | NBRATE[?] | MT8820 Net Bit Rate.vi
138 | NIDBCC[?] | MT8820 Network ID BCC.vi
139 | NIDNCC[?] | MT8820 Network ID NCC.vi
140 | NWCTRLMODE[?] | MT8820 Network Control Mode.vi
141 | OFFPWR? | MT8820 Carrier Off Power.vi
142 | OLCOR[?] | MT8820 Output Level Correction.vi
143 | OLVL[?] | MT8820 Output Level.vi
144 | OPEMODE[?] | MT8820 Operating Mode.vi
145 | ORFSMD_COUNT[?] | MT8820 RF Output Spectrum Mod Count.vi
146 | ORFSMD_MEAS[?] | MT8820 RF Output Spectrum Mod Mode.vi
147 | ORFSSW_COUNT[?] | MT8820 RF Output Spectrum Switching Count.vi
148 | ORFSSW_MEAS[?] | MT8820 RF Output Spectrum Switching Mode.vi
149 | OSIGPAT[?] | MT8820 Output Signal Pattern.vi
150 | PGIMSI[?] | MT8820 Paging IMSI.vi
151 | PHASEERR? | MT8820 RMS Phase Vector Error.vi
152 | PPHASEERR? | MT8820 Peak Phase Vector Error.vi
153 | PTLEAD? | MT8820 Power VS Time Leading.vi
154 | PTTRAIL? | MT8820 Power VS Time Trailing.vi
155 | PWRTEMP? | MT8820 Power Template Result.vi
156 | PWR_COUNT[?] | MT8820 Power Measurement Count.vi
157 | PWR_LEADTM[?] | MT8820 Power VS Time Offset Leading.vi
158 | PWR_MEAS[?] | MT8820 Power Measurement Mode.vi
159 | PWR_MKRL? | MT8820 Power Marker Level.vi
160 | PWR_MKRP[?] | MT8820 Power Marker Position.vi
161 | PWR_MKR[?] | MT8820 Power Marker Mode.vi
162 | PWR_OFFLVL[?] | MT8820 Power Off Template Level Unit.vi
163 | PWR_STORAGE[?] | MT8820 Power Storage Method.vi
164 | PWR_TEMPLVL[?] | MT8820 Power Template Level.vi
165 | PWR_TEMPPOS[?] | MT8820 Power Template Measurement Postion.vi
166 | PWR_TEMPSTD | MT8820 Power Template Standard.vi
167 | PWR_TRAILTM[?] | MT8820 Power VS Time Offset Trailing.vi
168 | PWR_WIN[?] | MT8820 Power Measurement Window.vi
169 | RAC[?] | MT8820 Location ID RAC.vi
170 | RATIO? | MT8820 Power Ratio.vi
171 | RBWFLT[?] | MT8820 RF Output Spectrum Resolution Bandwidth.vi
172 | REFLVL[?] | MT8820 Input Level.vi
173 | RFLVL[?] | MT8820 Input Level.vi
174 | RFREQ[?] | MT8820 TCH Downlink Frequency.vi
175 | RXFREQ[?] | MT8820 TCH Downlink Frequency.vi
176 | RXMSTAT? | MT8820 RX Measurement Status.vi
177 | RX_TIMEOUT[?] | MT8820 RX Timeout.vi
178 | S1 | MT8820 Continuous Sweep Mode.vi
179 | S2 | MT8820 Single Sweep Mode.vi
180 | SCRACT[?] | MT8820 Active Window.vi
181 | SCREEN | MT8820 Screen Mode.vi
182 | SCRSEL[?] | MT8820 Screen Select GSM.vi
183 | SGLVL[?] | MT8820 Output Level.vi
184 | SLTNUM[?] | MT8820 TCH Slot.vi
185 | SNGLS | MT8820 Single Sweep Mode.vi
186 | SWP[?] | MT8820 Synchronous Single Sweep.vi
187 | SYSCMB[?] | MT8820 System Combination.vi
188 | TAGSEL[?] | MT8820 Tag Select GSM.vi
189 | TEMPCLS | MT8820 Template Close.vi
190 | TEMPOPN[?] | MT8820 Template Open GSM.vi
191 | TEMP_MEAS[?] | MT8820 Template Mode.vi
192 | TESTPAT[?] | MT8820 TCH Test Pattern.vi
193 | TFREQ[?] | MT8820 TCH Uplink Frequency.vi
194 | TMADVANCE[?] | MT8820 Timing Advance.vi
195 | TMALMENT? | MT8820 Time Alignment.vi
196 | TS | MT8820 Synchronous Single Sweep.vi
197 | TSPAT[?] | MT8820 Training Sequence.vi
198 | TTL_BER? | MT8820 Bit Error Rate Total.vi
199 | TTL_BLER? | MT8820 Block Error Rate Total.vi
200 | TTL_CARRFERR? | MT8820 Carrier Frequency Error Total.vi
201 | TTL_LMODPWR? | MT8820 RF Output Spectrum Mod Lower Total.vi
202 | TTL_LSWPWR? | MT8820 RF Output Spectrum Switching Lower Total.vi
203 | TTL_MAGTDERR? | MT8820 Magnitude Error Total.vi
204 | TTL_MAXPWR? | MT8820 Power Flatness MAX Power Total.vi
205 | TTL_MINPWR? | MT8820 Power Flatness MIN Power Total.vi
206 | TTL_OFFPWR? | MT8820 Carrier Off Power Total.vi
207 | TTL_PHASEERR? | MT8820 RMS Phase Vector Error Total.vi
208 | TTL_PPHASEERR? | MT8820 Peak Phase Vector Error Total.vi
209 | TTL_PTLEAD? | MT8820 Power VS Time Leading Total.vi
210 | TTL_PTTRAIL? | MT8820 Power VS Time Trailing Total.vi
211 | TTL_PWRTEMP? | MT8820 Template Judgement Total.vi
212 | TTL_RATIO? | MT8820 Power Ratio Total.vi
213 | TTL_TMALMENT? | MT8820 Time Alignment Total.vi
214 | TTL_TXPWR? | MT8820 TX Power Total.vi
215 | TTL_UMODPWR? | MT8820 RF Output Spectrum Mod Upper Total.vi
216 | TTL_USWPWR? | MT8820 RF Output Spectrum Switching Upper Total.vi
217 | TXFREQ[?] | MT8820 TCH Uplink Frequency.vi
218 | TXMSTAT? | MT8820 TX Measurement Status.vi
219 | TXPWR? | MT8820 TX Power.vi
220 | TXPWRLVL? | MT8820 TX Power Level.vi
221 | ULEXTLOSS[?] | MT8820 External Up Link Loss GSM.vi
222 | ULFREQ[?] | MT8820 TCH Uplink Frequency.vi
223 | UMODPWR? | MT8820 RF Output Spectrum Mod Upper.vi
224 | USWPWR? | MT8820 RF Output Spectrum Switching Upper.vi
225 | VDSPL[?] | MT8820 Voltage Display.vi
226 | VSTIME_MEAS[?] | MT8820 Power VS Time Mode.vi
227 | VWCLS | MT8820 View Window Close.vi
228 | VWOPN[?] | MT8820 View Window Open.vi
229 | WINSIZE[?] | MT8820 Window Size.vi
230 | XMC[?] | MT8820 Wave Memory IQ.vi
231 | XMD[?] | MT8820 Wave Memory TX Power.vi
232 | XMN[?] | MT8820 Wave Memory Magnitude Error.vi
233 | XMP[?] | MT8820 Wave Memory Phase Error.vi