## Outer Cover
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E5100-40002 | MOLDING PLASTIC, STANDOFF | 4
2 | 0515-1402 | SCREW-MACHINE W/PATCH-LK PAN-HD TORX-T15 M3.5X0.6 8MM-LG SST-302 PASSIVATED | 8
3 | 5041-9167 | FOOT - FM, 1/2M | 4
4 | 5021-2840 | KEY LOCK | 4
5 | 1460-1345 | TILT STAND 3.00X0.380X0.125-IN STAINLESS STEEL 316 PASSIVATED | 2
6 | E5061-60002 | COVER ASSEMBLY | 1
7 | 9320-6627 | SERIAL LABEL | 1 |  |  | E4982-87002
8 | E4982-87004 | LABEL NAME PLATE | 1
9 | E4982-87001 | LABEL, HANDLER IF | 1
10 | E4982-87003 | LABEL, RESERVED | 1
11 | 5012-8752 | LABEL, RESERVED | 2
12 | E5061-00243 | PANEL, REAR | 1
13 | 1401-0448 | PLUG-PORT, STRAIGHT, BLACK | 5
14 | 1401-0247 | CAP-PROT STRAIGHT FLG .612-ID .653-OD BLACK CAP-PROTECTIVE | 3
1
2
3
4
5
6
7
12
14
11
10
9
13
8

## Handle Assembly E5061-60003
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E4400-40018 | END CAP | 2
2 | E4400-00015 | GRND SPRING-S/HND | 2
3 | E5061-24001 | RETAINER, STRAP, INNER | 2
4 | E4400-20725 | RETAINER, STRAP, OUTER | 2
5 | 0515-2049 | SCREW-MACHINE W/PATCH-LK 90-DEG-FLT-HD TORX-T20 M5X0.8 16MM-LG SST-300 PASSIVATED | 2
6 | N6705-60003 | STRP,HNDL INSERT 210MM | 1
7 | N6705-60002 | STRAP HANDLE 153MM | 1
1
2
3
4
5
6
7

## Front Panel Assembly
No. | Parts Number | Description | Qty | Notes | Revision History
1 | 5041-9176 | TRIM STRIP - FM, FRONT, FRAME-TOP | 1
2 | 5041-9173 | TRIM-FR FR SIDE 1 EACH - 1 TRIM | 2
3 | 5188-4479 | KNOB RPG | 1
4 | 0515-0430 | SCREW-MACHINE W/CREST-CUP-CON-WSHR PAN-HD TORX-T10 M3X0.5 6MM-LG SST-300 PASS | 13
5 | 0515-1382 | SCREW-MACHINE W/PATCH-LK 90-DEG-FLAT-HD TORX-T15 M3.5X0.6 6MM-LG SST-302 PASSIVATED | 7
6 | E5061-61631 | CABLE ASSEMBLY, FLAT RIBBON | 1
7 | 1400-3415 | CLAMP-FLAT CABLE 56.4-MM-WD 128.5-MM-LG NYLON 6/6 GRAY | 1
8 | 0960-2972 | TOUCH SCREEN CONTROLLER BOARD, 20MHZ 5V-DC | 1
9 | 0515-1974 | SCREW-MACHINE WITH PATCH-LOCK PAN-HD TORX-T8 M2.5X0.45 4MM-LG SST-302 PASSIVATED | 2
10 | E5061-00611 | COVER, SHIELD | 1
11 | 0515-0430 | SCREW-MACHINE W/CREST-CUP-CON-WSHR PAN-HD TORX-T10 M3X0.5 6MM-LG SST-300 PASS | 6
12 | 1400-3156 | CLAMP-CABLE NYLON 6/6 | 2
13 | 0363-0170 | RFI-GASKET STRIP-FINGERS BERYLLIUM-COPPER BRIGHT DIPPED FINISH | 1
14 | 0950-4420 | INVERTER DC-AC 12VDC - 1250 VRMS | 1
15 | E5061-00602 | PLATE | 1
16 | 0515-1974 | SCREW-MACHINE WITH PATCH-LOCK PAN-HD TORX-T8 M2.5X0.45 4MM-LG SST-302 PASSIVATED | 2
17 | E5071-61608 | WIRE ASSEMBLY | 1
18 | 0515-1946 | SCREW-MACH FLT-HD M3X0.5 6MM-LG SST | 2
19 | 0515-2032 | SCREW-MACHINE WITH PATCH-LK 90-DEG-FLT-HD TORX-T10 M3X0.5 8-MM-LG SST-300 PASSIVATED | 2
20 | 3050-2247 | WASHER-FINISH METALIC 3.2MM-ID 10MM-OD 1.8MM-THK STEEL ZN-PLATED | 1
21 | E5061-61633 | CABLE ASSEMBLY, DISPLAY | 1
22 | E5061-61627 | WIRE ASSEMBLY | 1
23 | 0515-1402 | SCREW-MACHINE W/PATCH-LK PAN-HD TORX-T15 M3.5X0.6 8MM-LG SST-302 PASSIVATED | 4
24 | E5061-60111 | LCD ASSEMBLY | 1
25 | E5061-25001 | GUIDE, POWER SWITCH | 1
26 | 01690-41901 | ON/OFF KEY | 1
27 | E5061-66662 | PRINTED CIRCUIT BOARD ASSEMBLY, PB-FREE, ENA-L FRONT PANEL INTERFACE, WITHOUT PROBE POWER | 1
28 | 0515-0430 | SCREW-MACHINE W/CREST-CUP-CON-WSHR PAN-HD TORX-T10 M3X0.5 6MM-LG SST-300 PASS | 2
29 | E5061-40001 | KEY PAD | 1
30 | E5061-00212 | PANEL, FRONT SUB | 1
31 | 1400-1334 | CLAMP-CABLE SNAP-IN 24-MM-LG 10-MM-W STEEL ZN PLATED | 1
32 | 1400-0249 | CABLE-TIE SELF-LOCKING 0.062-0.625-IN-DIA 0.091-IN-W NYLON GRAY | 2
33 | 1400-1391 | CLAMP-CABLE STEEL | 1
34 | 04191-08000 | SPRING | 1
35 | E5061-61652 | BULKHEAD USB CABLE ASSEMBLY | 1
36 | 1400-3337 | CLAMP-CABLE 0.25-IN-CABLE DIA | 1
37 | E5061-61651 | WIRE ASSEMBLY | 1
38 | E4982-00201 | FRONT PANEL | 1
1
2
3
5
6
8
9
10
12
11
15
14
16
18
17
19, 20
21
22
23
25
26
28
27
4
4
4
29
31
33
32
36
11
7
37
35
34
24
38
13
30

## Hard Disk Assembly
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E4982-82201 | HDD INSTALLED | 1
2 | 9320-6627 | LABEL-SET | 1
3 | E5061-01228 | BRACKET TRAY, REMOVABLE HARD DISK DRIVE | 1 |  | 1. Old Item=E5061-01222, New Item=E5061-01228 [15 June 2012]
4 | 0515-1946 | SCREW-MACHINE 90-DEF-FLAT-HD TORX-T10 M3X0.5 6MM-LG SST 300 PASSIVATED | 4
5 | 8121-1710 | CABLE-ASSEMBLY SERIAL ATA FEMALE-FEMALE 26-AWG 7-CONDUCTOR 510MM-LG | 1 |  | 1. Old Item=8121-1885, New Item=8121-1710 [15 June 2012]
6 | 7124-0442 | WIRE MARKER SINGLE NO.5 ADHESIVE-BACKED-LABEL | 2
7 | E5061-61614 | WIRE ASSEMBLY | 1
8 | 1400-0249 | CABLE-TIE SELF-LOCKING 0.062-0.625-IN-DIA 0.091-IN-W NYLON GRAY | 1
9 | 5012-8641 | LABEL REGULATION, LARGE SIZE | 1
1
2
3
4
5
6
7
9
8
10
4
5
7
6
1
2
3
8
9

## FAN Assembly
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E5071-61628 | FAN, FAN ASSEMBLY | 2
2 | E5061-01223 | BRACKET, FAN | 1
3 | 0361-1881 | RIVET-PUSH-IN BRAZIER-HD NYLON WHITE-FINISH | 8
4 | 0460-0169 | TAPE-ELEC 1.062-IN-W .0025-IN-T | 1
5 | 1400-0249 | CABLE-TIE SELF-LOCKING 0.062-0.625-IN-DIA 0.091-IN-W NYLON GRAY | 2
6 | 0515-1946 | SCREW-MACHINE FLT-HD M3X0.5 6MM-LG SST | 6
1
2
3
3
4
6
6
5
3
1

## FAN Angle
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E5061-01207 | ANGLE | 1
2 | 0515-0430 | SCREW-MACHINE W/CREST-CUP-CON-WASHER PAN-HD TORX-T10 M3X0.5 6MM-LG SST-300 PASSIVATED | 2
1
2

## CPU Module
No. | Parts Number | Description | Qty | Notes | Revision History
1 | 0515-2032 | SCREW-MACHINE WITH PATCH-LK 90-DEG-FLT-HD TORX-T15 M3X0.5 8-MM-LG SST-300 PASSIVATED | 3
2 | 0515-0430 | SCREW-MACHINE W/CREST-CUP-CON-WSHR PAN-HD TORX-T10 M3X0.5 6MM-LG SST-300 PASS | 3
3 | E5061-62160 | TESTED CPU MODULE, FOR REMOVABLE HDD | 1
4 | E5061-01230 | ANGLE GUIDE | 1
5 | E5061-01235 | ANGLE GUIDE | 1
3
1
2
4
5

## Handler Interface Assembly
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E5061-66657 | PRINTED CIRCUIT BOARD ASSEMBLY, PB-FREE, HANDLER INTERFACE | 1
2 | 0515-0430 | SCREW-MACHINE W/CREST-CUP-CON-WSHR PAN-HD TORX-T10 M3X0.5 6MM-LG SST-300 PASS | 2
3 | E5061-61634 | CABLE ASSEMBLY, FLAT RIBBON | 1
4 | E5061-07004 | GASKET, ESD FOR IO CONTROL BOARD | 1
1
2
3
1
4

## A51 DSP Assembly
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E5061-62051 | PRINTED CIRCUIT BOARD ASSEMBLY, PB-FREE, ENA-L A51 PCI-E FPGA/DSP | 1
2 | 0515-0430 | SCREW-MACHINE W/CREST-CUP-CON-WSHR PAN-HD TORX-T10 M3X0.5 6MM-LG SST-300 PASS | 2
3 | 2950-0054 | NUT 1/2-28 THD | 2
4 | 2190-0054 | WASHER-LOCK-INTL T 1/2-IN .505-IN-ID | 2
5 | E5061-61613 | CABLE ASSEMBLY, SERIAL ATA | 2
6 | 7124-0438 | WIRE MARKER SINGLE NO.1 ADHESIVE-BACKED-LABEL | 2
7 | 7124-0439 | WIRE MARKER SINGLE NO.2 ADHESIVE-BACKED-LABEL | 2
8 | 3050-2230 | WASHER-SPRING WAVY 13MM-ID 17MM-OD 0.25MM-THICK SST | 2
1
2
3
4
5
6
7
7
8

## Source Module
| Parts Number | Description | Qty | Revision History
1 | E5061-62111 | TESTED SOURCE MODULE | 1 | 1. Old Item= E5061-62011, New Item=E5061-62111 [11 Sept 2012]
2 | 0515-0430 | SCREW-MACHINE W/CREST-CUP-CON-WASHER PAN-HD TORX-T10 M3X0.5 6MM-LG SST-300 PASSIVATED | 2
4
10
1
2

## Receiver Module
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E5061-62006 | TESTED RECEIVER MODULE | 1
2 | 0515-1946 | SCREW-MACHINE FLT-HD M3X0.5 6MM-LG SST | 2
3 | E5061-61601 | CABLE ASSEMBLY RF, SEMI-RIGID | 1
4 | E5061-61602 | CABLE ASSEMBLY RF, SEMI-RIGID | 1
1
2
3
4

## Analog Mother Bd
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E5061-66610 | PRINTED CIRCUIT BOARD ASSEMBLY, PB-FREE, ENA-L A10 ANALOG MOTHER | 1
2 | 0515-0430 | SCREW-MACHINE W/CREST-CUP-CON-WASHER PAN-HD TORX-T10 M3X0.5 6MM-LG SST-300 PASSIVATED | 11
3 | 0515-1946 | SCREW-MACHINE FLT-HD M3X0.5 6MM-LG SST | 1
4 | E5061-00243 | PANEL, REAR | 1
5 | 0515-1946 | SCREW-MACHINE FLT-HD M3X0.5 6MM-LG SST | 7
6 | 2950-0035 | NUT-HEX-DBL-CHAM 15/32-32-THD | 3
7 | 2190-0102 | WASHER-LOCK-INTL T 0.472-in-OD 0.018-in-THK PHOSPHOR BRONZE NICKEL-PLATED | 3
1
2
2
2
2
3
5
5
4
6,7

## Power Supply
No. | Parts Number | Description | Qty | Notes | Revision History
1 | 0950-4989 | POWER SUPPLY 350-WATT 5-OUTPUT | 1
2 | E5061-07003 | GASKET | 1
3 | E5070-87103 | LABEL-SWITCH | 1
4 | 0515-1946 | SCREW-MACHINE FLT-HD M3X0.5 6MM-LG SST | 5
5 | 3050-2247 | WASHER-FINISH METALLIC 3.2MM-ID 10MM-OD 1.8MM-THK STEEL ZN-PLATED | 2
6 | E5061-61611 | WIRE ASSEMBLY | 1
7 | E5061-61612 | WIRE ASSEMBLY | 1
8 | 1400-0493 | CABLE TIE .062-1.25-DIA .14-WIDE NYLON | 3
9 | 1400-0584 | MOUNT CABLE-TIE .122-DIA .75-WD ABS | 2
1
2
3
4
4, 5
6
7
8
9

## Test Head
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E4982-62111 | TESTED, TEST HEAD MODULE | 1
2 | 5012-8641 | LABEL REGULATIONS, LARGE SIZE
3 | 7121-5432 | LABEL INFORMATION DESTRUCTIBLE PVC BLACK | 1
4 | E4982-61616 | RF CABLE ASSEMBLY | 1 |  | 1. Old Item= E4982-61606, New Item=E4982-61616 [10 July 2013]
5 | 1250-2497 | THRU COAXIAL | 3
6 | E4982-01201 | ANGLE CONNECTOR PROTECTOR | 1
7 | 0515-2032 | SCREW-MACHINE WITH PATCH-LK 90-DEG-FLT-HD TORX-T10 M3X0.5 8-MM-LG SST-300 PASSIVATED | 2
8 | 9320-6627 | LABEL SET | 1
5
4
1
7
30
6
8
2

## Chassis
No. | Parts Number | Description | Qty | Notes | Revision History
1 | E5061-60001 | CHASSIS ASSEMBLY | 1
2 | 0363-0310 | RFI STRIP-FINGERS BE-CU BRIGHT DIP | 1
3 | E5061-01217 | GUIDE BAR | 1
4 | 0515-1946 | SCREW-MACHINE FLT-HD M3X0.5 6MM-LG SST | 2
5 | 1400-0249 | CABLE-TIE SELF-LOCKING 0.062-0.625-IN-DIA 0.091-IN-W NYLON GRAY | 3
6 | 5022-1190 | FRAME - FM, FRONT - 221.5H | 1
7 | 0515-2113 | SCREW-MACHINE WITH PATCH-LOCK PAN-HD TORX-T20 M4X0.7 8MM-LG SST-300 PASSIVATED | 7
8 | 0515-1382 | SCREW-MACHINE W/PATCH-LK 90-DEG-FLAT-HD TORX-T15 M3.5X0.6 6MM-LG SST-302 PASSIVATED | 3
1
2
3
5
4
6
7
[Left Side]
[Right Side]
8
[Bottom Side]