Normally R&S use 5V 115ma pea bulbs with a manufactures part number of MGG 1150-00.  The normal equivalent is CM715. These are long life bulbs, plenty of normal life bulbs on eBay.