Section 1.0	Introduction

ProEnergy EPC Services (Contractor) is pleased to provide this Technical Proposal to install a nominal 340 MW Gas Turbine Simple Cycle Power Plant at the ANACO Plant Site.  This turnkey proposal includes installing the following Owner supplied equipment:

- Two (2) gas fueled GE Frame 7FA gas turbine generator packages w/114.8 ft. exhaust stacks

- Two (2) 100% Capacity Fuel Gas Compressors manufactured by GEA

Contractor will furnish all engineering, required balance of plant equipment, contract locally for the required subcontractors to accomplish the site construction, construction tools, rental equipment and project management.

Contractor will furnish commissioning, start-up, and performance testing services for the Frame 7FA GTG’s and associated Balance of Plant Equipment.

- This Technical Scope Document will become an exhibit to the EPC Contract.

THIS DOCUMENT IS CONFIDENTIAL.  IT IS DESIGNED AND INTENDED FOR efacec’S USE.  THIS DOCUMENT IS FOR THE SOLE PURPOSE OF EVALUATING CONTRACTOR’S PROPOSAL FOR THE (2) GE Frame 7FA POWER PROJECT.