## Slide 1: COORPORACION VENEZOLANA DE GUAYANA
EQUIPOS DE GENERACION CICLO SENCILLO Y CICLO COMBINADO

## Slide 2: GE FRAME 7 EA

## Slide 3: CVG GE FRAME 7EA

## Slide 4: Performance GE 7EA
Simple Cycle Performance 60Hz
Output 84.4 MW
Heat Rate 10,480 Btu/kWh (11,100 kJ/kWh)
Mass Flow 2361 lb/sec (1071 kg/sec)
Turbine Speed 3600 rpm
Exhaust Temperature 995°F (538°C)
Model Designation (PG7121)
Fuel Consumption 305 (Liters/Mw-hr)
Gas 864,462 (Cubic-Feet/hr))
Liquid fuel is an Option
Combine Cycle
Output 130 MW 1 x 1
Heat Rate 6,800 Btu/KWh (7,173 Kj/KWh)
          264 MW 2 x 1
          6,700BTU/KWh (7,087 Kj/KWh)

## Slide 6: CVG LM6000

## Slide 7: GE LM6000 Ciclo Abierto

## Slide 8: Performance LM6000
Simple Cycle Performance 60Hz
Output 48 MW
Heat Rate 8434 Btu/kWh (8916 kJ/kWh)
Shafts 2
Exhaust Flow 295 lb/sec (134 kg/sec)
Turbine Speed 3600 rpm
Exhaust Temperature 826°F (441°C)
Model Designation LM6000PC
Fuel Consumption 244.97 (Liters/Mw-hr)
Liquid 2903 (Gallons/Hr)
Gas 391,279 (Cubic feet/Hr)

## Slide 9: LM6000 Ciclo Combinado

## Slide 10: GE LM6000 Ciclo Combinado

## Slide 12: GE 7FA Ciclo Combinado

## Slide 13: CVG GE FRAME 7 FA

## Slide 15: Performances
Simple Cycle Performance 60Hz
Serial Number 298957-298958-298959
Output 171.7 MW
Heat Rate 9,360 Btu/kWh (9,873 kJ/kWh)
Pressure Ratio 16.0:1
Mass Flow 981 lb/sec (445 kg/sec)
Turbine Speed 3600 rpm
Exhaust Temperature 1,114°F (601°C)
Model Designation PG7241FA
Fuel Consumption 272 (Liters/Mw-hr)
11,572 (Gallons/hr)
1,559,591 (Cubic-Feet/hr)
Combined Cycle Performance
60 Hz (S107FA) 60 Hz (S207FA)
Net Plant Output 262.6 MW 529.9 MW
Heat Rate 6090 Btu/kWh (6,424 kJ/kWh) 6040 Btu/kWh (6,371 kJ/kWh)
Net Plant Efficiency 56.0% 56.5%
GT Number & Type 1 x MS7001FA 2 x MS7001FA