PROPOSAL

Presented To:

Derwick Associates

for

Package Fire Protection Pump System

Prepared By

Proposal No. 001 – CVG A

June 18, 2010

This document is privileged and contains confidential information intended for use only by

Derwick Associates.

Table of Contents

1.0	Introduction	3

2.0	Fire Protection Pump Skid Package Scope of Supply	3

3.0	Warranty	4

4.0	Pricing	4

4.1	Equipment Pricing	4

4.2	Shipping	4

4.3	Payment	4

4.4	Taxes, Duties and Fees	5

5.0	Schedule	5

6.0	Terms & Conditions	5

7.0	Follow Up	5

- Introduction

ProEnergy Services (“ProEnergy”) is pleased to provide this proposal to Derwick Associates (“Derwick”) for the supply of an electric and diesel fire protection pump skid package.

- Fire Protection Pump Skid Package Scope of Supply

We are offering to supply a packaged fired pump system which includes the following scope of supply:

| Quantity | Description |
| --- | --- |
| 1 | ITT-AC 10X8X17F-L Series 8100 UL/FM Fire Pump rated 2500 GPM @ 100 PSI, 200 HP, TEFC, 1770 RPM, 460/3/60 |
| 1 | ITT-AC 10X8X17FL Series 8100 UL/FM Fire Pump rated 2500 GPM @ 100 PSI, 1770 RPM with Clarke JU6H-UFAAQ8 Tier 1 Diesel Engine, 227 BHP |
| 1 | Cutler FD90 Soft Start Fire Pump Controllers, NEMA 4 |
| 1 | Cutler FD120 Diesel Fire Pump Controllers, NEMA 4 |
| 1 | ITT 2SV-9 Jockey Pump, 25 GPM @ 120 PSI, 3 HP, 460/3/60 |
| 1 | Cutler FDJP Jockey Pump Controller, NEMA 4 |
| 1 | 6” Cla-Val Main Relief Valve w/6” X 10” Closed Waste Cone |
| 1 | 8” Global Vision 8-2500-F UL Flanged Flow Meter w/ piping |
| 1 | 300 Gallon Double Wall Fuel Tank |
| 1 | 6” Residential Muffler – Shipped loose |
| 1 Lot | Accessories: Gauges, Air and Casing Relief Valves, Batteries, Racks and Cables |
| 1 Lot | 10” OS&Y Gate Valves and Wafer Checks |

General Notes:

| 1.0 | Above items mounted, piped and wired on either one or two skids – No enclosure or house |
| --- | --- |
| 2.0 | Engine quoted is available for export only |
| 3.0 | Price includes two consecutive 8 hour days for start-up, additional time if necessary would be at added cost. |
| 4.0 | Price does not include: - Unloading of skid. - Foundation, floor or grouting. - Connection of supply, discharge or drain piping. - Diesel fuel or battery acid. - Export Packaging. - Any permits, licenses or other documentation. |
| 5.0 | Wiring between pumps and controllers is provided; others are responsible for bringing 480V/3/60 to either one or two connection points. |
| 6.0 | Alarm wiring provided to a gang tamper panel on skid (s). |

- Warranty

Seller only warrants against major component failure for a period of thirty (30) days from date of purchase. All other warranty disclaimers apply for purpose of clarification; major component failure includes pumps.

- Pricing

Pricing references the scope of equipment described in this proposal:

- A packaged fired pump system, including all components listed in 2.0 above.

  - Equipment Pricing: US $262,913.00

  - Shipping

- Quote includes ocean shipping and freight charges.

- Nationalization and customs charges are not included

  - Payment

This proposal and pricing is based upon receipt of the progress payments shown below:

- 50% Down Payment:  Required to initiate procurement.  Non-refundable

- Balance:  Upon notice of readiness to ship.

Name:  ProEnergy Services LLC

Bank:  US Bank

Routing # 081000210

Account # 152305958703

Swift Code:  USBKUS 44IMT (that is an “i” not a 1)

  - Taxes, Duties and Fees

No sales or use taxes have been included in this quotation.  The price quoted excludes any federal, state or local taxes or fees which may be associated with the export, import or purchase of equipment and/or services.

- Schedule

ProEnergy expects to prepare the equipment for shipment Ex-works within fourteen to sixteen weeks after released to production.

- Terms & Conditions

This proposal shall be valid for thirty (30) days.

ProEnergy and Derwick will negotiate in good faith to establish general terms and conditions.

- Follow Up

Please contact the following person at ProEnergy for information regarding this proposal:

Bob Dodson – Director of Parts & Equipment

bdodson@proenergyservices.com

Office: 660.596.7509

Cell:  	660.281.5433

Fax: 	660.829.1160