## Sheet1
Purchases orders for Curupao
GTG
Lube oils and Chemicals | 2 | ProEnergy Services
Exhaust Stack | 2 | ProEnergy Services
Project Grouting | 2 | ProEnergy Services
Lube Oil Cooling Fin Fans | 6 | ProEnergy Services
Anchor Bolts | 2 | ProEnergy Services
Inlet Air Conditioning System
Inlet Chilling Package | 0
Inlet Fogging System | 2 | ProEnergy Services
Inlet Evap Cooling System | 0
Inlet Cooling System Cooling Tower | 0
Cooling Water Circulation Pumps | 4 | ProEnergy Services
Chilled Water Pumps | 0
Chemical Inj Skid | 0
Fuel Gas Systems
Fuel Gas compressor w/ Fin Fans | 4 | ProEnergy Services
Fuel Gas Check Metering/Regulator Skid | 2 | ProEnergy Services
Fuel Gas Scrubber | 2 | ProEnergy Services
Fuel Gas Filter Skid & Mnt (___) KW Htr(Htr in Elect) | 2 | ProEnergy Services
ESD Valve, ___" ___# | 2 | ProEnergy Services
Liquid Fuel Systems
Unloading Pump Skid | 2 | ProEnergy Services
Metering Skid | 2 | ProEnergy Services
Forwarding Pump Skid | 2 | ProEnergy Services
Transfer Pump Skid | 2 | ProEnergy Services
Fuel Heating | 0
Filters Skids | 2 | ProEnergy Services
Centrifuge | 6 | ProEnergy Services
Injection Pump Skid | 0
Storage Tank Raw 500000 Gal | 2 | ProEnergy Services
Day Tank Treated 150000 Gal | 2 | ProEnergy Services
Water Supply System
Raw Water Storage Tank 500 M gal | 2 | ProEnergy Services
Raw Water Supply Pumps | 4 | ProEnergy Services
Raw Water Forwarding Pumps | 4 | ProEnergy Services
Water Treatment System
Multi Media Filter Package | 2 | ProEnergy Services
Water Injection Skid | 0
Demin Treatment System 180,000 GPD | 2 | ProEnergy Services
Demin Storage SS Tank 300000 gal | 2 | ProEnergy Services
Demin water fiberglass tank | 4 | ProEnergy Services
Demin forwarding pumps | 4 | ProEnergy Services
Demin Filter Skid | 2 | ProEnergy Services
Potable Water System | 2 | ProEnergy Services
Waste Water and Oil Storage and Transfer
Oily Water Separator | 2 | ProEnergy Services
Oily Waste Tank 10000 gal | 2 | ProEnergy Services
Waste Water Tank 10000 gal | 2 | ProEnergy Services
Waste Oil and Water forwarding pumps w/ skid | 4 | ProEnergy Services
Fire Control Systems
Fire Water Pump Skids (Diesel / Electric) | 0
Fire Water System, valves, hydrants, monitors | 2 | ProEnergy Services
Other Systems
Instrument Air Compressor Package, net (___) scfm | 2 | ProEnergy Services
Potable Water System | 0
0
Sanitary Sewer Septic System | 2 | ProEnergy Services