## Slide 1
Examples of crating in moderate to poor condition. The crating is 15 months old and needs replacement

## Slide 2
Equipment stored at Palletized outdoor laydown yard in Houston TX.
Brush Generators
Unit 1 Turbine Enclosure
Unit 2 Turbine Enclosure
The Turbine Enclosure and Generator Equipment are in good condition.

## Slide 3
Equipment stored indoors at Palletized warehouse in Houston TX.
Examples of crated equipment stored indoors at the Palletized storage yard. Re-crating not needed.