Note: The Owner has purchased two (2) dual fueled GE LM 6000 PC Sprint Gas Turbine Generator package with associated facilities and two (2) dual fueled GE LM 2500+ Gas Turbine Generator packages for this project.  These units and associated equipment are presently being installed:

The purpose for this Document is to add Black Start Capability to the project.

- Black Start Generator

  - Contractor will supply one (1) Diesel Fueled 750KW Black Start Generator equal to that as manufactured by Caterpillar Engines

  - Mechanical pipe connection to existing diesel fuel supply

  - Concrete foundation pad for Black Start Generator

  - Prefabricated Metal Shed for Black Start Generator w/ Electrical Room

  - Electrical Connection

    - Contractor will supply one (1) 480v Circuit Breaker for electric power connection to existing DP100.

    - Contractor will supply one (1) Sync System to allow electrical synchronization to existing LM 6000 Auxiliary Breaker.

| Contractor will Provide and Install |  |  |  |
| --- | --- | --- | --- |
| Civil, Engineering & Construction: | 1 Lot | Design Engineering and Construction Management of Contracted Labor including Safety, QA/QC, Project Schedule Management, Technical management, start-up, commissioning, systems turnover and performance testing. |  |
|  | 1 Lot | Civil earthwork, leveling, foundations, roadways, plant gravel, asphalt and concretes as mutually agreed. |  |
| Mechanical: |  |  |  |
|  | 1 Lot | Mechanical pipe, valves, and material including installation with contract labor |  |
| Electrical |  |  |  |
|  | 1 Lot | Electrical wire, conduit, and cable including installation with contract labor |  |
| Start-up and Testing |  |  |  |
|  | 1 Lot | Black Start Generator start-up and testing prior to turn-over. |  |