- Introduction

ProEnergy EPC Services (“PES”) is responding to Guarenas’ recent request to add “Black Start” capability to the Turnkey EPC Project consisting of the following major equipment:

- 1 ea. 750 KW Diesel Engine Black Start Generator

- 1 ea 480 volt Distribution Panel with Synchronizer

- 1 ea 480 volt Main Generator Breaker

- 1 ea Prefabricated Metal Shed

The following sections of this TSD provide more detail on the Black Start scope portion of this proposal.