- Introduction

ProEnergy EPC Services (“PES”) to add 70 GPM Demin Water Treatment capacity to the previous water treatment system being installed in Phase II. The scope of work includes the Engineering and installation of the following:

- 1 ea. RO water treatment expansion

- 1 ea Carbon Filter expansion

- 1 ea EDI Demin Treatment expansion

- 1 ea Water Softener expansion

- 1 lot Demin Water transfer and forwarding Pumps

- 1 Demin Water Tank expansion

The following sections of this TSD provide more detail on the required Water Treatment System expansion scope of this proposal.