- Introduction

Derwick Associates Corp. (“Contractor”) has prepared a proposal for adding a 115 KV Substation to the Guarenas Power Plant. The scope of work includes the Engineering and installation of the following equipment:

- 1 ea. 45/60/75MVA Generator Step Up Transformer

- 5600 Gallons of New PCB Free Transformer Oil

- 6 ea. 15 KV 3000:5 C400 Current Transformers

- 2 ea. 72.5 KV 2000 Amp Dead Tank SF-6 Gas Circuit Breaker

- 2 ea. 72.5 KV 2000 Amp Manual Disconnects

- 1 Lot Kirk Key Interlock System for all Disconnect Switches

- 1 Lot 4” Aluminum Buss Work with required Connectors & Insulators

- 1 Lot Steel Structures

- 1 Lot Civil Engineering Expansion package

- 1 Lot Revised Control & Protection Package with Relays

- 2 Lightning Arrestors

- 1 Lot Expanded Installation Package

- 1 Lot Freight to Site