- Introduction

Derwick Associates Corp (“Contractor”) has prepared a proposal for adding a second GE LM 6000 GTG to the Guarenas Power Plant. The scope of work includes the Engineering and installation of the following equipment:

- 1 ea. dual fueled GE LM 6000 PC Gas Turbine Generator package

- 1 ea. 13.8KV Generator Breaker

- 1 ea. 13.8/480 V Aux Transformer

- 1 ea. 480 V MCC

- 1 ea 125 V DC Batteries and Charger

- 1 ea LM 6000 Control Building

- 1 ea LO Cooling Tower

- 1 ea Exhaust Stack

- 1 lot Water Injection Pumps and Filters

- 1 lot DFO Injection Pumps and Filters

- 1 lot Fuel Gas Filter/Regulators

The following sections of this Change Order Request will provide more detail on the scope of this proposal.