- Introduction

Derwick Associates Corporation (“Contractor”) proposal to furnish and install an expansion to the Liquid Fuel System in Phase I. The scope of work includes the Engineering and installation of the following:

- 2 ea DFO Truck Unloading Bays

- 2 ea DFO Unloading Pump Skids

- 2 ea DFO Forwarding Pump Skids

- 1 ea DFO Treatment Skid with two Centrifuges

- 1 ea Raw DFO Tank Expansion

- 1 ea Treated DFO Tank Expansion

The following sections of this TSD provide more detail on the Liquid Fuel Expansion scope of this proposal.