- Introduction

ProEnergy EPC Services (“PES”) is responding to Elegua’s recent request for a Turnkey EPC Proposal to engineer, design, construct, start-up and commission a Power Plant consisting of the following major equipment:

- 2 ea. dual fueled GE LM 2500+ Gas Turbine Generator packages

- 1 ea. dual fueled GE LM 6000 PC Gas Turbine Generator package

- 2 ea. 13.8KV/69KV Generator Step Up Transformers

- 1 ea. Liquid Fuel Treatment System with raw and clean fuel Storage

- 1 ea. Liquid Fuel Truck “off loading” station

The following sections of this TSD provide more detail on the scope of this proposal.