3.0	Design Basis and Interconnect Points

3.1	Design Basis

Design Conditions

Site Elevation 440 meters Air Temperature, High 91 degrees F Air Temperature, Low 35 degrees F Maximum Wind Velocity 100 mph Relative Humidity 60% Seismic Zone 2A est. Total Plant Fuel Consumption Rate, gpm 94 Total Demin Water Consumption, gpm 17 High Voltage Interconnect 69 KV at High side of Generator Step Up Transformer

3.2	Interconnect Points

Interconnect Points

Liquid Fuel Owners pipeline to Day Tank Waste Water/Oil To Owner/Operators Truck for disposal Raw Water Raw Water from Owner pipeline to Site Storage Tank Natural Gas Utility Meter Station at min. 250 psig at site boundary Telephone By Others Potable Water By Others GTG Control System Control Room PC Electrical 69 KV Owner/Utility to connect to Generator Step Up Transformers