G.E. AERO ENERGY PRODUCTS

16415 JACINTOPORT BLVD.

HOUSTON, TEXAS 77015

LM6000 60HZ PICKLIST

SHIPPER: G.E. AERO ENERGY PRODUCTS, INC   PACKING LIST #: IMS-2009-LM606

16415 JACINTO PORT BLVD

HOUSTON, TEXAS 77015

SHIPPER REFERENCE:

CONSIGNEE:                                                                        CHULA VISTA 2

DIXIE BOX & CRATING, INC

630 McFARLAND DR.

HOUSTON, TX 77011

PORT OF EXPORT: HOUSTON, TEXAS

PORT OF DISCHARGE: TBA

D  E  S  C  R  I  P  T  I  O  N

# BOX NO.    	1			TURBINE BASE

1 – TURBINE BASE ESN:

BOX NO.	4			TURBINE BASE INTERCONNECT SHIPLOOSE

(PAGE 1 OF 2)

571350

110.	1 – CG-1J – 3” 150# FLEXATALLIC GASKETS

111.	4 – 92308 – 5/8-11NC X 3 ¾” STUDS

112.   16 – 92317 – 5/8-11NC HVY HEX NUTS

113.	1 – CG-1G – 2” 150# FLEXITALLIC GASKET

114.	4 – 92306 – 5/8”-11NC X 3 ¼” STUDS

126.	2 – MS27196-32 – SUMP VENT GASKETS

127.	8 – J00750 – 5/16” SS LOCKWASHER

128.   16 – J00745 – 5/16” SS FLATWASHERS

129.	8 – J00761 – 5/16-18NC SS HEX NUTS

130.	8 – J00773 – 5/16-18NC X 1-1/4 SS HEX BOLTS

259.	1 – 723239D – 3” ENGINE CONN. HOSE ASSY. A9

260.	1 – 398018 – 2” ENGINE CONN. HOSE ASSY. A10

1 – (718115-24) – 1 ½” ALUM/VITON 4 BOLT GASKET

4 – J00767 – ¼-20NC X 1-1/4” SS HEX BOLTS

4 – J00753 – ¼-20NC SS HEX NUTS

8 – J00744 – ¼” SS FLATWASHERS

1 – 12PP-316 – ¾” SS HEX PLUG

1 – 4PP-316 – ¼” SS HEX PLUG

701206

112.	2 – CG-1J – 3” 150# FLEXITALLIC GASKETS

115.   16 – J01705 – 5/8” X 1 ¾” BOLTS

116.   16 – 92317 – 5/8” HEAVY HEX NUTS

117.	2 – CG-1G – 2” 150# FLEXITALLIC GASKETS

266.	1 – 398209 – 3” TURBINE AIR / OIL SEPARATOR HOSE ASSY.

267.	1 – 398210 – 2” TURBINE AIR / OIL SEPARATOR HOSE ASSY.

724104 (PRIMARILY USED FOR LM6000 NXT. GEN)

106.	2 – 281828B-01 – INLET DUCT OUTER CLAMP PLATE

107.	2 – 281829B-01 – INLET DUCT INNER CLAMP PLATE

114.  184 – J03921 – ¼” 316 SS FLAT WASHERS

115.   92 – MS9490-18 – ¼”-28NF X 1-1/4” SS HEX BOLTS

116.   92 – J00550 – ¼-28NF A194-8C LOCK HEX NUTS

BOX NO.	4			TURBINE BASE INTERCONNECT SHIPLOOSE

(PAGE 2 OF 2)

4 – 701006 – ¼” X 7” X 10” 304 SS, EXHAUST DIFFUSER SUPPORT SHIMS

4 – 701007 – 1/8” X 7” X 10” 304 SS, EXHAUST DIFFUSER SUPPORT SHIMS

4 – 701008 – 1/16” X 7” X 10” 304 SS, EXHAUST DIFFUSER SUPPORT SHIMS

2 – 398362 – JACKING PAD TURBINE EXHAUST

2 – J00302 – ½” X 4” JACKING BOLTS

4 – J00247 – 3/8” X 1 ½” BOLT

4 – J00398 – 3/8” FLATWASHERS

4 – J00198 – 1 1/8”-7 X 4” HEX BOLTS

4 – J00337 – 1 1/8”-7 HEX NUTS

4 – 382A6660P0001 – 1 1/8” LOCKWASHER

4 – 377A1072P0000 – 1”-12 X 4 ½” HEX BOLT

4 – 377A1074P0000 – 1”-12 HEX NUTS

571363

103.	1 – 747554 – PIPING SPOOL

130.	2 – CGI-3F – 1 ½”, 300# GASKETS

131.	8 – 96991 – ¾”-10 X 4” STUD

132.   16 – 92318 – ¾” HEAVY HEX NUTS

243.	1 – 288056 – 1 ½” X 15” HOSE

1 – 3/8” TAP SET

1 – 5/16” DRILL BIT

1 – 3/16” DRILL BIT

4 – 3/8” X 1 ½” BOLT

4 – 3/8” FLATWASHERS

4 – 3/8” LOCK WASHERS

BOX NO. 	5			SHEAR LUGS

8 – 287728 – SHEAR LUGS

BOX NO. 	6			H-FRAME

1 – I-BEAM (W/MAIN UNIT CONNECTION)

1 – I-BEAM (CROSS BEAM)

2 – I-BEAM (SUPPORT LEGS)

10 – 75C800HC8Y  - ¾” – 10 X 8” BOLTS

16 – 75C225HC5Y  - ¾” X 2-1/4” BOLTS

52 – 75NWUSY  - ¾” FLATWASHERS

26 – 75NLOCY  - ¾” LOCKWASHERS

26 – 75CNFH5Y  - ¾” NUTS

BOX NO.	10			EXHAUST FLASHING

12 – J00633 – ¼” LOCK WASHERS

56 – J00356 – 1/4” X 1” SHEET METAL SCREWS

1 – 4900159-23 - 1 1/8” FIBERGLASS ROPE

2 – EYE12 - ½” EYE BOLTS

12 – J00766 – ¼”-20NC X 1” BOLTS 316SS

12 – J00753 – ¼”-20NC HEX NUTS 316SS

8 – J00774 - 5/16” X 2” HEX BOLTS

4 – 288890 – EXHAUST FLASHING

4 – 288890 – STAINLESS STEEL COVER PLATES (DETAIL 4)

4 – J02705 – EXHAUST BLANKETS

1 – ROLL STAINLESS STEEL TIE WIRE

8 – J01647 – 5/16” STAINLESS STEEL FLATWASHERS

8 – J01646 – 5/16” STAINLESS STEEL LOCKWASHERS

8 – J01645 – 5/16” STAINLESS STEEL NUTS

24 – J00396 – ¼” FLAT WASHERS

BOX NO.	12			MECHANICAL SHIPLOOSE MISC. (TEARDOWN)

2 – 1” LIFTING EYE BOLT

2 – 1” NUTS

4 – ½” LIFTING EYE BOLT

4 – ½” NUTS

50 – GRATING CLIPS

50 – ¼” X 1” WHIZ BOLTS

100 – ¼” X 1” SHEET METAL SCREWS

50 – ¼” X 1 ½” SHEET METAL SCREWS

10 – ¼” X 3” SHEET METAL SCREWS

4 – ¾” TUBING CLAMPS

4 – ½” TUBING CLAMPS

4 – 3/8” TUBING CLAMPS

8 – ¼” TUBING CLAMPS

10 – 10/32” X 1” SCREWS

10 – 10/32” X ¾” SCREWS

20 – 10/32” NUTS

1 – SET 10/32” TAPS

4 – 11/64” DRILL BITS

2 – ½” X 3” DOW PINS (SPLIT BASE)

8 – 1 ½”-6UNC X 5” A325 BOLTS (SPLIT BASE)

8 – 1 ½” A194 HEX NUTS (SPLIT BASE)

BOX NO.	17			GENERATOR BASE

1 – GENERATOR BASE

BOX NO.	25			GENERATOR TRANSITION THROAT

1 – GENERATOR TRANSITION THROAT

BOX NO.	26			GENERATOR EXHAUST HOOD ASSY.

1 – GENERATOR EXHAUST HOOD ASSY.

BOX NO.	27			GENERATOR FAN EXPANSION JOINT

1 – 287837 – GENERATOR FAN EXPANSION JOINT ASSY.

BOX NO.	32			TURBINE GAUGE PANEL ENCLOSURE

701067

101.	1 – 701068 – TURBINE GAUGE PANEL ASSY.

104.   30 – SHEET METEL SCREWS

123.	1 – 702197A – ALUMINUM ANGLE – ¼” X 8’6”

4 – 3/8”X 2” SS BOLTS

2 – 3/8” EYE BOLTS

6 – 3/8” SS NUTS

12 – 3/8” SS FLAT WASHERS

4 – 3/8” SS LOCK WASHERS

BOX NO.	33			COUPLING GUARD ASSY. (BRUSH)

1 – 467613 – GENERATOR COUPLING GUARD

4 – ½”-13NC LOCK NUT

4 – ½”-13NC X 1” BOLTS

18 – ¼”-20 X ¾” SELF TAPPING SCREWS

12 – 12MM X 30MM METRIC BOLTS

2 – 13/64 DRILL BITS

BOX NO.	36			COUPLING

1 – 382A7446P0001 – COUPLING

22 – 435144-003 – BOLTS

22 – 63482-040 – NUTS

30 – 435145-001 – BOLTS

30 – 63482-032 – NUTS

BOX NO.	37			ROOF SKID

1 – ROOF SKID ASSY.

BOX NO.	39			ROOF SKID TRANSITION

1 – ROOF SKID TRANSITION

80 – ½” X 1 ¾” BOLTS

70 – ½” X 1 ¼” BOLTS

300 – ½” FLATWASHERS

150 – ½” LOCKWASHERS

150 – ½” NUTS

BOX NO.	40			RAIN CAP

1 – RAIN CAP

BOX NO.	41			RAIN CAP

1 – RAIN CAP

BOX NO.	42			VENTILATION SILENCER

1 – VENTILATION SILENCER

BOX NO.	43			VENTILATION SILENCER

1 – VENTILATION SILENCER

BOX NO.	44			VBV DUCT

1 – 377A1162P0001 - V.B.V. DUCT

BOX NO.	45			VBV SILENCER

1 – 377A1162P0001 - V.B.V. SILENCER

BOX NO.	46			VBV HOOD

1 – 377A1162P0001 - V.B.V. HOOD

BOX NO.	48			VBV EXPANSION JOINT

1 – 289714 – VBV EXPANSION JOINT

90 – 50F150HC8Y – ½”-20 X 1 ½” BOLTS

90 – 50FNWFY – ½” WHIZ NUTS

45 – 50C150HC5Y – ½”-20 X 1/2” BOLTS

45 – 50CNFH5Y – ½” NUTS

45 – 50NLOCY – ½” LOCK WASHERS

90 – 50NWUY – ½” FLAT WASHERS

BOX NO.	52			DEMISTER TANK (GENERATOR LUBE OIL)

1 – GLO DEMISTER TANK

2 – SUPPORT ANGLE BRACKETS FOR DEMISTER TANK

1 – ½” TUBE (MAIN UNIT TO DEMISTER)

8 – 75C150HCY – ¾” X 1 ½” BOLTS

8 – 75NLOCY- ¾” LOCK WASHERS

8 – 75NWUSY – ¾” FLAT WASHERS

2 – 5” 150# GASKETS

BOX NO.	59			AIR FILTRATION ELEMENTS

79 – P19-0856 - FILTER ELEMENTS

BOX NO.	60			AIR FILTRATION ELEMENTS

79 – P19-0856 - FILTER ELEMENTS

BOX NO.	61			GASKET KIT

REFERENCE CUSTOMER DRAWING 226

BOX NO.	62			NUTS, BOLTS & WASHER

REFERENCE CUSTOMER DRAWING 226

BOX NO.	63			INSTALLATION SHIPLOOSE

004.	1 – 288103 – SHIM ASSY. (6EA. 1/16” THICK)

004.	1 – 288103 – SHIM ASSY. (6EA. 1/8” THICK)

004.	1 – 288103 – SHIM ASSY. (4EA. ¼” THICK)

004.	1 – 288103 – SHIM ASSY. (4EA. ¾” THICK)

004.	1 – 288102 – SHIM ASSY. (8EA. 1/16” THICK)

004.	1 – 288102 – SHIM ASSY. (8EA. 1/8” THICK)

004.	1 – 288102 – SHIM ASSY. (6EA. ¼” THICK)

004.	1 – 288102 – SHIM ASSY. (6EA. ¾” THICK)

011.	1 – AC-B244F-244OY1 – FILTER

012.	1 – 2604-22911 – BALL VALVE

030.	2 – HC8904FKN13Z – FILTERS

031.	4 – P16-7185 – FILTERS

113.	4 – HC9600FKN13Z – FILTERS

115.	2 – P16-5659 – FILTERS

# 161.	4 – J00822 – 1 ½” 150# FLANGED BALL VALVES

16 – ½” X 3 ¾” STUDS

32 – ½” STUD NUTS

4 – 1 ½” 150# GASKETS

1 – 382A4154P0001 – FOD SCREEN

1 – P16-5354 - FILTER

# 1 – AA-B244-24D2Y1A – FILTER BOWL

2 – HC9600FKN13Z - FILTERS

BOX NO.	64			AUXILIARY SKID ASSY.

1 – AUXILIARY SKID

BOX NO.	65			AUXILAIRY SKID INLET HOOD

2 – J03278 – AUXILIARY SKID INLET HOODS

BOX NO.	67			AUXILIARY SKID INTERCONNECT S/L (LEFT HAND)

1 – 398003 – INTERFACE MANIFOLD HOSE

1 – 398004 – INTERFACE MANIFOLD HOSE

1 – 398005 – INTERCONNECT 78 HOSE

1 – 398006 – INTERFACE MANIFOLD HOSE

4 – 398007 – AUXILIARY INTERCONNECT HOSES

2 – 398008 – HOSE ASSY.

1 – 398010 – HOSE ASSY.

BOX NO.	69			WATER INJECTION SKID ASSY.

1- WATER INJECTION SKID ASSY.

1 - COUPLING

701681

103.	4 – J01819 – ¾”-10NC X 5” STUDS

104.	8 – 92318 – ¾” STUD NUTS

105.	1 – CG-1J – 3” 150# GASKET

106.	4 – 92308 – 5/8”-11NC X 3 ¾” STUDS

107.	8 – 92317 – 5/8” STUD NUTS

112.	1 – CG-6F – 1 ½” 600# GASKET

219.	1 – 466624 – 3”150# HOSE

220.	1 – 398085 – 1 ½” 600# HOSE

BOX NO.	70			WATER INJECTION SKID ASSY.

1- WATER INJECTION SKID ASSY.

4 – 5/8” X 4” STUDS

8 – 92317 – 5/8” STUD NUTS

4 – ¾” X 4 ¾” STUDS

8 – 92318 – ¾” STUD NUTS

1 - COUPLING

1 – 1 ½” 600# GASKET

1 – 3” 150# GASKET

1 – 398085 – 1 ½” 600# HOSE

1 – 466624 – 3”150# HOSE

BOX NO.	71			SPRINT SKID ASSY.

1 – SPRINT SKID

BOX NO. 	78			LINESIDE CUBICLE

1 – LINESIDE CUBICLE ASSY.

BOX NO.	79			NEUTRAL CUBICLE

1 – 123E8634L0003 – NEUTRAL CUBICLE ASSY.

BOX NO.	83			HEATERS & BRACKETS (TURBINE BASE)

2 – BMEXH-412 – HEATER BRACKETS

2 – FX412480360-5T – HEATERS

BOX NO.	95			CO2 RACK ASSY. (SUNSHIELD)

1 – CO2 RACK & SUNSHIELD

1 – WEIGHT SCALE

14 – PLAIN NUTS – DISCHARGE HEADS

BOX NO.	105			FIN FAN COOLER

REFERENCE SUPPLIER PACKING LIST

BOX NO.	106			FIN FAN SHIPLOOSE

427 –  A307, YC – 3/8” X 1-1/2” MB W/ HN & LW

13 – A307, YC – 3/8” X 2” MB W/ HN & LW

71 – A325, YC – ¾” X 2” MB W/ HN & LW

35 – A325, YC – 2-1/4” MB W/ HN & LW

3 – A335, YC - 5/8” X 2-1/4” MB

106 – A325, YC - ½” X 1-1/2” MB W/ HN & FW

89 – F436, YC – ½” PLAIN FLAT WASHER

792 – F484, YC – 3/8” PLAIN FLAT WASHER

13 – TYPE A, YC – 3/8” BEVEL WASHER

3 – A563-DH, YC – 5/8” HEX NUTS

2 – 35A R/L - COLUMN

4 – 49A – BUG SCREEN BRACE

2 – 49B – BUG SCREEN BRACE

2 – 30C – BUG SCREEN ANGLE

2 – 30D R/L – BUG SCREEN ANGLE

4 – 36A – DRIVE BRACE

4 – 36B – KNEE BRACE

6 – 39A – TOP AND MID RAIL

3 – 39B – TOE PLATE

1 – 41A – SAFETY GATE

2 – 42A – SIDE BASE ANGLE

2 – 42B – END BASE ANGLE

1 – 40A – LADDER

2 – 37A – HANDRAIL WITH TOE PLATE 37B

1 – 38A – HANDRAIL

1 – 45A – HANDRAIL

2 – 46A – BUG SCREEN

4 – 47A – BUG SCREEN

4 – 48A – BUG SCREEN

BOX NO.	112		CARE PACKAGE 123E8714L0001

1 – 2873-600 – 6” E-SEAL GASKET

1 – 382A1250P0001 – 2 ½” E-SEAL GASKET

1 – 382A1252P0001 – 4” E-SEAL GASKET

1 – 382A4891P0001 – 1/8” GRAPHITE GASKET

3 – 670A-1/8X1 – 1/8” X 1” X 50’ WEATHERSTRIP GASKET

1 – 670A-1/8X1 ½ – 1/8” X 1 ½” X 50’ WEATHERSTRIP GASKET

1 – 670A-1/8X2 – 1/8” X 2” X 50’ WEATHERSTRIP GASKET

2 – 670A-1/8X3 – 1/8” X 3” X 50’ WEATHERSTRIP GASKET

2 – CG-1D – 1” 150# 304SS FLG GASKETS

2 – CG-1D-316 – 1” 150# 316SS FLG GASKETS

5 – CG-1F – 1 ½” 150# 304SS FLG GASKETS

8 – CG-1G – 2” 150# 304SS FLG GASKETS

1 – CG-1G-316 – 2” 150# 316SS FLG GASKET

2 – CG-1H – 2 ½” 150# 304SS FLG GASKETS

2 – CG-1J – 3” 150# 304SS FLG GASKETS

3 – CG-1L – 4” 150# 304SS FLG GASKETS

2 – CG-1P – 6” 150# 304SS FLG GASKETS

1 – CG-1Q – 8” 150# 304SS FLG GASKET

1 – CG-1S – 12” 150# 304SS FLG GASKET

1 – CG-3F – 1 ½” 300# 304SS FLG GASKET

1 – CG-3G – 2” 300# 304SS FLG GASKET

1 – CG-3P – 6” 300# 304SS FLG GASKET

1 – CG-6D – 1” 600# 304SS FLG GASKET

1 – CG-6E – 1 ¼” 600# 304SS FLG GASKET

1 – CG-6G – 2” 600# 304SS FLG GASKET

2 – CG-6J – 3” 600# 304SS FLG GASKETS

1 – CGI-3D – 1” 300# 321SS FLG GASKET

1 – CGI-3F – 1 ½” 300# 321SS FLG GASKET

1 – CGI-3L-321 – 4” 300# 321SS FLG GASKET

1 – MS27196-12 – ¾” 4-BOLT SS / VITON GASKET

1 – MS27196-16 – 1” 4-BOLT ALUMINUM / VITON GASKET

1 – MS27196-32 – SUMP VENT GASKET

5 – 000185 – 6” SCH10, LR, 304SS 90, BW ELL

BOX NO.	116		CARE PACKAGE 123E8716L0005

1 – 382A1009P0001 – 1/8” CLEAR SHRINK TUBING (100 FEET)

1 – 382A1007P0001 – 1/16” CLEAR SHRINK TUBING (100 FEET)

1 – 382A1011P0001 – ¼” BLACK SHRINK TUBING (100 FEET)

1 – 382A1013P0001 – 3/8” BLACK SHRINK TUBING (100 FEET)

1 – 382A1015P0001 – ½” BLACK SHRINK TUBING (100 FEET)

1 – TAG-9T3-100B – WIRE MARKERS (1500 PER BOX)

1 – PLT35-MO – TY WRAPS (1000 PER BOX)

3 – 8371 PLYMOUTH TAPE – BISHOP 5000 HIGH VOLTAGE TAPE

1 – 130C-1X30FT – SCOTCH 33+ ELECTRICAL TAPE (10 ROLLS PER BOX)

1 – M22759/16-12-9 – 12 AWG WIRE REEL (1000 FEET)

1 – 11511607 – TERMINAL BLOCK, .238THK, M4/6

5 – 11512017 – TERMINAL BLOCK, .394THK, M10/10

25 – 11521411 – TERMINAL BLOCK, SWITCH, M 4/6.SN

5 – 382A1355P0001 – TERMINAL BLOCK, DOUBLE STACK

3 – 382A1356P0001 – PLATE, END TERMINAL BLOCK, DOUBLE STACK

5 – 382A5418P0001 – JUMPER, TERMINAL BLOCK, DOUBLE STACK

5 – 382A5423P0001 – NUMBERS, TERMINAL BLOCK, DOUBLE STACK

10 – J05530 – FUSE, 32AMP, 500V, IEC

10 – J05531 – FUSE, 63AMP, 690V, IEC

6 – J05532 – FUSE, 125AMP, 500V, IEC

6 – J05533 – FUSE, 200AMP, 690V, IEC

10 – ATM10 – FUSE MIDGET, 10 AMP

10 – ATM15 – FUSE MIDGET, 15 AMP

10 – ATM30 – FUSE MIDGET, 30 AMP

2 – ATM2 – FUSE MIDGET, 2 AMP

10 – ATM20 – FUSE MIDGET, 20 AMP

5 – KHS17D11-24V – RELAY, 24VDC COIL, 4PDT, PLUGIN

5 – SY42-05 – SOCKET, RELAY, FOR KHS TYPE

1 – S100X225VALY – THERMAL TRANSFER LABELS

BOX NO.	118		GAS FUEL MANIFOLD SUPPORTS

724465

101.	8 – J00573 – ½”-20NF X 2” HEX BOLTS

102.	8 – J00572 – ½”-13NC X 2” HEX BOLTS

103.   12 – J00543 – ½”-20NF HEX NUTS

104.	4 – J00547 – ½”-20NF X 4 ½” HEX BOLTS

105.	4 – J00575 – 3/8”-24NF X 1 ½” HEX BOLTS

106.	4 – J00399 – 3/8” FLAT WASHERS

107.   16 – J00395 – ½” FLAT WASHERS

108.	8 – J00405 – ½” LOCK WASHERS

109.	8 – J00539 – ½”-13NC HEX NUTS

110.	2 – 724466 – GAS FUEL MANIFOLD SUPPORTS

111.	4 – 724468 – ¼” GAS FUEL MANIFOLD SPACER

112.	4 – 724469 – 11GA. GAS FUEL MANIFOLD SPACER

1 – 724467 – GAS FUEL MANIFOLD SUPPORT SHIMS

4ea. 1/16” X 6” X 11” SUPPORT SHIMS

2ea. 1/8” X 6” X 11” SUPPORT SHIMS

2ea. ¼” X 6” X 11” SUPPORT SHIMS

1 – ¼” DRILL BIT

1 – 5/16” DRILL BIT

1 – 9/16” DRILL BIT

BOX NO.	209			AIR FILTERATION S/L & HARDWARE

REFERENCE SUPPLIER PACKING LIST