## Sheet1
Piece Box Number | Scope of Supply Rec. Descriptions (Chula Vista 01) (IMS-2009-LM604) | Gross Weight | Length | Width | Height | C.Feet | Receiving Number
MAIN PACKAGE
BX #01 | TURBINE BASE | 120000 | 372 | 168 | 176 | 6365 | DC2-DBCDB20090213D02001 | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 9331025.4834
BX #04 | TURBINE BASE INTERCONNECT SHIPLOOSE | 460 | 48 | 48 | 17 | 23 | DC1-DBCDB20090209D009005 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 6183.4789
BX #05 | SHEAR LUGS | 1080 | 46 | 28 | 18 | 13 | DC1-DBCDB20090209D009003 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 8244.6386
BX #06 | H-FRAME | 2000 | 174 | 30 | 39 | 118 | DC1-DBCDB20090123D023001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 20611.5964
BX #10 | EXHAUST FLASHING | 780 | 66 | 66 | 24 | 61 | DC1-DBCDB20090213D011001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 8244.6386
BX #11 | ELECTRICAL SHIPLOOSE MISC. | 1010 | 108 | 42 | 34 | 89 | SC1 - GE-30086 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 4122.3193
BX #12 | MECHANICAL SHIPLOOSE MISC. (TEARDOWN) | 540 | 148 | 21 | 17 | 31 | DC1-DBCDB20090210D012002 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 5152.8991
BX #13 | ALIGNMENT TOOL | 560 | 104 | 30 | 33 | 60 | DC1-DBCDB20090209D009004 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 14634.2334
BX #14 | ENGINE LIFT FIXTURE | 1900 | 130 | 78 | 24 | 414 | DC1-DBCDB20090126D013001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 13809.7696
BX #15 | GENERATOR | AT TEXAS TERMINALS UNDER DR # 84877 |  |  |  |  | AT TEXAS TERMINALS UNDER DR # 84877 |  |  |  | 1884596.8283
BX #17 | GENERATOR BASE | 68000 | 338 | 168 | 176 | 5784 | DC2-DBCDB20090213D02002 | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 344605.218
BX #19 | GEN. LUBE OIL PIPING ASSY. (BRUSH RIGHT) | 2360 | 201 | 46 | 58 | 310 | SC1 - GE-30074 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 24024.9592
BX #25 | GENERATOR TRANSITION THROAT | 1940 | 125 | 120 | 44 | 382 | DC1-DBCDB20090213D015001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 0
BX #26 | GENERATOR EXHAUST HOOD | 7480 | 171 | 144 | 84 | 1197 | DC1-DBCDB20090210D003003 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 103057.9819
BX #27 | GENERATOR FAN EXPANSION JOINTS | 500 | 52 | 52 | 24 | 38 | DC1-DBCDB20090112D019001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 0
BX #32 | TURBINE GAUGE PANEL ENCLOSURE | 1160 | 119 | 114 | 18 | 141 | DC1-DBCDB20090209D013002 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 75543.5619
BX #33 | COUPLING GUARD ASSY. (BRUSH) | 420 | 52 | 52 | 20 | 31 | DC1-DBCDB20090204D010001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 8244.6386
BX #36 | COUPLING ASSY. | 1390 | 118 | 36 | 40 | 98 | DC1-DBCDB20090205D008001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 59155.2816
BX #37 | ROOF SKID | 44000 | 477 | 172 | 151 | 7169 | DC2-DBCDB20090219D013001 | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 474175.9582
BX #39 | ROOF SKID TRANSITION | 1260 | 147 | 72 | 35 | 214 | DC1-DBCDB20090209D009001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 10305.7982
BX #40 | RAIN CAP | 1220 | 84 | 84 | 54 | 221 | DC1-DBCDB20090210D003001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 4122.3193
BX #41 | RAIN CAP | 1220 | 84 | 84 | 54 | 221 | DC1-DBCDB20090209D013001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 4122.3193
BX #42 | VENTILATION SILENCER | 3520 | 84 | 84 | 131 | 535 | DC1-DBCDB20090302D007002 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 32978.5542
BX #43 | VENTILATION SILENCER | 3520 | 84 | 84 | 131 | 535 | DC1-DBCDB20090303D003001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 0
BX #44 | VBV DUCT | 11000 | 156 | 99 | 105 | 930 | DC1-DBCDB20090129D013001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 11810.4447
BX #45 | VBV SILENCER | 8420 | 176 | 75 | 110 | 840 | DC1-DBCDB20090129D021001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 166953.9307
BX #46 | VBV HOOD | 2860 | 99 | 99 | 100 | 567 | DC1-DBCDB20090129D006002 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 30917.3946
BX #48 | VBV EXPANSION JOINT | 740 | 92 | 32 | 26 | 44 | DC1-DBCDB20090128D016001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 6812.1326
BX #52 | DEMISTER TANK (GENERATOR LUBE OIL) | 760 | 38 | 38 | 75 | 63 | DC1-DBCDB20090205D008002 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 2992.8038
BX #53 | H.M.I. COMPUTER (LOCAL) | 300 | 35 | 35 | 46 | 33 | SC1 - GE-30164 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 13943.6419
BX #59 | AIR FILTRATION ELEMENTS | 2830 | 105 | 85 | 117 | 604 | DC1-DBCDB20081118D016001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 32978.5542
BX #60 | AIR FILTRATION ELEMENTS | 2830 | 105 | 85 | 117 | 604 | DC1-DBCDB20081118D016002 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 0
BX #61 | GASKET KIT | 440 | 50 | 50 | 48 | 69 | DC1-DBCDB20090205D011001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 8564.1183
BX #62 | NUTS, BOLTS & WASHERS | 1940 | 54 | 48 | 40 | 60 | DC1-DBCDB20090209D009002 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 38036.9697
BX #63 | INSTALLATION SHIPLOOSE 226 | 440 | 26 | 26 | 26 | 9 | DC1-DBCDB20090224D016001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 2749.587
BX #64 | AUX. SKID | 19940 | 184 | 140 | 125 | 1863 | DC1-DBCDB20090223D017001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 0
BX #65 | AUX. SKID INLET HOOD | 1640 | 90 | 71 | 47 | 174 | DC1-DBCDB20090205D008003 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 298346.4474
BX #68 | AUX. SKID INTERCONNECT SHIPLOOSE (RIGHT HAND) | 320 | 66 | 24 | 18 | 17 | DC1-DBCDB20090210D003002 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 0
BX #69 | WATER INJECTION SKID | 6940 | 162 | 64 | 105 | 630 | DC1-DBCDB20090218D009001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 268052.1414
BX #70 | WATER INJECTION SKID | 6900 | 164 | 68 | 105 | 678 | DC1-DBCDB20090217D013001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 0
BX #71 | SPRINT SKID | 1940 | 66 | 56 | 66 | 141 | DC1-DBCDB20090302D007001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 78516.1457
BX #78 | LINESIDE CUBICLE | 2560 | 68 | 52 | 126 | 258 | DC1-DBCDB20090211D007002 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 36070.2937
BX #79 | NEUTRAL CUBICLE | 3760 | 88 | 52 | 126 | 334 | DC1-DBCDB20090219D003001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 25764.4955
BX #82 | CONTROL PANEL (TURBINE) | 3880 | 129 | 49 | 102 | 373 | SC1 - GE-30167 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 311141.9409
BX #83 | HEATERS & BRACKETS (TURBINE BASE) | 1120 | 68 | 44 | 72 | 125 | DC1-DBCDB20090130D006001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 20611.5964
BX #85 | BATTERIES, RACKS & CHARGERS (24 VDC) | 2725 | 115 | 46 | 57 | 175 | SC1 - GE-30084 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 50283.5971
BX #89 | BATTERY ACID 24 VDC | 660 | 48 | 30 | 29 | 24 | SC1 - GE-30083 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 0
BX #93 | PAINT | 110 | 28 | 28 | 14 | 6 | SC1 - GE-30033 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 2061.1596
BX #95 | C02 RACK (SUNSHIELD) | 2000 | 119 | 48 | 115 | 380 | DC1-DBCDB20090122D017001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 4122.3193
BX #96 | CO2 BOTTLES | 4485 | 49 | 49 | 73 | 101 | SC1 - GE-29971 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 39677.323
BX #105 | FIN FAN COOLER | 17580 | 182 | 123 | 155 | 2008 | DC1-DBCDB20090210D012001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 0
BX #106 | FIN FAN SHIPLOOSE | 4840 | 222 | 83 | 53 | 565 | DC1-DBCDB20090211D013001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 160458.3922
BX #111 | CARE PACKAGE 123E8713L0001 | 145 | 28 | 28 | 14 | 6 | SC1 - GE-30027 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 1193.4114
BX #112 | CARE PACKAGE 123E8714L0001 | 200 | 30 | 30 | 28 | 15 | DC1-DBCDB20090129D006001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 4648.4921
BX #116 | CARE PACKAGE 123E8716L0005 | 140 | 24 | 24 | 24 | 9 | DC1-DBCDB20090130D003001 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 11482.7203
BX #118 | GAS FUEL MANIFOLD SUPPORTS (ENGINE) | 400 | 76 | 28 | 18 | 22 | DC1-DBCDB20090213D011002 | Dixie Crating | 630 McFarland | Houston, TX 77011 | 2061.1596
| LIFT GEAR | [9 empty] | 0
BX #150 | TURBINE BASE LIFT PINS | 3330 | 110 | 48 | 26 | 79 | SC1 - GE-30048 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 0
BX #151 | GENERATOR BASE LIFT PINS | 3330 | 110 | 48 | 26 | 79 | SC1 - GE-30048 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 0
BX #152 | DONALDSON SPREADER BAR | 4610 | 440 | 33 | 18 | 151 | SC1 - GE-29902 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 209075.0264
BX #153 | TURBINE & GENERATOR BASE SPREADER BAR | 5320 | 212 | 42 | 19 | 97 | SC1 - GE-29902 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 0
BX #155 | SLINGS & SHACKLES | 8630 | 136 | 100 | 41 | 323 | SC1 - GE-29902 | Shipside Crating | 16400 Jacintoport | Houston, TX 77015 | 0
| AIR FILTER ASSY. | [9 empty] | 0
BX #200 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #201 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #202 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #203 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #204 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #205 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #206 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #207 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #208 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #209 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 1224981.2849
BX #210 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #211 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #212 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #213 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #214 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #215 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #216 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #217 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
BX #218 | AS AUTHORIZED BY G.E. PRODUCTION | [6 empty] | Palletized Storage | 435 S.Sheldon Rd | Houston, TX 77530 | 0
Note on B5: GE Power Systems: 724712 724211 723239 398018
Note on B7: Kevin Jack: 702614
Note on B8: Kevin Jack: 288890 J02705
Note on B15: 702036 702031
Note on B17: Kevin Jack: 701700
Note on B19: GE Power Systems: 701067
Note on B24: Kevin Jack: R-25766
Note on B25: Kevin Jack: R-25766
Note on B26: GE Power Systems: SS6625D2 SS6625D1
Note on B27: GE Power Systems: SS6625D2 SS6625D1
Note on B28: Kevin Jack: 377A1162P0000
Note on B29: Kevin Jack: 377A1162P0000
Note on B30: Kevin Jack: 377A1162P0000
Note on B31: Kevin Jack: 289174
Note on B32: Kevin Jack: 723016
Note on B33: Kevin Jack: 382A4022P0001
Note on B34: Kevin Jack: P19-0856
Note on B35: Kevin Jack: P19-0856
Note on B36: GE Power Systems: 571226
Note on B38: Kevin Jack: 226
Note on B40: J03278
Note on B41: Kevin Jack: 398000 (QTY. 4) 398002 (QTY. 3) 398003 (QTY. 1) 398004 (QTY. 1) 398005 (QTY. 1) 398006 (QTY. 1) 398001 (QTY. 2)
Note on B59: Kevin Jack: 724465