| Part Number | Description | Qty |
| --- | --- | --- |
| 8TY34BAB1 | KIT, T5.4 T/C & CABLE | 1 |
| 1-1/2"CFSJ-140-02 | VALVE | 1 |
| 1-1/2"CFSJ-140-02F | VALVE | 1 |
| 45-1279SS04L | GAUGE, PRESSURE | 2 |
| 45-1279SSL02L | GAUGE, PRESSURE | 1 |
| 45-1377SS02B | GAUGE, PRESSURE | 7 |
| 50E160E025 | INDICATOR, TEMP | 2 |
| 50E160E040 | INDICATOR, TEMP | 1 |
| 50E160E180 | INDICATOR, TEMP | 2 |
| 13220 | VALVE | 1 |
| 15830 | VALVE | 1 |
| 15840 | SOLENOID | 1 |
| 31830 | VALVE | 1 |
| 31861 | VALVE | 2 |
| 32800 | VALVE | 1 |
| 31820-AND-8 | VALVE | 1 |
| 31830-AND-12 | VALVE | 1 |
| 31840-AND-16 | VALVE | 1 |
| 32861-626 | VALVE | 1 |
| 3500 SPARE SLOT COVER | FUTURE EXPANSION CARD | 2 |
| 3500/05-02-04-01-00-00 | 3500/05 MINI-RACK, 7 SLOT | 1 |
| 3500/15-04-00-01 | SUPPLY, POWER DC LOW VOLT | 1 |
| 3500/20-01-02-01 | MODULE, RACK INTERFACE | 1 |
| 3500/25-02-04-01 | MODULE, KEYPHASOR | 1 |
| 3500/32-01-01 | MODULE, 4CH RELAY | 1 |
| 3500/42-09-01 | MONITOR, PROXIMITOR/SEISMIC | 1 |
| 3500/44-01-01 | MONITOR, AERODERIVATIVE | 2 |
| 1-15/16' | BEARING, FAN | 2 |
| 2-7/16" | BEARING, FAN | 2 |
| P16-5659 | ELEMENT, FILTER | 2 |
| 2010 | GAUGE, PRESSURE | 1 |
| 1950-00 | SWITCH | 2 |
| 1950-10 | SWITCH | 2 |
| 1-1/2"655R-EDR | VALVE | 1 |
| 1301F | REGULATOR | 1 |
| 310-SP-1 | VALVE | 1 |
| 655-EZ | VALVE | 1 |
| V500 | VALVE | 4 |
| FR72-4-1 1/4" | MONITOR, FLOW SWITCH | 2 |
| BX-77 | BELT, FAN | 5 |
| CX-90 | BELT, FAN | 4 |
| 1030M59P01 | GASKET | 6 |
| 1554M38P01 | GASKET | 10 |
| 3016M78P03 | STRAP | 15 |
| 3016M79P03 | STRAP | 15 |
| 9013M28P02 | GASKET | 1 |
| 9013M29P01 | GASKET | 1 |
| 9013M30P01 | GASKET | 1 |
| 9109M91P01 | BOLT | 5 |
| 9116M48P04 | STRAP | 2 |
| 9608M08G16 | GASKET | 1 |
| 9608M08G20 | GASKET | 5 |
| 9608M10P40 | GASKET | 5 |
| 9608M12P02 | GASKET | 5 |
| 9609M13P02 | GUIDE | 5 |
| 9610M50P01 | NUT | 25 |
| 9610M50P02 | NUT | 25 |
| 9610M50P21 | NUT | 25 |
| 9627M01P01 | GASKET | 10 |
| 9627M05G06 | GASKET | 2 |
| 9628M16P02 | BOLT | 5 |
| 9629M48P02 | NUT | 100 |
| 9629M48P04 | NUT | 50 |
| 9629M48P06 | NUT | 25 |
| 9629M48P10 | NUT | 25 |
| 9629M79P16 | GASKET | 5 |
| 9629M83G01 | GASKET | 10 |
| 9634M44P04 | COVER, A/O SEPERATOR | 1 |
| 9643M56P01 | GASKET | 5 |
| 9649M41P06 | BEARING, PLAIN | 1 |
| 9655M01P04 | SEAL | 3 |
| 9655M01P10 | SEAL | 50 |
| 9682M50P05 | GUIDE | 1 |
| AN960C10 | WASHER | 100 |
| AN960C10L | WASHER | 100 |
| AN960C416L | WASHER | 100 |
| AN960C516L | WASHER | 100 |
| AN960C616 | WASHER | 100 |
| J1220G03 | CLAMP | 5 |
| J1220G04 | CLAMP | 5 |
| J1220G06 | CLAMP | 5 |
| J1220G08 | CLAMP | 5 |
| J1220G09 | CLAMP | 5 |
| J1220G10 | CLAMP | 5 |
| J1220G11 | CLAMP | 5 |
| J1220G12 | CLAMP | 5 |
| J1220G15 | CLAMP | 10 |
| J1220G20 | CLAMP | 5 |
| J1220G24 | CLAMP | 5 |
| J1221G14 | CLAMP | 5 |
| J219P02A | GASKET | 1 |
| J219P04A | GASKET | 4 |
| J219P06B | GASKET | 4 |
| J219P07B | GASKET | 6 |
| J221P004 | PACKING | 25 |
| J221P009 | PACKING | 25 |
| J221P020 | PACKING | 100 |
| J221P023 | PACKING | 25 |
| J221P028 | PACKING | 25 |
| J221P134 | PACKING | 50 |
| J221P140 | PACKING | 25 |
| J221P216 | PACKING | 25 |
| J221P228 | PACKING | 10 |
| J221P234 | PACKING | 5 |
| J221P263 | PACKING | 2 |
| J221P902 | PACKING | 2 |
| J221P904 | PACKING | 25 |
| J221P905 | PACKING | 25 |
| J221P906 | PACKING | 25 |
| J221P908 | PACKING | 25 |
| J221P910 | PACKING | 25 |
| J221P916 | PACKING | 25 |
| J221P920 | PACKING | 5 |
| J643P05B | BOLT | 10 |
| J644P04D | BOLT | 25 |
| J644P05B | BOLT | 5 |
| J644P05D | BOLT | 25 |
| J644P07B | BOLT | 5 |
| J644P11D | BOLT | 10 |
| J644P12A | BOLT | 10 |
| J645P05B | BOLT | 5 |
| J815P046A | BOLT | 5 |
| L14517P01 | GASKET | 5 |
| L14520P01 | SHIM | 1 |
| L14542P01 | NUT | 1 |
| L15500P01 | SPRING | 1 |
| L21131P02 | SENSOR | 1 |
| L21562P03 | SHIELD | 1 |
| L21618P04 | RETAINER | 1 |
| L21693P02 | CABLE | 1 |
| L28030P04 | LEAD | 1 |
| L28339P01 | SENSOR, T3 | 1 |
| L31302G01 | END, ROD | 2 |
| L31302G02 | END, ROD | 2 |
| L31809P10 | NOZZLE | 15 |
| L34246P04 | ACCELEROMETER | 2 |
| L34319P02 | SENSOR, CIT/CIP | 1 |
| L34340G01 | TUBE | 2 |
| L34366G01 | TUBE | 2 |
| L34379P03 | CONTROL | 1 |
| L34381P16 | TEE | 1 |
| L34732G01 | TUBE | 4 |
| L34751G01 | TUBE | 4 |
| L34755G01 | TUBE | 2 |
| L34868G01 | TUBE | 1 |
| L35166P01 | DETECTOR | 4 |
| L35228P03 | SEAL | 1 |
| L35245P01 | ROD | 1 |
| L35245P02 | ROD | 1 |
| L35246P01 | GASKET | 2 |
| L35248P10 | GASKET | 6 |
| L35285P03 | LINK | 1 |
| L35579P01 | GASKET | 25 |
| L35579P04 | GASKET | 4 |
| L36000G02 | SIGHT, FLAME | 2 |
| L43450P01 | IGNITER PLUG | 2 |
| L44500P08 | PUMP, L/S | 1 |
| L44780P01 | PROBE | 1 |
| M83248-1-121 | PACKING | 4 |
| M83248-1-905 | PACKING | 20 |
| M83248-1-910 | PACKING | 8 |
| M83248-1-912 | PACKING | 12 |
| MS122907 | CLAMP | 5 |
| MS122909 | CLAMP | 5 |
| MS122915 | CLAMP | 5 |
| MS122923 | CLAMP | 5 |
| MS3367-4-9 | STRAP | 25 |
| MS9201-07 | NUT | 5 |
| MS9315-04 | CAP | 1 |
| MS9315-04 | CAP | 5 |
| MS9315-12 | CAP | 1 |
| MS9321-09 | WASHER | 25 |
| MS9373-035 | GASKET | 7 |
| MS9373-041 | GASKET | 6 |
| MS9373-045 | GASKET | 6 |
| MS9373-051 | GASKET | 14 |
| MS9373-055 | GASKET | 6 |
| MS9373-091 | GASKET | 1 |
| MS9489-05 | BOLT | 5 |
| MS9489-07 | BOLT | 10 |
| MS9489-09 | BOLT | 10 |
| MS9489-12 | BOLT | 5 |
| MS9489-14 | BOLT | 5 |
| MS9489-17 | BOLT | 5 |
| MS9490-08 | BOLT | 5 |
| MS9490-12 | BOLT | 25 |
| MS9490-14 | BOLT | 5 |
| MS9490-15 | BOLT | 25 |
| MS9490-16 | BOLT | 5 |
| MS9490-17 | BOLT | 5 |
| MS9490-24 | BOLT | 5 |
| MS9491-15 | BOLT | 5 |
| MS9491-25 | BOLT | 5 |
| MS9492-25 | BOLT | 5 |
| MS9501-10 | BOLT | 25 |
| MS9556-10 | BOLT | 10 |
| MS9565-05 | BOLT | 5 |
| MS9565-08 | BOLT | 5 |
| MS9565-10 | BOLT | 5 |
| MS9566-09 | BOLT | 25 |
| MS9566-14 | BOLT | 5 |
| MS9566-16 | BOLT | 5 |
| R302P08Y | GASKET | 1 |
| R304P2A | GASKET | 2 |
| R413P34 | NUT | 5 |
| R414P04 | NUT | 5 |
| 337678 | HOSE ASSY,1/4 X 24 OAL | 2 |
| 443625 | HOSE ASSY,1 1/2X27 1/2 OAL,GLO | 2 |
| 443626 | HOSE ASSY,1 1/2X29 1/2 OAL,GLO | 2 |
| 443630 | HOSE ASSY,3/4" X 30"QAL,W.W. | 2 |
| 443631 | HOSE ASSY,3/4" X 40"OAL,W.W. | 2 |
| 443634 | HOSE ASSY,2" X 61"OAL,TLO | 2 |
| 443635 | HOSE ASSY,1 1/2" X 85"OAL,TLO | 2 |
| 443636 | HOSE ASSY,1 1/2" X 22"OAL,TLO | 2 |
| 443637 | HOSE ASSY,1 1/2" X 48"OAL,TLO | 2 |
| 443638 | HOSE ASSY,1 1/2" X 50"OAL,TLO | 2 |
| 443640 | HOSE ASSY,1 1/2" X 22"OAL,TLO | 2 |
| 443641 | HOSE ASSY,1 1/4" X 35"OAL,TLO | 2 |
| 443642 | HOSE ASSY,1" X 38"CTE,TLO | 2 |
| 443643 | HOSE ASSY,1 1/2" X 35" CTE,TLO | 2 |
| 443644 | HOSE ASSY,1" X 30"OAL,TLO | 2 |
| 443645 | HOSE ASSY,1 X 46"OAL,HYD ST | 2 |
| 443646 | HOSE ASSY,1"X 52"CTC,HYD ST | 2 |
| 443647 | HOSE ASSY,1" X 47"OAL,HYD ST | 2 |
| 443677 | HOSE ASSY,3/4" X 18"OAL | 2 |
| 443678 | HOSE ASSY,1" X 19"OAL | 2 |
| 443679 | HOSE ASSY,1" X 32"OAL | 2 |
| 443687 | HOSE ASSY,5/8" X 25"OAL,LIQUID | 2 |
| 443688 | HOSE ASSY,3/4" X 28"OAL,LIQUID | 2 |
| 443693 | HOSE ASSY,3/4" X 24"OAL,WATER | 2 |
| 443696 | HOSE ASSY,3/4" X 26" OAL | 2 |
| 443697 | HOSE ASSY,3/4" X 19"OAL | 2 |
| 473623 | HOSE ASSY,1 1/2"X 18 1/2OAL,GL | 2 |
| 473624 | HOSE ASSY,2"X 27 OAL,GLO | 2 |
| 473627 | HOSE ASSY,1 1/2"X 30"OAL,GLO | 2 |
| 473628 | HOSE ASSY,1 1/2"X 26 OAL,GLO | 2 |
| 473629 | HOSE ASSY,4"X 59"CTE,GLO | 2 |
| 473650 | HOSE ASSY,2 X 24 OAL | 2 |
| 473652 | HOSE ASSY,1 1/2 X 18 1/4 CTE | 2 |
| 473653 | HOSE ASSY,LIQUID FUEL Q/D | 2 |
| 473654 | HOSE ASSY,2 X 30 ETE | 2 |
| 473661 | HOSE ASSY,1/4 X 48 OAL | 2 |
| 473663 | HOSE ASSY,1 1/4 X 33 OAL | 2 |
| 473677 | HOSE ASSY,2" X COMPLEX | 2 |
| 473683 | HOSE ASSY,2" X 43 OAL,GAS | 2 |
| 473684 | HOSE ASSY,2" X 23 CTE,GAS | 2 |
| 473686 | HOSE ASSY,1"X 24 OAL,LIQUID | 2 |
| 473692 | HOSE ASSY,3/4" X 19 OAL,WATER | 2 |
| 473710 | HOSE ASSY,GAS VENT Q/D | 2 |
| 473711 | HOSE ASSY,HYDR STRT RET Q/D | 2 |
| 473712 | HOSE ASSY,CASE DRAIN Q/D | 2 |
| 473715 | HOSE ASSY,1 1/4 X 50 ETE | 2 |
| 473716 | HOSE ASSY,1 1/4 X 64 OAL | 2 |
| 473717 | HOSE ASSY,1 1/4 X 44 CTC | 2 |
| 473718 | HOSE ASSY,1 X 52 CTC | 2 |
| 473719 | HOSE ASSY,1 1/2 X 38" CTC | 2 |
| 473720 | HOSE ASSY,1 1/2 X 9' CTC | 2 |
| 473721 | HOSE ASSY,3/4" X 16'-8" OAL | 2 |
| 473722 | HOSE ASSY,1/2" X 4'OAL | 2 |
| 900012 | HOSE, INSTRUMENT | 2 |
| 900013 | HOSE, INSTRUMENT | 2 |
| 900150 | HOSE ASSY,3/8 X 32 OAL | 2 |
| I04672 | HOSE ASSY,TURB LUBE OIL Q/D | 2 |
| I04673 | HOSE ASSY,WATER INJ. SUP Q/D | 2 |
| I04674 | HOSE ASSY,W/W SUPPLY Q/D | 2 |
| I04675 | HOSE ASSY,GLO SUP/RET Q/D | 2 |
| I04676 | HOSE ASSY,HYDR STRT SUP Q/D | 2 |
| 607208-00 | CABLE, ACCELEROMTER | 2 |
| L1941A33G700 | CABLE, IGNITION EXCITER | 2 |
| L1941A34G700 | CABLE, TEMP L/O SUPPLY | 2 |
| L1941A36G700 | CABLE, N1 SPEED | 2 |
| L1941A39G700 | CABLE, N2 SPEED | 2 |
| L1941A41G700 | CABLE, T3 | 1 |
| L1941A42G700 | HARNESS, T5.4 | 1 |
| 6601-01-019-C | CLUTCH | 1 |
| 0060D010BNHC | ELEMENT, FILTER | 12 |
| 100P4S4C6 | SWITCH | 1 |
| 100TC54CC6 | SWITCH | 1 |
| 100TC5CC615 | SWITCH | 1 |
| 100TC5S4C6 | SWITCH | 2 |
| 132P41C6B | SWITCH | 2 |
| 132P42C6B | SWITCH, PRESSURE | 2 |
| 132P48C6B | SWITCH | 5 |
| 160P4S36 | SWITCH | 2 |
| 160P4S43 | SWITCH | 1 |
| 162P42CBH | SWITCH | 1 |
| 180P44C6 | SWITCH | 1 |
| 1502DG-4-A-4.5 | GAUGE, PRESSURE | 1 |
| 1502DG-4-A-4.5F | GAUGE, PRESSURE | 1 |
| HC9600FKN13Z | ELEMENT, FILTER | 12 |
| HC9600FKN8Z | ELEMENT, FILTER | 12 |
| AA6VM107HA1/63W-VSD527A-E | MOTOR, STARTER | 1 |
| 1151AP8E22B2 | TRANSMITTER, PRESSURE | 1 |
| 1151GP7E22B2D3 | TRANSMITTER, PRESSURE | 3 |
| 1151GP8E22B2D3 | TRANSMITTER, PRESSURE | 4 |
| 78F25C60A025T34 | SENSOR, TEMPERATURE | 1 |
| 78F25N00A020T34 | SENSOR, TEMPERATURE | 1 |
| 78F25N00A025T34 | SENSOR, TEMPERATURE | 1 |
| 78F25N00A035T34 | SENSOR, TEMPERATURE | 4 |
| 78F25N00A120 | SENSOR | 2 |
| 300 5C1G-CC | PUMP | 1 |
| 2511A | RTD | 1 |
| 1269 | FUSE | 2 |
| 1308 | FUSE | 5 |
| 1310 | FUSE | 5 |
| 1328 | FUSE | 5 |
| 1335 | FUSE | 5 |
| 3001 | FUSE | 1 |
| 1002-24-PCB-S5 | HORN, CIRCUIT BOARD | 1 |
| 360-610-01 | SENSOR, GAS | 3 |
| 360-671-01 | KIT, TEST | 1 |
| 360-954-02 | KIT, TEST | 1 |
| 361-236-01 | TRANSMITTER, GAS | 1 |
| 361-645-106 | MODULE, ALARM | 1 |
| 362-550-048 | CONTROLLER | 1 |
| 700-5-24 | STROBE, CIRCUIT BOARD | 1 |
| AM | MODULE, ALARM | 1 |
| FM | MODULE, FAULT | 1 |
| IM | MODULE, INPUT | 1 |
| RM | MODULE, RELEASE | 1 |
| U7099 | DETECTOR, FLAME | 1 |
| 8580-071 | PUMP, HYD | 1 |
| 8900-067 | SENSOR, TEMPERATURE | 1 |
| YF102-NNNB3A-S3S3*C/FMF/SCT | METER, FLOW | 1 |
| YF105-NNNA2A-S3S3*C/FMF/SCT | TRANSDUCER, FLOW | 1 |
| YF108-NNNA3A-S3S3*C/FMF/HPT/SCT | TRANSDUCER, FLOW | 1 |
| YF110-NNNA3A-S3S3*C/FMF/HPT/SCT | TRANSDUCER, FLOW | 1 |