Section 1.0	Introduction

Derwick Associates Corp. (Contractor) is pleased to provide this Technical Proposal to furnish and install a nominal 180 MW Gas Turbine Simple Cycle Power Plant for the LaRaisa Power Plant.

This turnkey proposal includes installing the following Owner supplied equipment:

- Three (3) Pratt Whitney FT8-3 Swiftpac gas turbine generator packages

- Three (3) ARIEL Model JGH/2 (TOROMONT Package) Fuel Gas Compressors

- One (1) Demin Water Treatment System (3 Trains)

- One (1) Liquid Fuel Treatment Equipment (3 Trains)

- One (1) 350 KW Black Start Generator

Contractor will furnish all engineering, remaining balance of plant equipment, contract locally for the required subcontractors to accomplish the site construction, construction tools, equipment rental, project management, commissioning, start-up, and performance testing.  It is our intention to manage the project schedule to assure the results per the mutually agreed upon terms of the EPC Contract.  This Technical Scope Document will become an exhibit to the EPC Contract.

It is our understanding that the Pratt & Whitney FT8-3 Swiftpac gas turbine generator packages are new and unused.

THIS DOCUMENT IS CONFIDENTIAL.  IT IS DESIGNED AND INTENDED FOR EDC’S USE.  THIS DOCUMENT IS FOR THE SOLE PURPOSE OF EVALUATING THE CONTRACTOR’S PROPOSAL FOR THE FT8-3 SWIFTPAC POWER PROJECT.