- Section 10.0 Exceptions and Clarifications

For clarification of the project the following exceptions and assumptions are stated:

- 10.1 	The Scope of Supply of this document does not include the following items:

- Real estate property on which the Power Project is to be sited.

- Local, state, and/or government taxes associated with the Owner Furnished equipment.

- Any site environmental cleanup or modifications to site as a result of the possible existence of Hazardous Waste materials such as Asbestos or PCB’s.

- Environmental permits. (Note: Contractor will assist in obtaining permits where applicable.)

- Fuel gas for blow down, flushing, commissioning, start-up, and operation.

- Liquid fuel for flushing, commissioning, start-up and operation.

- Pratt and Whitney Technical Services during start-up for the FT-8 units

- Supply of Owner furnished items as outlined in Sections 2 & 3 of this TSD.

- Transportation of Owner provided equipment to Puerto Cabello

- Performance guarantees and warranty on Owner supplied equipment.

- Operating spares. (Contractor will submit a list of recommended spare

Parts for the Contractor supplied BOP equipment (2) years of operation.)

- 10.2 	This proposal is also based on the following assumptions:

- Owner will provide complete site and access road for use as described in the TSD and associated drawings.

- Owner will supply the Major Equipment and Balance of Plant Equipment as described the Owner’s Responsibility in Sections 2 & 3 of this TSD.

- Owner to supply Raw Water within 100 meters of the plant boundary as described in Section 2 of this TSD and the associated drawings.

- Owner to provide the Gas Fuel Supply at the PDVSA gas fuel metering station at the plant boundary as laid out in the associated drawings.

- Owner is responsible for supplying all gas and liquid fuel for the commissioning of the gas turbines and related balance of plant equipment.

- Contractor to obtain local, county or state construction permits. (Owner will assist in obtaining.)

- Contractor will provide soil borings to be utilized for site design.

- Contractor to provide site survey as necessary

- Contractor to furnish and install “first fill” lubricants and chemicals for

the plant (excluding the liquid fuel).

- Contractor will provide warranty and performance guarantees on all Contractor furnished equipment and services.