LM6000 INSPECTION

LOCATION: Industrial Terminal Houston, Tx

DATE: October 5, 2009

ESN: 191-418

##### Piece #1

##### Turbine Base

Parts and accessories shipped in main unit turbine room-LM6000 PC-Sprint

QUANTITY:

1 – WOODWARD GAS FUEL VALVE

2 – FISHER CONTROL GAS VALVE

1 – GE MARINE INDUSTRIAL GAS TURBINE S/N 191-418 (IN SHIPPING CONTAINER)

2 – SETS OF EXHAUST SHIMS

4 – EXHAUST BOLTS WITH LOCK WASHERS, FLAT WASHERS, AND NUTS

2 – EXHAUST PUSH BRACKETS MISSING

1 – HILLIARD ENGINE STARTER ON TURBINE IN SHIPPING CONTAINER

4 – SHIPPING BRACES FOR TURBINE SUPPORT (SHIPPED LOOSE)

1 – TURBINE EXHAUST COLLECTOR (MOUNTED TO BASE, INSIDE TURBINE ROOM W/ INSULATION EXHAUST BLANKET)

1 – SAUER DANFOSS HYDRAULIC MOTOR  (ON AUX. SKID)

1 – FISHER CONTROL VALVE, EXHAUST DRAIN W/1”TUBE AND 1” FLEX HOSE

1 – TURBINE LUBE OIL FILTER, PALL W/ HAND TORQUE BOWL (BOWL IS MISSING)

2 – CO2 NOZZLES – TYPE “S” MOUNTED

1 – PIPE CONNECTION SS 1 ½” 300 X 1’ LG. CONNECTION TA4 TO SPRINT MANIFOLD TURBINE ENGINE

1 – BALL VALVE SS 1 ½”, SPRINT CONNECTION

1 – FLEX HOSE 1 ½”, SPRINT CONNECTION

1 – ORIFICE PLATE GE SUPPLY 5/8” DIAMETER ORIFICE CONNECTION TA4, DWG, MISSING

2 – GASKET SEALS, SQUARE MISSING

4 – BOLTS MISSING

4- NUTS MISSING

Hoses, Tubes, & Pipes

1 – HOSE WITH PIPE CONNECTION, GASKET 3” 600 AND 8 EACH ¾” STUDS AND ¾” NUTS

1 – HOSE AND TUBE CONNECTION, STARTER CASE DRAIN

1 – HOSE AND PIPE CONNECTION, HYDRAULIC START SUPPLY MAIN SKID

1 – HOSE AND PIPE CONNECTION HYDRAULIC START RETURN MAIN SKID

1 – HOSE AND TUBE CONNECTION, TURBINE AIR SUPPLY TP-39804

1 – HOSE AND PIPE CONNECTION, TLO SUPPLY TO #L-1

1 – HOSE AND PIPE CONNECTION, HEAD SUPPLY #L-3

1 – HOSE AND PIPE CONNECTION, TLO SUPPLY TO FILTER #L-6

1 – HOSE AND PIPE CONNECTION, TLO SCAVENGE #L-2

1 – HOSE AND TUBE CONNECTION, PRIMARY HEADER #P100

13 – ¼” TYPICAL INSTRUMENT LINES

1 – HOSE AND TUBE CONNECTION, 1” TURBINE EXHAUST DRAIN

1 – A-SUMP XREF520 KITS PB166, AEP/MOD MISSING

3 – HOSES INSTALLED WITH BRACKETS

1- TEE, 2” X 150-10S WP- 304/304 L.S. HT #5184 #276 MR0175-65545-APP ADAPTER A9 CONNECTION

2 – GASKETS, 4-BOLT, 1 ALUMINUM/VITON

1 – GASKET, 4-BOLT, 1 ½” ALUMINUM

2 – GASKETS, SUMP VENT

1 – GASKET, FLEXITALLIC, FLG, 3-150# RF, SS, SWOR

4 – WASHERS, LOCK, ¼”, HELICAL, CS MISSING

8 – BOLTS, HEX, 5/16-18NC X 1 ¼”, SS MISSING

8 – NUTS, HEX, F/L, 5/16”-18NC, SS MISSING

16 – WASHERS, FLAT, 5/16, SAE, 18-8SS, WS MISSING

4 – BOLTS, HEX ¼ X 20 NC X G5, PL MISSING

8 – STUDS, 5/8-11NC X 3 3/4, B7, PL MISSING

8 – NUTS, HVY HEX, 5/8-11NC, 2H, PL MISSING

8 – STUDS 5/8-11NC, 2H PL MISSING

16 – NUTS, HVY HEX, 5/8-11NC, 2HMISSING

4 – BOLTS, HEX, ¼” – 20NC X 1 ¼, SS MISSING

8 – WASHERS, FLAT, ¼” SAE, 18-8SS, W/S MISSING

4 – WASHER, FLAT, ¼” SAE, CS, PL MISSING

4 – NUTS, HEX F/L ¼ -20NC, SS MISSING

Box #2

8 – SHEAR LUGS

Box #3

LM -6000 PC TURBINE ENGINE H-FRAME ASSY

1 – I-BEAM ½” X 14’ LG. W/ MAIN UNIT CONNECTION

1 – I-BEAM ½” X 10’ 10” CROSS BEAM ASSEMBLY

2 – I-BEAM SUPPORT LEGS

12 – BOLTS ¾” X 2 ½” LG. W/ HEAVY HEX NUTS

1 – ST. – ASSY. HARDWARE KIT OF CRANE NUTS, WASHERS, BOLTS

BOX #4

4 – BMKEXH-412 BRACKETS FOR HEATER, RUFFNECK

4 – FX412480360-5T HEATERS, AIR, FX4, 480V5KW3P60HZ-T

BOX #5

LM-6000 TURBINE MODULE- THRUST BALANCE PIPING ASSEMBLY – DWG. NO. 701990

1 – VALVE BLEED AIR 4.0 IN. DIA.

1 – TEE FLANGE, SPOOL, W/1” FLANGE CONNECTION

1 – ADAPTER FLANGE, TO V, 8 HOLE FLANGE ONE END, AND 4” CLAMP CONNECTION ONE END-

1 – ORIFICE PLATE, THR BAL. 8 HOLE 4” CONNECTION

1 – ORIFICE PLATE, 4 BOLT HOLE –

2 – GASKETS, E-SEAL, 4”

1 – SEAL RING, METAL, 3 INCO718

1 – SEAL RING, METAL, 2 ½” (EG&G)

2 – COUPLING, 4”, V-RETAINER

1- CLAMP, V-BAND, 3” RETAINER (VOSS)

1 – CLAMP, 2 ½”, V-BAND RETAINER

2 – GASKETS, GRAPHITE, ½” THK

2 – GASKETS, GRAPHITE, 1/16 THICK

1 – GASKET, FLG, 1-300# RF, 321S, SWIOR (FLEXITALLIC)

4 – STUDS, 5/8” – 11UNC X 3 ¼” A193-B8C

8 – NUTS, HVY. HX. 5/8” – 11NC-A194-B8C

4 – BOLTS, HEX, ¼” 28NFX 1 ½”, G5P

8 – WASHERS, FLAT, ¼” SAE, 316 SS W/S

8 – NUTS, HEX F/L, ¼-28 NF, SILV-PL

16 – BOLTS,

16 – NUTS, HEX F/L, 5/16” – 24NF, SILV PL

8 – BOLTS, MACHINE 5/16” X 1 ¼” LG. G.E. AIRCRAFT BOLTS

8 – NUTS, SLKG, G.E. AIRCRAFT

3 – FAB DTL, PPG SUPPORTS SPRG CAN

3 – BOLTS, HEX, ½-13NC X 3 ½”, SS – MISSING

3 -  BOLTS, HEX, ½” – 13NC X 3, G5, PL

6 – NUTS, HEX, ½-13NC, 304SS

15 – NUTS, HEX, ½-13NC, G5, PLATED

6 – WASHERS, FLAT, ½, SAE, 304 S.S. W/S

6 – WASHERS, FLAT, 1/2:”, SAE, CS, PL, W/S

3 – HANGERS RODS, ALL THD, ½” – 13NC, SS

3 – HANGERS, PTP-1, TYPE C, SIZE 20

4 – BOLTS, HEX, 5/16-24NF X 1 1/4'”, SS – MISSING

4 – WASHERS, FLAT, 5/16, SAE 316SS, W/S – MISSING

1 – SPOOL 1 PIPE SS 4” 600 FLANGE ONE END #/G.E. ENGINE CONNECTION A47 CLAMP END 2 ½”

1 – SPOOL 2 PIPE SS 4” FLANGE CONNECTION EIGHT BOLT HOLES W/G.E. ENGINE CONNECTION A46, CLAMP END 3”

1 – SPOOL 3 PIPE S.S. 1” (BYPASS) 1” 300# FLANGE ONE END, AND FOUR BOLT PAD CONNECTION ONE END

1 – SPOOL 4 PIPE S.S. 4” CLAMP CONNECTION TO HONEYWELL VALVE, TO 4” 600# RF CONNECTION TO A47

1 – OFFSET BRACKET ASSEMBLY, FOR 4.0 IN. DIA.

4 – BOLTS S.S. 5/16” X 5/8” LG. FINE THREAD

4 – LOCKWASHERS S.S. 5/16”

4 – FLATWASHERS S.S. 5/16”

4 – BOLTS S.S. 3/8” X 1” LG.

4 – FLATWASHERS S.S. 3/8” S.S.

4 – LOCKNUTS S.S. 3/8”

TUBE FITTING CONNECTION, VALVE BLEED AIR ASSEMBLY

1 – 1/2” TUBE CONNECTION BLEED AIR RETURN – MISSING

1 – 3/8” TUBE CONNECTION BLEED AIR SUPPLY – MISSING

1 – ¼” TUBE CONNECTION BLEED AIR DRAIN - MISSING

TUBE FITTING, HONEYWELL VALVE

1 – ½” TUBE X ½” O-RING ST – HONEYWELL VALVE – MISSING

1 – 3/8” TUBE X 3/8” O-RING ST – HONEYWELL VALVE – MISSING

1 – ¼” TUBE X ¼” O-RING ST – HONEYWELL VALVE – MISSING

4 – WASHERS, LOCK, 5/16, HELICAL, 316SS

1 – GASKET, FLG, 4-600# RF, 321S SWIOR

8 – STUDS, ¾” – 10NC X 4 ¾” – 304SS

16 – NUTS, HEX ¾-10 NC, 304SS

BOX #6

LM-6000 UNIT – 60 HZ UNIT

1 – COLD WEATHER ENCLOSURE, FOR LM-6000 TURBINE GAUGE PANEL ASSEMBLY (ALUMINUM)

1 – ALUMINUM ANGLE – ¼” X 8’6” LG. FOR GAUGE PANEL ASSEMBLY BOX W/HARDWARE, ASSEMBLY SCREWS

BOX #8

1 – EXPANSION JOINT, VBV DISCHARGE INTERNAL FOR LM6000-PC TURBINE ENGINE ASSEMBLY, PIPING TECHNOLOGY PRODUCTS, INC.

BOX #9

LM6000 TURBINE MODULE EXHAUST DIFFUSER FLASHING ASSEMBLY

4 – EXHAUST FLASHINGS

4 – EXHAUST BLANKETS

56 – ¼” X 1” SHEET METAL SCREWS

2 – ½” EYE BOLTS

4 – STAINLESS STEEL COVER PLATES/FLASHING ASSEMBLY

8 – 5/16 X 2” HEX BOLTS

8 – 5/16 STAINLESS STEEL FLATWASHERS

8 – 5/16 STAINLESS STEEL LOCKWASHERS

2 – 3/8” DRILL BITS

1 – 23 FT. ROLL 1 1/8” FIBERGLASS ROPE

1 – ROLL – STAINLESS STEEL TIE WIRE

Box #10

1 – LOT – MECHANICAL SHIPLOOSE AS LISTED BELOW

LM-6000 SPRINT

2 – HOSES, GENERATOR PUMP SUCTION 2” AND GENERATOR PUMP DISCHARGE 2”

1 – 1 ¼” PIPE S.S. CO2 BOTTLES RACK TO MAIN UNIT CONNECTION 12” LONG

1 – LEVEL GAUGE, OUTSIDE CONNECTION GENERATOR END OF SKID – MISSING

3 – 1 ¼” PIPES S.S. CO2 BOTTLES RACK TO MAIN UNIT CONNECTION

1 – HOSE, S.S. FLEX W/WIRE BRAID 3” X 69 LG. ABC SUMP VENT METAL HOSE,     TURBINE ROOM ASSEMBLY

8 – BOLTS, 5/16” X 1 ¼” LG. S.S. – MISSING

8 – NUTS, 5/16” LOCK – MISSING

2 – GASKETS, PARKER O-SEAL

4 – ¼” SEAL RINGS, AIR INLET PLENUM W/BOLTS & NUT ASSEMBLY SPLIT TYPE RING

48 – BOLTS,

48 – NUTS, SILVER PLATED

4 – ¼” SEAL RING AIR INLET PLENUM W/BOLTS & NUT ASSEMBLY SPLIT TYPE RING

48 – BOLTS

48 – NUTS, SILVER PLATED

4 – STEEL, PLATES (ROOF SKID) – 3/16 X 3 1/8 X 6 ½” - MISSING

4 – STEEL PLATES (ROOF SKID) – 3/16 X 3 1/8 X 3 1/4” – MISSING

48 – SHEET, METAL SCREWS WALL FLASHING

1 – GAUGE, ASHCROFT – DEG. TO 250 DEG.

50 – GRATING CLIPS

50 – WHIZ BOLTS – ¼” X 1”

100 – SHEET METAL SCREWS – ¼” X 1” LG.

50 – SHEET METAL SCREWS – ¼ X 1 ½”

10 – SHEET ETAL SCREWS – ¼ X 3” LG.

20 – COUNTER SINK SCREWS – ¼ X 1”

10 – SCREWS – 10/32 X 1” LG

10 – SCREWS – 10/32 X 3/E” LG

20 – NUTS – 10/32

1 – 1” LIFTING EYE BOLTS W/NUT

4 – ½” LIFTING EYE BOLTS W/NUTS

1 – HOSE, 3” 150# AIR AND OIL SEPARATOR ROOF SKID MATING

1 – HOSE, 2” 150# AIR AND OIL SEPARATOR ROOF SKID MATING

2 – HOSES, 2” SPLIT FLANGES, BLUE COLOR (MAIN UNIT SPLIT LINE CONNECTION)

PIECE #13

1-LM6000 GENERATOR BASE

PARTS, ACCESSORIES SHIPPED INSIDE GENERATOR BASE

1 – MOTOR AC, W/PUMP GENERATOR LUBE OIL SYSTEM

1 – MOTOR AC, W/PUMP GENERATOR JACKING OIL SYSTEM

4 – JACKING OIL FILTERS, W/CHECK VALVE AND FLEX HOSES

3 – JACKING OIL 3/8” TUBES, DRIVE END CONNECTION

1 – JACKING OIL TUBE 3/8”, TUBE EXCITER END

1 – PALL LUBE OIL FILTER, DUPLEX

1 – CROSBY VALVE – GLO

1 – GENERATOR FILLER CAP W/SCREEN

4 – GENERATOR COUPLING GUARDS ASSEMBLY (BRUSH GEN. COUPLING GUARDS)

3 – CO2 NOZZLES – TYPE “S”

1 – GAUGE, ASHCROFT 50 DEG. TO 400 DEG. – TI 6014 – MISSING

1 – GAUGE, ASHCROFT 0 DEG. TO 250 DEG. – TI-6010

1 – GAUGE, ASHCROFT 0 DEG. TO 250 DEG. – TI-6009 – MISSING

4 – MAIN UNIT TURBINE SECTION AND GENERATOR SECTION SPLIT BASE BOLTS – 1 ½” X 5” LONG

4- MAIN UNIT TURBINE SECTION AND GENERATOR SECTION SPLIT BASE NUTS

2 – DOWEL PINTS – 1 ½” (ALL ITEMS ARE SHIPPED INSIDE SMALL PLYWOOD BOX)

12 – GENERATOR LUBE OIL SUPPLY AND RETURN S.S. PIPING ASSEMBLY 4” 150#, 2” 150#, 1 ½” 150# PIPES (ALL ITEMS ARE MOUNTED & BOLTED)

5 – 2”CHECK ALL VALVES, GLO SYSTEM

2 – CROSBY VALVES – GLO –

1 – FISHER CONTROL VAVLE – GLO

3 – TUBES, ¼” GLO CONNECTION

1 – TUBE, ½” GLO DRAIN, DEMISTER TANK

1 – DRESSER COUPLING 4” GLO, TO DEMISTER TANK

2 – WALL FLASHINGS, MAIN UNIT SPLIT LINE SECTION 5” X 11’8”LG.

11 – FLOOR PLATES (MOUNTED)

6 – FLOOR GRATINGS

PIECE #14

1 – BRUSH GENERATOR (GE GENERATOR)

Box #15

G.L.O. RETURN PIPING ASSEMBLY (BRUSH GEN.)

1 – 4” X 150# X 16’2” LONG PIPE

1 – 4” X 150# X 3’5” LONG PIPE

1 – 4” X 150# X 1’2” LONG PIPE

2 – 4” PIPE SUPPORT BRACKETS (1/4” X 10-7/8”)

2 – ½” X 2” X 4” SUPPORT BRACKET PLATES

4 – 3/8” X ¾” LONG BOLTS WITH NUTS & LOCKWASHERS

2 – 3/8” X 4” 7-BOLTS WITH LOCHWASHERS & NUTS

2 – 4” VISI-FLO SIGHT GLASSES

1 – 9/16”, 5/16” AND ¼” DRILL BITS

Box #16

GENERATOR RUNDOWN TANKS AND JACKING OIL PARTS

4 – GENERATOR RUNDOWN TANKS, A.C.V. GROUP 20 GALL. CAPACITY

16 – ½” X 3” BOLTS, GENERATOR SOLE PLATE ASSY.

6 – 1” TUBE FOR RUNDOWN TANK CONNECTION (D.E. AND N.D.E.)

4 – ¾” S.S. TUBE FOR RUNDOWN TANK CONNECTION (D.E. AND N.D.E.)

2 – ¼” S.S. TUBES FOR RUNDOWN TANK CONNECTION (D.E. AND N.D.E.)

12 – 2 ½” X 9 ½” BOLTS FOR GENERATOR

12 – 2 ½” NUTS FOR GENERATOR BOLTS

4 – ¼” LIFTING EYE BOLTS

2 – ½” LIFTING EYE BOLTS – MISSING

1 – CAN – NEVER SEEZ PURE NICKEL

2 – 1” TUBE TEES (16TTT-316)

1 – 1” TUBE X ¾” MNPT 90 DEG. (16LM12)

2 – ¾” TUBES X ¾” MNPT 90 DEG. (12LM12) – MISSING

1 – ¾” TUBES X ¾” TUBE 90 DEG. (12LU)

2 – ¾” MJIC X MNPT X FNPT (2611-12-12-12)

2 – ¾” TUBE X ¾” MNPT STRAIGHT (12CM12) – MISSING

1 – 1” TUBE X ¾” MNPT (16CM12) – MISSING

2 – ¾” MJIC X ¾” MNPT (2404-12-12 316)

1 – 1” UNION 90 DEG. (16LU)

4 – HAVIT FLANGES GASKET KIT (SKV-100-SS)

4 – 3/8” TUBE X ½” MNPT 90 DEG. (6LM8) – MISSING

4 – HAVIT FLANGES (7308-12 12-08) – MISSING

2 – RUN DOWN TANK HOSES

Box #17

1 – GENERATOR TRANSITION EXHAUST THROAT DUCT ASSEMBLY

Box #18

LM-6000 UNIT – 60 HZ

VAW SYSTEMS LTD.

1 – GENERATOR VENT AIR EXHAUST, W/SILENCER AND DAMPER, HOOD, BIRDSCREEN, ¼” TUBE CONNECTION TO AUTO MAX UNIT GEPP P.O., GEPP (ALL ITEMS ONE ASSEMBLY)

2- ¼” TUBE CONNECTIONS, MAIN UNIT TO DAMPER

Box #19

1 – LOT – ELECTRICAL SHIPLOOSE AS LISTED BELOW:

1 – 13” EXTENSION FOR A M.T.T.B.

1 – S.S. CONDUIT ENTRANCE BOX

1 – SET – 8 PIECES OF ALUMINUM FOR LINESIDE CUBICLE

1 – SET – 8 PIECES OF ALUMINUM FOR NEUTRAL CUBICLE

1 – CS. – CONSISTING HARDWARE FOR BUSS DUCTS

20 – EA. – BOLTS 5/16 X ¾”

32 – EA. – BOLTS 5/16 X 1”

32 – EA. – 5/16” NUTS

52 – EA. 5/16” LOCKWASHERS

84 – EA. 5/16” FLATWASHERS

3 – EA. – 5,000 BISHOP TAPE

3 – EA. DUCT SEALS

3 – EA. – DUCT SEALS

6 – ROLLS OF SCOTCH 33+ TAPE# SUPER 33+3/4 X 66 LOC. IN ZONE #2

1 – CS. – A. CONSISTING OF 3 OUTSIDE FIRE SWITCHES  PART #EFDC2437S768RC02 AND 3 MTG. MOUNTING BRACKETS ALSO CONSISTING OF 1 THERMO SPOT DETECTOR (WITH NO BASE) -   LOCATED IN ZONE #2

1 – CS. – CONSISTING OF THE FOLLOWING ACCESSORIES:

2 EA. – 9/32 DRILL BITS

1 – BOX – 5/16 X 18 HAND TAP

25’ OF 1 WEATHERSTRIPPING

25’ OF 1 ½” WEATHERSTRIPPING

1 EA. – ¾” RIGID STD. CLAMP

50 EA. – TY-RAP CABLES

50 EA. – CLAMPS TY-RAP

50 EA. – CLAMPS TY-RAP  - CONSISTING OF 4 EA. PROXIMETER PROBES (12 ½” IN         LENGTH) – LOCATED IN ZONE #2

1 – CS – CONSISTING OF 12 EA. COPPER FLEX   TO BE INSTALLED IN A BRUSH LINESIDE CUBICLE – LOCATED IN ZONE #2

1 – CS. – CONSISTING OF 12 EA. COPPER FLEX -  TO BE INSTALLED IN A BRUSH NEUTRAL CUBICLE ALSO CONSISTING ALSO OF HARDWARE FOR THE REINSTALLING OF THE COPPER THE FLEX FOR LINESIDE AND NEUTRAL CUBICLE AS FOLLOWS:

60 EA. – 3/8” BOLTS 3 ½” IN LENGTH

60 EA. – 3/8” NUTS

60 EA. – 3/8” LOCKWASHERS

120 EA. – 3/8” FLATWASHERS

15’ ROLL OF HEAT SHRINK   LOC. IN ZONE #2

1 – CS – CONSISTING OF A BENTLEY NEVADA KIT– VS AS FOLLOWS: - MISSING

1 – J-BOX-14 ENCLOSURE – MISSING

2 – EXTENSION CABLES

2 – EXTENSION CABLES

2 – PROXIMETERS

2 – PROXIMETERS

4 – PROXIMETER PROBES HOUSINGS ALSO CONSISTING OF A TEMP ELEMENT TAG      TO BE MOUNTED ABOVE THE GENERATOR LOCATED IN ZONE #2

Box #20

1 – LM6000 AMERIDRIVES, AMERIFLEX, COUPLING INTERNATIONAL

64 – ½” – 20 UNF (GRADE C) NUTS

28 – 9/16” – 18 UNF X 2.88 LG. BOLTS

28 – 9/16” – 18 UNF GRADE C SELF LOCKING NUTS

20 – 1” – 12 UNF X 3.94 LG. BOLTS

20 – 1” – 12 UNF SELF LOCKING NUTS

4 – 135 JACKING SCREWS ¼” – 28 UNF X 1.75 LG.

PIECE #21

1 – ROOF SKID

Box #22

LM-6000 UNIT – 60 HZ UNIT

TCF AEROVENT

1 – VENTILATION STACK CAP FOR VENT SILENCERS (ROOF SKID ASSEMBLY)

Box #23

LM-6000 UNIT – 60 HZ UNIT

TCF AEROVENT

1 – VENTILATION STACK CAP FOR VENT SILENCER (ROOF SKID ASSEMBLY)

Box #24

LM-6000 – 60 HZ UNIT

VAW SYSTEM LTD.

1 – VENTILATION SILENCER, 10’ TALL – TURBINE ROOM VENT FANS

Box #25

LM-6000 – 60 HZ UNIT

VAW SYSTEM LTD.

1 – VENTILATION SILENCER. 10’ TALL – TURBINE ROOM VENT FANS

Box #26

1 – V.B.V. DUCT, Installed on Roof Skid

Box #27

1 – V.B.V. SILENCER

Box #28

1 – V.B.V. HOOD

Box #29

LM-6000 UNIT – 60 HZ

1 – SILENCER DUCT TRANSITION – TURBINE COMBUSTION AIR INLET (ROOF MODULE ASSEMBLY)

Box #30

2 – GENERATOR FAN EXPANSION JOINTS

Box #31

LM-6000 UNIT – 60 HZ

1 – DEMISTER TANK GENERATOR LUBE OIL SYSTEM TANK, AIR/OIL SEPARATOR – DOLLINGER

2 – SUPPORT BRACKET ANGLES FOR DEMISTER TANK ASSEMBLY

1 – ½” TUBE CONNECTION, MAIN UNIT TO DEMISTER TANK

Pkg. # 32

- INLET PLENUM MODULE

Pkg. no. 33

(1) LEFT HAND COIL MODULE

Pkg. no. 34

(1) RIGHT HAND COIL MODULE

Box #35, Grating

On Skid 38

Box #36, Walkways & Handrails

On Skid 38

Box #37, Coil Module Parts & Support Structure

On Skid 38

Skid no. 38

(2) BENT LEGS FOR FILTER SUPPORTS

Box #40, Filter Elements

Box #41, Filter Elements

Box #42

1 – LOT – NUTS & BOLTS SHIPLOOSE AS LISTED BELOW:

TURBINE ROOM – ZONE #1

1 – TURBINE VGV PUMP FILTER ELEMENTS AIRCRAFT POROUS MEDIA

1 – GAS FUEL BALL VALVE – KF INDUSTRIES

1 – P16-5332

BOLTS

74 – 7/8” – 9UNC X 10 ½ LG. HX HD

10 – 1 ½” – 6 UNC X 5” LG. HX HD

17 – 7/8” – 9UNC X 3 ¾ LG. HEX HD

90 – ½” – 20 UNF X 1 ½” LG. HEX FLG

48 – ½” – 20UNF X 1 ½” HEX HD

100 – ¼” – 28 UNF-2A X 1 ¼” LG. A-286

70 – ¼” – 28 UNJF-3A X 1.75” A286

70 – ½” – 13UNC X 1 ½” LG. HEX HD

7 – ¾” – 10UNC X 8 ½” LG. HEX HD

20 – ¾” – 10UNC X 5 ½” LG. STUDS

12 – ¾” – 10UNC X 4” LG. STUDS

NUTS

74 – 7/8” – 9UNC, HEX A-325

10 – 1 ½” – 6UNC, HVY HEX.

17 – 7/8” – 9UNC, HVY, HEX

90 – ½” – 20UNF HEX FLG. CAPSCREWS

100 – ¼” – 28UNF-2B, 347SS SILVER PLATED

70 – ¼” – 28UNF-SB SELF LOCKING

70 – ½” – 13UNC, HEX HD

7 – ¼” – 10UNC, HEX

40 – ¼” – 10UNC. HVY HX.

24 – 1/4” – 10UNC HVY. HX

GASKETS

36 – FT. – 1” X 4” NEOPRENE CLOSED CELL FOAM

23 – FT. – ¼” X 1” NEOPRENE CLOSED CELL FOAM

23 – FT. – 1/8” X 2” NEOPRENE CLOSED CELL FOAM

40 – FT. – 1/8” X 2” NEOPRENE CLOSED CELL FOAM

3 – 3” – 600# RF/FF

3 – 1 ½” – 600# RF/FF

FLATWASHERS

140 – 7/8”, A-325, PLTD.

36 – 7/8”, A-325, PLTD

48 – ½” GRD. 5, PLTD.

70 – ¼” – FLAT, SS

140 – ½” – FLAT, GRD. 5, PLTD.

LOCKWASHERS

74 – LOAD INDICATING 7/8”

17 – LOAD INDICATING

48 – ½” GRD. 5, PLTD.

70 – ½” – LOCK, GRD. 5, PLTD.

GENERATOR ROOM, BRUSH – ZONE #2

2 – GEN. LUBE OIL FILTER ELEMENT PALL

4 – GENERATOR JACKING OIL FILTER ELEMENTS – DONALDSON

BOLTS

24 – 5/16” – 18 UNC. 1” LG., HEX HD

12 – ½” – 13 UNC, 3 ½” LG. STUDS

12 – 5/8” – 11UNC, 4” LG. STUDS

20 – 5/8” – 11UNC, 4” LG. STUDS

12 – ¾” – 10UNC, 5” LG. STUDS

16 – 5/8” – 11UNC, 4” LG., STUDS

50 – 5/8” – 11UNC, 4” LG. STUDS

12 – ½” – 13UNC, 4 ¼” LG. STUDS

20 – ½” – 13UNC, 3 ¼” LG. STUDS

12 – 5/8” – 11UNC, 4” LG. STUDS

12 – ¾” – 10UNC, 1” LG. HEX HEAD

16 – M12X45MM, HEX HD, GRD.5

34 – 3/8” – 16UNC, 1” LG., HEX HD

40 – M12X45MM, HEX HD, PLTD.

NUTS

24 – ½” – 13UNC, HEAVY HEX, A194-2H

24 – 5/8” – 11UNC, HEAVY HEX, A194-2H

40 – 5/8” – 11UNC, HEAVY HEX, A194-2H

24 – ¾” – 10UNC, HEAVY HEX, A194-2H

32 – 5/8” – 11UNC, HEAVY HEX, A194-2H

100 – 5/8” – 11UNC, HEAVY HEX, A194-2H

24 – ½” – 13UNC, HEAVY HEX, A194-2H

40 – ½” – 13UNC, HEAVY HEX, A194-2H

24 – 5/8” – 11UNC, HEAVY HEX, A194-2H

GASKETS

6 – 1 ½” – 150# RF, 1/8” THICK, CG-1F FLEXITALLIC

6 – 2” – 150# RF, 1/8” THICK, CG-1G FLEXITALLIC

4 – 4” – 150# RF, 1/8” THICK, CG-1L FLEXITALLIC

2 – 6” – 150# RF, 1/8” THICK, CG-1P FLEXITALLIC

6 – 2” - 150# RF, 1/8” THICK, CG-1G FLEXITALLIC

16 – 2” – 150# RF, 1/8” THICK, CG-1G FLEXITALLIC

10 – 1 ½” – 150# RF, 1/8” THICK, CG-1F FLEXITALLIC

4 – 2” – 150# RF, 1/8” THICK, CG-1G FLEXITALLIC

FLATWASHERS

24 – 5/16” – FLAT, GRD. 5, PLTD.

12 – ¾” -  FLAT, GRD. 5, PLTD.

16 – M12-FLAT, GRD. 5, PLTD.

34 – 3/8” – FLAT, GRD. 5, PLTD.

40 – M12-FLAT, GRD. 5, PLTD.

LOCKWASHERS

24 – 5/16” – LOCK, GRD. 5, PLTD.

12 – ¾” – LOCK, GRD. 5, PLTD.

16 – M12-LOCK, GRD. 5, PLTD.

34 – 3/8” – LOCK, GRD. 5, PLTD.

40 – M12-LOCK, GRD. 5, PLTD.

GENERATOR VENT EXHAUST – ZONE #3

BOLTS

36 – ½” – 13UNC X 1 ½” LG., GRD. 5, HEX HD

4 – 5/8” – 11UNC X 1” LG., GRD. 5, HEX HD

NUTS

36 – ½” – 13UNC, HEX HD, GRD. 5, PLTD.

GASKETS

36 – FT. – ½” X 2” NEOPRENE CLOSED CELL FOAM

FLATWASHERS

72 – ½” – FLAT, GRD. 5, PLTD.

4 – 5/8” – FLAT, GRD. 5, PLTD.

LOCKWASHERS

36 – ½” – LOCK, GRD. 5, PLTD.

4 – 5/8” – LOCK, GRD. 5, PLTD.

ROOF MODULE – ZONE #5

BOLTS

64 – 7/8” – 9UNC X 3 ½” LG., HX HD

18 – 1” – 8UNC X 3” LG., HEX HD

12 – 7/8” – 9UNC X 3 ½” LG., HEX HD

110 – 5/8” – 11UNC X 2” LG., HEX HD

40 – ½” – 13UNC X 1 ½” LG., HEX HD

6 – 5/8” – 11UNC X 1 ½” LG., HEX HD

9 – 5/8” – 11UNC X 1 ½” LG., HEX HD

8 – ¾” – 10UNC X 4” LG., STUDS

9 – 5/8” – 11UNC X 3 ¾” LG., STUDS

6 – 5/8” – 11UNC X 3 ½” LG., STUDS

5 – ½” – 13UNC X 3” LG., STUDS

NUTS

64 – 7/8” – 9UNC, HEX HD.

18 – 1” – 8UNC, HEX HD.

12 – 7/8” – 9UNC, HEX HD.

110 – 5/8” – 11UNC, HEX HD

40 – ½ - 13UNC, HEX HD

56 – 3/4” – 10UNC, HVY HX.

18 – 5/8” – 11UNC, HVY HX.

10 – 5/8” – 11UNC, HVY HX.

56 – ½” – 13UNC, HVY. HX.

GASKETS

120 – FT. – ¾” X 4” NEOPRENE CLOSED CELL FOAM

40 – FT. – 1/8” X 2” NEOPRENE CLOSED CELL FOAM

40 – FT. – 1/8” X 2” NEOPRENE CLOSED CELL FOAM

2 – 2” – 150# RF/FF X 1/8” CG-1G FLEXITALLIC

2 – 3” – 150# RF/FF X 1/8” CG-1J FLEXITALLIC

4 – 6” – 150# RF/FF X 1/8” CG-1P FLEXITALLIC

3 – 3” – 150# RF/FF X 1/8” CG-1J FLEXITALLIC

3 – 2” – 150# RF/FF X 1/8” CG-1G FLEXITALLIC

2 – 1 ½” – 150# RF/FF X 1/8” CG-1F FLEXITALLIC

FLATWASHERS

64 – 7/8”, 1-325, PLTD.

18 – 1”, 1-325, PLTD.

12 – 7/8”, A-325, PLTD.

220 – 5/8” – FLAT, GRD. 5, PLTD.

80 – ½” – FLAT, GRD. 5, PLTD.

LOCKWASHERS

64 – LOAD INDICATING 7/8”

18 – LOAD INDICATING 1”

12 – LOAD INDICATING 7/8”

110 – 5/8” – LOCK, GRD. 5, PLTD.

40 – ½” – LOCK, GRD. 5, PLTD.

AIR FLITER TRANSITION ( PACKAGE MOUNT) – ZONE #7

BOLTS

93 – ¾” – 10UNC X 2” LG., HX HD

74 – ½” – 13UNC X 1 ½” LG., HEX HD

NUTS

93 – ¾” – 10UNC HEX, GRD. 5, PLTD.

74 – ½” – 13UNC HEX, GRD. 5, PLTD.

GASKETS

67 – FT. – ½” X 2” NEOPRENE CLOSED CELL FOAM

57 – FT. – ½” X 2” NEOPRENE CLOSED CELL FOAM

FLATWASHERS

186 – ¾” – FLAT, GRD. 5, PLTD.

147 – ½” – FLAT, GRD. 5, PLTD.

LOCKWASHERS

93 – ¾” – LOCK, GRD. 5, PLTD.

74 – ½” – LOCK, GRD. 5, PLTD.

AIR FILTER TRANSITION (LEG) – ZONE #7

BOLTS

69 – ¾” – 10UNC X 2” LG., HX HD

69 – 3/8” – 16UNC X 1 ½” LG. HEX HD

55 – ¾” – 10UNC X 2” LG., HX HD

55 – 3/8” – 16UNC X 1 ½” LG., HEX HD

93 – ¾” - 10UNC X 2” LG., HX HD

74 – ½” – 13UNC X 1 ½” LG., HEX HD

NUTS

69 – ¾” – 10UNC HEX

69 – 3/8” – 16UNC HEX

55 – ¾” – 10UNC HEX

55 – 3/8” – 16UNC HEX

93 – ¾” – 10UNC HEX

74 – ½” – 13UNC HEX

GASKETS

51 – FT. – 18/” X 3” NEOPRENE CLOSED CELL FOAM

51 – FT. – 18/” X 3” NEOPRENE CLOSED CELL FOAM

40 – FT. – 18/” X 3” NEOPRENE CLOSED CELL FOAM

40 – FT. – 18/” X 3” NEOPRENE CLOSED CELL FOAM

68 – FT. – 18/” X 3” NEOPRENE CLOSED CELL FOAM

58 – FT. – 18/” X 3” NEOPRENE CLOSED CELL FOAM

FLATWASHERS

138 – ¾” – FLAT, GRD. 5, PLTD.

138 – 3/8” – FLAT, GRD. 5, PLTD.

110 – ¾” – FLAT, GRD. 5, PLTD.

110 – 3/8” – FLAT, GRD. 5, PLTD.

186 – ¾” – FLAT, GRD. 5, PLTD.

147 – 1/2” – FLAT, GRD. 5, PLTD.

LOCKWASHERS

69 – ¾” – LOCK, GRD. 5, PLTD.

69 – 3/8” – LOCK, GRD. 5, PLTD.

55 – ¾” – LOCK. GRD. 5 PLTD.

55 – 3/8” – LOCK. GRD. 5 PLTD.

93 – ¾” – LOCK. GRD. 5 PLTD.

74 – 1/2” – LOCK. GRD. 5 PLTD.

AUXILIARY SKID – ZONE #9

4 – TURBINE LUBE OIL FILTER ELEMENTS PALL

2 – TURBINE HYDRAULIC FILTER ELEMENTS PALL

2 – HYDRAULIC START FILTER ELEMENTS DONALDSON

BOLTS

6 – 5/8” – 11UNC X 3 ¼” LG., STUDS

NUTS

12 -5/8” – 11UNC, HVY. HX

GASKETS

2 – 2” – 150# RF X 1/8” CG-1G, FLEXITALLIC

ELECTRICAL CUBICLES – ZONE #11

BOLTS

12 – ½” – 13UNC X 6” LG., HEX HD

12 – ½” – 13UNC X 6” LG., HEX HD

NUTS

12 – ½” – 13UNC, HEX HD

12  - ½” – 13UNC, HEX HD

GASKETS

16 – FT. – 1/8” X 2” NEOPRENE CLOSED CELL FOAM

16 – FT. – 1/8” X 2” NEOPRENE CLOSED CELL FOAM

FLATWASHERS

23 – ½” – FLAT, GRD. 5, PLTD.

23 – ½” – FLAT, GRD. 5, PLTD.

LOCKWASHERS

12 – ½” – LOCK GRD. 5, PLTD.

12 – ½” – LOCK GRD. 5, PLTD.

MISCELLANEOUS – ZONE #15

BOLTS

14 – ½” – 13 UNC, X 1 ½” LG., HX HD

6 – ½” – 13UNC, 1” LG., HX HD

22 – ¼” – 20UNC, ¾” LG., HX HD

NUTS

6 – ½” – 13UNC, LOCKNUTS

FLATWASHERS

14 – ½” GR. 5, PLATED

12 – 7/16 GR. 5, PLATED

22 – ¼” GR. 5, PLATED

LOCKWASHERS

14 – ½” GR. 5, PLATED

22 – ¼” GR. 5, PLATED

Box #43

4 – GALLONS – PAINT

Box #44

4 – 39800 HOSE ASSY’S, 1 ½ X 37 OAL. RH

2 – 39801 HOSE ASSY’S, 2 X 37 OAL. RH

3 – 39802 HOSE ASSY’S, 1 X 37 OAL. RH

1 – 39803 HOSE ASSY’S, 1 ½ X 54 OAL.

1 – 39804 HOSE ASSY’S, 1 X 54 OAL.

1 – 39806 HOSE ASSY’S, 1 ½ X 53 CTE

1 – 39805 HOSE ASSY’S, 1 ½ X 60 OAL

Item #45

1 – AUXILIARY SKID

Item #46

1 – HOOD/AUXILIARY SKID – MISSING

Item No. 47

1 – WATER INJUCTION A (ROTOR JET)

Item No. 48

1 – WATER INJUCTION B (ROTOR JET)

Item #49

1 – SPRINT SKID W/ENCLOSURE

Item #52

1 – LINESIDE CUBICLE

Item #53

1 – NEUTRAL CUBICLE

Box #57

1 – TURBINE CONTROL PANEL

2 – BENTLEY NEVADA 3500 – OPERATION, INSTALLATION & MAINTENANCE MANUALS

1 – EXTENDER CARD FOR AVR

1 – PKG. – MISC. INSTRUCTION BOOKLETS

1 – PKG. – MISC. SOFTWARE MATERIAL

1 – PKG. – MISC. CABLES

(M-3425 GENERATOR PROTECTION & BRUSH PRISMIC A30)

Box #58

2 – MOTOR CONTROL CENTERS

Item #59

1 - TRANSFORMER

Box #60

1 – 80-94505-01 BATTERY SYS, 24 VOLT, 56AH

1 – 80-94508-01 BATTERY SYS, 24 VOLT, 323AH

Box #61

2 – DCT24-150-4653 BATTERY CHARGERS, 24 VDC, 150 AMP,

1 – DCT24-25-A643 BATTERY CHARGER, 24VDC, 25 AMP

1 – H221N SWITCH, SAFETY, SGL THROW, 30 AMP - MISSING

1 – H224N DISCONNECT, SAFETY - MISSING

2 – TR125R FUSES, 125 AMP, 125 VDC RATED - MISSING

2 – TR30R FUSES, 30 AMP, 125 VDC RATED – MISSING

Box #62

45 – GALLONS - ACID

Box #65

1 – CO2 RACK

1 – PC. – GRATING

1 – LOT – WFC02SHIP60HZ ASSY., CO2 SHIPLOOSE, 60 HZ (DISCHARGE HEADS & WEIGH SCALE

Item #66

12 – CO2 BOTTLES

MISSING (1)

LM-6000 TURBINE MODULE DLE-BLEED AIR S.S. PIPE ASSEMBLY, W/TURBINE ENGINE PARTS AND TUBE CONNECTION

TUBE FITTING 8TH STAGE BLEED VALVE AND CDP VALVE HONEYWELL

2 – ¼” TUBES X ¼” O-RING ST THREAD MISSING

2 – 3/8” TUBES X 3/8” O-RING ST THREAD MISSING

2 – ½” TUBES X ½” O-RING ST THREAD MISSING

Item #88

160 – DPGT – 405 PREFLITERS – MISSING

Item #89

RUBBER MATS

Item #101

AIR FILTER HOUSING RAIN HOODS

Item #102A

FUEL GAS COMPRESSOR SKID

Item # 102B

FUEL GAS COMPRESSOR SHIPLOOSE

Item #102C

FUEL GAS COMPRESSOR DRAIN TANK

Item # 103

GENERATOR LUBE OIL COOLER

Item #103A

GENERATOR LUBE OIL COOLER ASSEMBLY

Item #103B

GENERATOR LUBE OIL COOLER ASSEMBLY

Item #103C

GENERATOR LUBE OIL COOLER ASSEMBLY

Item #103D

GENERATOR LUBE OIL COOLER ASSEMBLY

Item #104

POWER CONTROL MODULE (PCM, ELECTRICAL ENCLOSURE)

Item #112

125V DC BATTERIES(A), CHARGER(B), RACK(C), DRIP PAN(D)

Item # 120

AUX TRANSFORMER, 13.8Kv/480V, 2300KVA

Item #121

15KV SWITCHGEAR

Item #121A

AUX 15KV SWITCHGEAR

Item #124

GENERATOR BREAKER

Item #128

BOP PLC / DELL COMPUTER PCM UNIT

Item #131

PIPE RACK

Item #132

UTILITY METERING PANEL

Item #134

TURBINE STACKS

Item #134

TURBINE STACKS

PCM-10

125V DC BOP BATTERIES

PCM-104

RACKS

PCM-104-3

CABINET

PCM-104-16

AC UNITS