## Turbine Package-Insurance
Part Number | Description | Qty
8TY34BAB1 | KIT, T5.4 T/C & CABLE | 1
1-1/2"CFSJ-140-02 | VALVE | 1
1-1/2"CFSJ-140-02F | VALVE | 1
45-1279SS04L | GAUGE, PRESSURE | 2
45-1279SSL02L | GAUGE, PRESSURE | 1
45-1377SS02B | GAUGE, PRESSURE | 7
50E160E025 | INDICATOR, TEMP | 2
50E160E040 | INDICATOR, TEMP | 1
50E160E180 | INDICATOR, TEMP | 2
13220 | VALVE | 1
15830 | VALVE | 1
15840 | SOLENOID | 1
31830 | VALVE | 1
31861 | VALVE | 2
32800 | VALVE | 1
31820-AND-8 | VALVE | 1
31830-AND-12 | VALVE | 1
31840-AND-16 | VALVE | 1
32861-626 | VALVE | 1
3500 SPARE SLOT COVER | FUTURE EXPANSION CARD | 2
3500/05-02-04-01-00-00 | 3500/05 MINI-RACK, 7 SLOT | 1
3500/15-04-00-01 | SUPPLY, POWER DC LOW VOLT | 1
3500/20-01-02-01 | MODULE, RACK INTERFACE | 1
3500/25-02-04-01 | MODULE, KEYPHASOR | 1
3500/32-01-01 | MODULE, 4CH RELAY | 1
3500/42-09-01 | MONITOR, PROXIMITOR/SEISMIC | 1
3500/44-01-01 | MONITOR, AERODERIVATIVE | 2
1-15/16' | BEARING, FAN | 2
2-7/16" | BEARING, FAN | 2
P16-5659 | ELEMENT, FILTER | 2
2010 | GAUGE, PRESSURE | 1
1950-00 | SWITCH | 2
1950-10 | SWITCH | 2
1-1/2"655R-EDR | VALVE | 1
1301F | REGULATOR | 1
310-SP-1 | VALVE | 1
655-EZ | VALVE | 1
V500 | VALVE | 4
FR72-4-1 1/4" | MONITOR, FLOW SWITCH | 2
BX-77 | BELT, FAN | 5
CX-90 | BELT, FAN | 4
1030M59P01 | GASKET | 6
1554M38P01 | GASKET | 10
3016M78P03 | STRAP | 15
3016M79P03 | STRAP | 15
9013M28P02 | GASKET | 1
9013M29P01 | GASKET | 1
9013M30P01 | GASKET | 1
9109M91P01 | BOLT | 5
9116M48P04 | STRAP | 2
9608M08G16 | GASKET | 1
9608M08G20 | GASKET | 5
9608M10P40 | GASKET | 5
9608M12P02 | GASKET | 5
9609M13P02 | GUIDE | 5
9610M50P01 | NUT | 25
9610M50P02 | NUT | 25
9610M50P21 | NUT | 25
9627M01P01 | GASKET | 10
9627M05G06 | GASKET | 2
9628M16P02 | BOLT | 5
9629M48P02 | NUT | 100
9629M48P04 | NUT | 50
9629M48P06 | NUT | 25
9629M48P10 | NUT | 25
9629M79P16 | GASKET | 5
9629M83G01 | GASKET | 10
9634M44P04 | COVER, A/O SEPERATOR | 1
9643M56P01 | GASKET | 5
9649M41P06 | BEARING, PLAIN | 1
9655M01P04 | SEAL | 3
9655M01P10 | SEAL | 50
9682M50P05 | GUIDE | 1
AN960C10 | WASHER | 100
AN960C10L | WASHER | 100
AN960C416L | WASHER | 100
AN960C516L | WASHER | 100
AN960C616 | WASHER | 100
J1220G03 | CLAMP | 5
J1220G04 | CLAMP | 5
J1220G06 | CLAMP | 5
J1220G08 | CLAMP | 5
J1220G09 | CLAMP | 5
J1220G10 | CLAMP | 5
J1220G11 | CLAMP | 5
J1220G12 | CLAMP | 5
J1220G15 | CLAMP | 10
J1220G20 | CLAMP | 5
J1220G24 | CLAMP | 5
J1221G14 | CLAMP | 5
J219P02A | GASKET | 1
J219P04A | GASKET | 4
J219P06B | GASKET | 4
J219P07B | GASKET | 6
J221P004 | PACKING | 25
J221P009 | PACKING | 25
J221P020 | PACKING | 100
J221P023 | PACKING | 25
J221P028 | PACKING | 25
J221P134 | PACKING | 50
J221P140 | PACKING | 25
J221P216 | PACKING | 25
J221P228 | PACKING | 10
J221P234 | PACKING | 5
J221P263 | PACKING | 2
J221P902 | PACKING | 2
J221P904 | PACKING | 25
J221P905 | PACKING | 25
J221P906 | PACKING | 25
J221P908 | PACKING | 25
J221P910 | PACKING | 25
J221P916 | PACKING | 25
J221P920 | PACKING | 5
J643P05B | BOLT | 10
J644P04D | BOLT | 25
J644P05B | BOLT | 5
J644P05D | BOLT | 25
J644P07B | BOLT | 5
J644P11D | BOLT | 10
J644P12A | BOLT | 10
J645P05B | BOLT | 5
J815P046A | BOLT | 5
L14517P01 | GASKET | 5
L14520P01 | SHIM | 1
L14542P01 | NUT | 1
L15500P01 | SPRING | 1
L21131P02 | SENSOR | 1
L21562P03 | SHIELD | 1
L21618P04 | RETAINER | 1
L21693P02 | CABLE | 1
L28030P04 | LEAD | 1
L28339P01 | SENSOR, T3 | 1
L31302G01 | END, ROD | 2
L31302G02 | END, ROD | 2
L31809P10 | NOZZLE | 15
L34246P04 | ACCELEROMETER | 2
L34319P02 | SENSOR, CIT/CIP | 1
L34340G01 | TUBE | 2
L34366G01 | TUBE | 2
L34379P03 | CONTROL | 1
L34381P16 | TEE | 1
L34732G01 | TUBE | 4
L34751G01 | TUBE | 4
L34755G01 | TUBE | 2
L34868G01 | TUBE | 1
L35166P01 | DETECTOR | 4
L35228P03 | SEAL | 1
L35245P01 | ROD | 1
L35245P02 | ROD | 1
L35246P01 | GASKET | 2
L35248P10 | GASKET | 6
L35285P03 | LINK | 1
L35579P01 | GASKET | 25
L35579P04 | GASKET | 4
L36000G02 | SIGHT, FLAME | 2
L43450P01 | IGNITER PLUG | 2
L44500P08 | PUMP, L/S | 1
L44780P01 | PROBE | 1
M83248-1-121 | PACKING | 4
M83248-1-905 | PACKING | 20
M83248-1-910 | PACKING | 8
M83248-1-912 | PACKING | 12
MS122907 | CLAMP | 5
MS122909 | CLAMP | 5
MS122915 | CLAMP | 5
MS122923 | CLAMP | 5
MS3367-4-9 | STRAP | 25
MS9201-07 | NUT | 5
MS9315-04 | CAP | 1
MS9315-04 | CAP | 5
MS9315-12 | CAP | 1
MS9321-09 | WASHER | 25
MS9373-035 | GASKET | 7
MS9373-041 | GASKET | 6
MS9373-045 | GASKET | 6
MS9373-051 | GASKET | 14
MS9373-055 | GASKET | 6
MS9373-091 | GASKET | 1
MS9489-05 | BOLT | 5
MS9489-07 | BOLT | 10
MS9489-09 | BOLT | 10
MS9489-12 | BOLT | 5
MS9489-14 | BOLT | 5
MS9489-17 | BOLT | 5
MS9490-08 | BOLT | 5
MS9490-12 | BOLT | 25
MS9490-14 | BOLT | 5
MS9490-15 | BOLT | 25
MS9490-16 | BOLT | 5
MS9490-17 | BOLT | 5
MS9490-24 | BOLT | 5
MS9491-15 | BOLT | 5
MS9491-25 | BOLT | 5
MS9492-25 | BOLT | 5
MS9501-10 | BOLT | 25
MS9556-10 | BOLT | 10
MS9565-05 | BOLT | 5
MS9565-08 | BOLT | 5
MS9565-10 | BOLT | 5
MS9566-09 | BOLT | 25
MS9566-14 | BOLT | 5
MS9566-16 | BOLT | 5
R302P08Y | GASKET | 1
R304P2A | GASKET | 2
R413P34 | NUT | 5
R414P04 | NUT | 5
337678 | HOSE ASSY,1/4 X 24 OAL | 2
443625 | HOSE ASSY,1 1/2X27 1/2 OAL,GLO | 2
443626 | HOSE ASSY,1 1/2X29 1/2 OAL,GLO | 2
443630 | HOSE ASSY,3/4" X 30"QAL,W.W. | 2
443631 | HOSE ASSY,3/4" X 40"OAL,W.W. | 2
443634 | HOSE ASSY,2" X 61"OAL,TLO | 2
443635 | HOSE ASSY,1 1/2" X 85"OAL,TLO | 2
443636 | HOSE ASSY,1 1/2" X 22"OAL,TLO | 2
443637 | HOSE ASSY,1 1/2" X 48"OAL,TLO | 2
443638 | HOSE ASSY,1 1/2" X 50"OAL,TLO | 2
443640 | HOSE ASSY,1 1/2" X 22"OAL,TLO | 2
443641 | HOSE ASSY,1 1/4" X 35"OAL,TLO | 2
443642 | HOSE ASSY,1" X 38"CTE,TLO | 2
443643 | HOSE ASSY,1 1/2" X 35" CTE,TLO | 2
443644 | HOSE ASSY,1" X 30"OAL,TLO | 2
443645 | HOSE ASSY,1 X 46"OAL,HYD ST | 2
443646 | HOSE ASSY,1"X 52"CTC,HYD ST | 2
443647 | HOSE ASSY,1" X 47"OAL,HYD ST | 2
443677 | HOSE ASSY,3/4" X 18"OAL | 2
443678 | HOSE ASSY,1" X 19"OAL | 2
443679 | HOSE ASSY,1" X 32"OAL | 2
443687 | HOSE ASSY,5/8" X 25"OAL,LIQUID | 2
443688 | HOSE ASSY,3/4" X 28"OAL,LIQUID | 2
443693 | HOSE ASSY,3/4" X 24"OAL,WATER | 2
443696 | HOSE ASSY,3/4" X 26" OAL | 2
443697 | HOSE ASSY,3/4" X 19"OAL | 2
473623 | HOSE ASSY,1 1/2"X 18 1/2OAL,GL | 2
473624 | HOSE ASSY,2"X 27 OAL,GLO | 2
473627 | HOSE ASSY,1 1/2"X 30"OAL,GLO | 2
473628 | HOSE ASSY,1 1/2"X 26 OAL,GLO | 2
473629 | HOSE ASSY,4"X 59"CTE,GLO | 2
473650 | HOSE ASSY,2 X 24 OAL | 2
473652 | HOSE ASSY,1 1/2 X 18 1/4 CTE | 2
473653 | HOSE ASSY,LIQUID FUEL Q/D | 2
473654 | HOSE ASSY,2 X 30 ETE | 2
473661 | HOSE ASSY,1/4 X 48 OAL | 2
473663 | HOSE ASSY,1 1/4 X 33 OAL | 2
473677 | HOSE ASSY,2" X COMPLEX | 2
473683 | HOSE ASSY,2" X 43 OAL,GAS | 2
473684 | HOSE ASSY,2" X 23 CTE,GAS | 2
473686 | HOSE ASSY,1"X 24 OAL,LIQUID | 2
473692 | HOSE ASSY,3/4" X 19 OAL,WATER | 2
473710 | HOSE ASSY,GAS VENT Q/D | 2
473711 | HOSE ASSY,HYDR STRT RET Q/D | 2
473712 | HOSE ASSY,CASE DRAIN Q/D | 2
473715 | HOSE ASSY,1 1/4 X 50 ETE | 2
473716 | HOSE ASSY,1 1/4 X 64 OAL | 2
473717 | HOSE ASSY,1 1/4 X 44 CTC | 2
473718 | HOSE ASSY,1 X 52 CTC | 2
473719 | HOSE ASSY,1 1/2 X 38" CTC | 2
473720 | HOSE ASSY,1 1/2 X 9' CTC | 2
473721 | HOSE ASSY,3/4" X 16'-8" OAL | 2
473722 | HOSE ASSY,1/2" X 4'OAL | 2
900012 | HOSE, INSTRUMENT | 2
900013 | HOSE, INSTRUMENT | 2
900150 | HOSE ASSY,3/8 X 32 OAL | 2
I04672 | HOSE ASSY,TURB LUBE OIL Q/D | 2
I04673 | HOSE ASSY,WATER INJ. SUP Q/D | 2
I04674 | HOSE ASSY,W/W SUPPLY Q/D | 2
I04675 | HOSE ASSY,GLO SUP/RET Q/D | 2
I04676 | HOSE ASSY,HYDR STRT SUP Q/D | 2
607208-00 | CABLE, ACCELEROMTER | 2
L1941A33G700 | CABLE, IGNITION EXCITER | 2
L1941A34G700 | CABLE, TEMP L/O SUPPLY | 2
L1941A36G700 | CABLE, N1 SPEED | 2
L1941A39G700 | CABLE, N2 SPEED | 2
L1941A41G700 | CABLE, T3 | 1
L1941A42G700 | HARNESS, T5.4 | 1
6601-01-019-C | CLUTCH | 1
0060D010BNHC | ELEMENT, FILTER | 12
100P4S4C6 | SWITCH | 1
100TC54CC6 | SWITCH | 1
100TC5CC615 | SWITCH | 1
100TC5S4C6 | SWITCH | 2
132P41C6B | SWITCH | 2
132P42C6B | SWITCH, PRESSURE | 2
132P48C6B | SWITCH | 5
160P4S36 | SWITCH | 2
160P4S43 | SWITCH | 1
162P42CBH | SWITCH | 1
180P44C6 | SWITCH | 1
1502DG-4-A-4.5 | GAUGE, PRESSURE | 1
1502DG-4-A-4.5F | GAUGE, PRESSURE | 1
HC9600FKN13Z | ELEMENT, FILTER | 12
HC9600FKN8Z | ELEMENT, FILTER | 12
AA6VM107HA1/63W-VSD527A-E | MOTOR, STARTER | 1
1151AP8E22B2 | TRANSMITTER, PRESSURE | 1
1151GP7E22B2D3 | TRANSMITTER, PRESSURE | 3
1151GP8E22B2D3 | TRANSMITTER, PRESSURE | 4
78F25C60A025T34 | SENSOR, TEMPERATURE | 1
78F25N00A020T34 | SENSOR, TEMPERATURE | 1
78F25N00A025T34 | SENSOR, TEMPERATURE | 1
78F25N00A035T34 | SENSOR, TEMPERATURE | 4
78F25N00A120 | SENSOR | 2
300 5C1G-CC | PUMP | 1
2511A | RTD | 1
1269 | FUSE | 2
1308 | FUSE | 5
1310 | FUSE | 5
1328 | FUSE | 5
1335 | FUSE | 5
3001 | FUSE | 1
1002-24-PCB-S5 | HORN, CIRCUIT BOARD | 1
360-610-01 | SENSOR, GAS | 3
360-671-01 | KIT, TEST | 1
360-954-02 | KIT, TEST | 1
361-236-01 | TRANSMITTER, GAS | 1
361-645-106 | MODULE, ALARM | 1
362-550-048 | CONTROLLER | 1
700-5-24 | STROBE, CIRCUIT BOARD | 1
AM | MODULE, ALARM | 1
FM | MODULE, FAULT | 1
IM | MODULE, INPUT | 1
RM | MODULE, RELEASE | 1
U7099 | DETECTOR, FLAME | 1
8580-071 | PUMP, HYD | 1
8900-067 | SENSOR, TEMPERATURE | 1
YF102-NNNB3A-S3S3*C/FMF/SCT | METER, FLOW | 1
YF105-NNNA2A-S3S3*C/FMF/SCT | TRANSDUCER, FLOW | 1
YF108-NNNA3A-S3S3*C/FMF/HPT/SCT | TRANSDUCER, FLOW | 1
YF110-NNNA3A-S3S3*C/FMF/HPT/SCT | TRANSDUCER, FLOW | 1

## Gen Spares
Brush Generator Spares BDAX 7-167E
| Part No. | Part Description | Qty
COMMISSIONING SPARES
Exciter spares
| S318058901 | RECTIFIER SPARES KIT | 1
Kit Part |  | FUSE 315 SBMT | 2
Kit Part |  | DISC SPRING M12 | 2
Kit Part |  | LOCK PLATE | 2
Kit Part |  | M12 HEX NUTS GRADB | 2
Kit Part |  | M10X20MM HX HD SCR | 2
Kit Part |  | DISC SPRING M10 | 2
Kit Part |  | LOCK PLATE | 2
Kit Part |  | LINK - FUSE DIODE | 2
Kit Part |  | DIODE R6W12033 VO | 1
Kit Part |  | DIODE R6W02033 VO | 1
Kit Part |  | DISC SPRING M8 | 2
Kit Part |  | LOCK PLATE | 2
Kit Part |  | M8X16MM HX HD SCRE | 2
Kit Part |  | UNIAL PASTE | 1
Kit Part |  | BICCON BX 13PT COMPOUND | 1
Kit Part |  | INSTRUCT RECTIFIER SPARES | 1
Kit Part |  | CARTON 1-PLY 400X400X200 | 1
231 | S318061101 | PMX FUSE KIT | 1
Kit Part |  | 20SF21 FUSE | 2
Kit Part |  | FUSELINK 20 CML | 2
Kit Part |  | CONTENTS LIST - PMX FUSE KIT | 1
Kit Part |  | ENVELOPE - PADDED | 1
OPERATIONAL SPARES
Generator spares
101 | S313675802 | GASKET - STATOR SET OF 2 | 1
102 | S313551204 | GASKET - STATOR - SET OF 4 | 1
103 | S312086477 | GASKET - STATOR - SET OF 4 | 1
105 | S313246301 | GASKET - STATOR TERMINAL - SET OF 2 | 1
106 | S312027301 | TERMINAL BUSHING GSKT SET OF 6 | 1
120 | S313200602 | TEMPERATURE DETECTOR | 1
130 | S025281528 | HEATER (STATOR) | 1
185 | S840012001 | BRUSH - CARBON | 1
Exciter spares
200 | S312988801 | GASKET (EXC/DUCT) | 1
201 | S312988901 | GASKET (DUCT/STATOR) | 1
203 | S312498202 | GASKET - EXCITER - SET OF 6 | 1
204 | S312500701 | GASKET - EXCITER | 1
206 | S312406301 | GASKET (EXC/DUCT) | 1
220 | S961500900 | RF AERIAL | 1
222 | S960459700 | TRANSMITTER (RF) | 1
230 | S313744902 | HEATER | 1
Bearing spares
501 | S313448702 | GASKET (ENDFRAME) SET OF 2 | 1
502 | S311745706 | GASKET (PIPE) SET OF 4 | 1
503 | S024116168 | SEAL WASHER (SET OF 4) | 1
504 | S311745727 | GASKET (JOINT) | 1
506 | S024111426 | SEAL WASHER | 2
507 | S313012411 | GASKET (BEARING) SET OF 2 | 1
508 | S313382718 | GASKET (BEARING) | 1
510 | S312559801 | GASKET (ENDFRAME) SET OF 2 | 1
512 | S313535601 | GASKET (BEARING SEAL) SET OF 2 | 1
514 | S313596501 | GASKET (BEARING) | 1
519 | S024116149 | SEAL WASHER | 2
540 | S313033201 | TEMPERATURE DETECTOR | 1
542 | S313521701 | TEMPERATURE DETECTOR | 1
Consumables
800 | S317609201 | METRIC FIXING KIT | 1
Kit Part |  | CARTON 2-PLY 330X330X330 | 1
Kit Part |  | FIXING KIT CONTENTS DRAWING | 1
Kit Part |  | M8X12MM CUP SETSC | 20
Kit Part |  | HEXAGON SOCKET SCREW | 5
Kit Part |  | HX NUT M6 | 10
Kit Part |  | 8MM HEX NUT | 10
Kit Part |  | M10 HEX NUT | 10
Kit Part |  | M12 HEX NUTS GRADB | 10
Kit Part |  | M16 HEX NUT | 10
Kit Part |  | HX HD SCRW M6X10 | 10
Kit Part |  | M6X12MM HX HD SCRE | 10
Kit Part |  | M6X16MM HX HD SCRE | 10
Kit Part |  | M6X20MM HX HD SCRE | 10
Kit Part |  | HX HD SCRW M6X25 | 10
Kit Part |  | M6X30MM HX HD SCRE | 10
Kit Part |  | M6X35MM HX HD SCRE | 10
Kit Part |  | HX HD SCRW M6X40 | 10
Kit Part |  | M8X16MM HX HD SCRE | 10
Kit Part |  | M8X20MM HX HD SCRE | 10
Kit Part |  | SCREW HXH 8MMX25MM | 10
Kit Part |  | M8X30MM HX HD SCRE | 10
Kit Part |  | M8X35MM HX HD SCRE | 10
Kit Part |  | HX HD SCRW M8X40 | 10
Kit Part |  | SCREW HEX HD M8X45 | 10
Kit Part |  | HX DH SCRW M8X50 | 10
Kit Part |  | HX HD SCW 8X60 | 10
Kit Part |  | M10X16MM HX HD SCR | 10
Kit Part |  | M10X20MM HX HD SCR | 10
Kit Part |  | M10X25SCREWS | 10
Kit Part |  | M10X30MM HX HD SCR | 10
Kit Part |  | M10X35MM HX HD SCR | 10
Kit Part |  | SCRW HX HD M10X40 | 10
Kit Part |  | M10X45MM HX HD SCR | 10
Kit Part |  | M10X50MM HX HD SCR | 10
Kit Part |  | HX HD SCRW M10X55 | 10
Kit Part |  | M10X60MM HX HD SCR | 10
Kit Part |  | SCREW HXH M10X70MM | 10
Kit Part |  | M12X25MM HX HD SCR | 10
Kit Part |  | M12X30MM HX HD SCR | 10
Kit Part |  | M12X35MM HX HD SCR | 10
Kit Part |  | SCREW HXH M12X40MM | 10
Kit Part |  | M12X45MM HX HD SCR | 10
Kit Part |  | M12X50MM HX HD SCR | 10
Kit Part |  | M12X55MM HX HD SCR | 10
Kit Part |  | 12MMX60MM HX HD SC | 10
Kit Part |  | M12X65 H.H.SCREW | 10
Kit Part |  | M12X70MM HX HD SCR | 10
Kit Part |  | HEX SCREW M16X20 | 10
Kit Part |  | M16X30MM HX HD SCR | 10
Kit Part |  | M16X35MM HX HD SCR | 10
Kit Part |  | M16X40MM HX HD SCR | 10
Kit Part |  | M16X45MM HX HD SCR | 10
Kit Part |  | M16X50MM HX HD SCR | 10
Kit Part |  | M6 REC SEC WASHER | 20
Kit Part |  | SPRING WASHER M8 | 20
Kit Part |  | M10 REC SEC WASHER | 20
Kit Part |  | M12 REC SEC WASHER | 20
Kit Part |  | M16 REC SEC WASHER | 20
Kit Part |  | M6 WASHER PLAIN | 20
Kit Part |  | PLAIN WASHER M8 | 20
Kit Part |  | M10 ST FORM A WASH | 20
Kit Part |  | M12 ST FORM A WASH | 20
Kit Part |  | M16 ST FORM A WASH | 20
| S018713138 | RETAINING COMPOUND SET OF 3 | 1
| S312084303 | LOCKING PLATE SET OF 12 | 1
MAINTENANCE SPARES
Generator spares
| S840012101 | BRUSH HOLDER AND CLAMP | 1
STRATEGIC SPARES
Generator spares
| S313452901 | TERMINAL BUSHING ASSEMBLY | 1
| S313452902 | TERMINAL BUSHING ASSEMBLY | 1
Exciter spares
| S313825201 | OIL PUMP AND GEAR COUPLING | 1
| S314263701 | GEAR COUPLING | 1
Bearing Bush Non Exciter End spares
| S318075301 | BEARING BUSH | 1
Bearing Bush Exciter End spares
| S318123301 | BEARING BUSH COMPLETE | 1
Bearing spares
| S313544101 | SHAFT SEAL RING AND SPRING KIT | 1
Kit Part |  | SEAL RING MCD | 1
Kit Part |  | SEAL RING SPRING | 1
Kit Part |  | CONTENTS LIST - SEAL KIT | 1
Kit Part |  | CARTON 1-PLY 420X420X100 | 1

## Control Panel Spares
Part | Description | Quantity
TCP Spares
921011 | ST-SI-UK4 Fuse Plug, 5X20 No LED | 5
2715979 | DIKD1,5 3 Level Terminal Block | 2
2774237 | DIKD1,5-TG 3 Level Terminal Block A | 5
2891152 | Pheonix 5 Port Ethernet Switch, 24VD | 1
3001938 | UK6-FSI/C-LED 24 Fuse Terminal Blo | 5
3004362 | UK5N Terminal Block | 5
3005073 | UK10N Terminal Block | 5
3118203 | UK6-FSI/C, Automotive Fuse No LED | 5
1407-CGCM | Combined Generator Control Module | 1
1756-CNBR | ControlNet Redundant Bridge | 1
1756-ENBT | Ethernet Communications Module | 1
1756-L61 | ControlLogix 5561 CPU Module | 1
1756-PB72 | Power Supply 19-32 Vdc | 1
1786-TPR | ControlNet Right Angle T-TAP | 1
1794-ACNR15 | Flex I/O ControlNet Adapter | 1
1794-IB32 | 32 Channel Discrete Input Module | 1
1794-IE8 | 8 Channel Analog Input Module | 1
1794-IRT8 | 8 Channel TC/RTD Input Module | 1
1794-OB32P | 32 Channel Discrete Output Module | 1
1794-OF4I | 4 Channel Analog Output Module | 1
1794-TB3 | Terminal Base - 16 Channel Analog | 1
1794-TB32 | Terminal Base - 32 Channel Discrete | 1
1794-TB3G | Terminal Base - RTD/TC Module | 1
27E893 | Relay Socket KU Series 1-3 Pole | 5
BE3-25-1A1N5 | Sync. Check Relay With Dead Bus | 1
C3-211-O | 11-Pole Test Switch Type MTS | 1
CHCC3D | Fuse Holder, CC,3 Pole, 30A | 1
E22HL2X4 | Light 22.5 24V LED Red | 2
E22HL9X4 | Light 22.5 24V LED Amber | 2
IC-DR-12 | Current Converter 4-20mA to 20-160 m | 1
KRPA-11DY-24 | Relay 2PDT 24DC-COIL 10A@28DC | 5
QL2X1-D24 | Relay 24VDC 2PDT 10A LED, Diode | 1
SIM-CNR04 | Speed Module - ControlNet | 1
SQL08D | Relay Socket 2PDT (QL2 SERIES) | 1
WMS1D03 | Suppression Protection 1 Pole 3A D C | 1
WMS2B30 | 4 Channel Analog Output Module | 1
Fire Control Panel Spares
PFC-4410RC | 4 Zone Releasing Control (White Cabinet) | 1
PFC-4410RC | 4 Zone Releasing Control (Red Cabinet) | 1
PFC-TW | Bezel for Semi-Flush Mounting (White) | 1
PFC-TR | Bezel for Semi-Flush Mounting (Red) | 1
BT-40 | Battery, 12V 4AH for 24 hour standby | 2
BT-80 | Battery, 12V 8AH for 60 hour standby | 2
BT-120 | Battery, 12V 12AH for 90 hour standby | 2
BT-180 | Battery, 12V, 18AH for 90 hour standby | 2
CA2Z | 2 Zone Class A Initiating Circuit Module | 1
CAM | Class A Indicating Circuit Module | 1
ARM-44 | Relay Module for PFC-4410RC | 1
ARM-2 | Auxiliary Relay Module | 1
RA-4410 | RC Remote Annunciator | 1
BB-RA-44R | Surface Mount Back Box for RA-4410RC (Red) | 1