Electricidad de Caracas LM6000 Tacoa Power Plant Technical Scope Document

Section 3.0 Equipment List - Detailed Division of Responsibility

1 Lot 1 Lot

1 Lot 1 Lot 1 Lot

1 Lot

1 Lot 1 Lot 1 Lot I Lot 1 1 lot

2 1

1 Lot

1 Lot 1 Lot 1 Lot

1 Lot 1 Lot

Material/Responsibility Owner

Contractor – ProEnergy EPC Responsibility Civil / Structural

Building

Mechanical

Qty              Description

Natural Fuel Gas supply and metered at the PDVSA Station

Fuel Gas and Liquid Fuel for Commissioning / Start-up that meets the PDVSA

Specifications supplied to Contractor by EDC.

Raw Water Supply from the existing tanks located above the site.

Raw Water for Commissioning and Startup

Waste Oil Deposal from the existing Arrecefe Power House

Permits for Environmental, Importation, Transportation, Operations, etc. to

allow plant construction and commercial operations

Construction & Commissioning Water and 480V three phase power

Access Roads to site

Import Duties and Taxes

Construction lay down area

Fuel Gas Compressor with 50% capacity

Right of Way, easements, etc. to allow proposed interconnects as required

Gas Turbine Generator

Gas Turbine Generator packages: (1) LM6000 PC & (1) LM6000 PD Modular Control Building with (2) sets of the following: -Turbine Control Panel

- Generator Control Panel and Protection Panel

- 24 VDC Batteries and Chargers

- 125 VDC Batteries and Chargers

- 125 VDC Rundown motor starter

-	480V MCC
13.8 KV Generator Breaker NEMA 3R
13.8 KV / 480V 2.3 MVA Transformer

Site Preparation, Rough Grading, Excavation, final grading, retaining walls,

shotcrete stabilization of the embankments surrounding the plant and fencing

Construction Tools, Rental Equipment & Rental Cranes

Temporary Power Distribution

Plant Concrete Foundations

Plant Paving, Gravel and Pads for the GTG Turbines and Generators

Structural piping supports, platforms, ladders, and Misc structural steel supports

Control Room and Office Building

Demin Water Treatment, Demin Forwarding Pumps, and Firewater Pumps

Building

Compressor Building

Exhaust Stacks with Silencers Fuel Gas Plant ESD Valve

Section 3.0 Balance of Plant Equipment Description

1-3

Revision 0 April 15, 2009

Electricidad de Caracas LM6000 Tacoa Power Plant Technical Scope Document

Material/Responsibility Contractor (continued) Mechanical

Electrical

2	Dual fuel gas filter skids

Qty              Description

2	50% capacity Fuel Gas Compressors for LM 6000 Plant

1	Fire Water System with Loop, Monitors and Controls

1	Demin Water Treatment System

2	21,000 fiberglass Demin Water Storage Tanks
2	GTG Duplex Demin Water Filter Skids
2	Demin Water forwarding Pumps
1	Duplex Instrument Air Compressor
1	Oily Water Separator
1	Waste Oil Tank 5,000 Gallon
1	Waste Oil Forward Pump

1 Lot	Pipe, Valves and Fittings with Insulation as required

1 Lot	Mechanical Labor

Optional 4,000 Ton Inlet Air Chiller with Cooling Tower, Cooling water pumps, 1

and Circulation Pumps.

Instrumentation & Control

Construction

1	13.8 KV Generator Breaker Nema 3R

2	13.8 KV Fused Disconnects (Station Service) NEMA 3R
2 Sets	13.8 KV Cable Bus from Generator breakers to owner furnished GSUs
1	13.8 KV / 4160 V 2000KVA Transformer for Fuel Gas Compressors
1	480 V Distribution Switch board
1	480 V BOP MCC

1 Lot	BOP 480/220 V Transformers, Lights, Panels, etc.

1	120 V UPS System for Control Room

1	Plant Grounding Grid

1 Lot	Lightning Protection

1 Lot	Cathodic Protection for underground steel piping

1 Lot	Area Lighting

1 Lot	480 V Welding Receptacles

1 Lot	Electrical Labor

1 Lot	Local Subcontractor(s) Civil, Electrical & Mechanical Craft Labor

1 Lot	Plant Instrumentation

1	PLC based DCS System

1 Lot	I&C Installation and Construction

1 Lot	Major Equipment Erection

1 Lot	Mechanical Installation and Construction

1 Lot	Construction Tools, Rental Equipment & Rental Cranes

1 Lot	Lubricants, Chemicals, Filters, etc. for Plant Commissioning

and Start up

1 Lot	Balance of Plant Start up and Commissioning Spare Parts

Section 3.0 Balance of Plant Equipment Description

2-3

Revision 0 April 15, 2009

Electricidad de Caracas LM6000 Tacoa Power Plant Technical Scope Document

Material/Responsibility Contractor (continued) Construction

Engineering

Project Management

1 Lot                Transportation of all BOP Equipment to site

Qty              Description

1 Lot                Plant Commissioning and Performance Testing 1 Lot                Overall Plant Training

1 Lot	Conceptual and Detail Design engineering (Total Plant)

1 Lot                Project Detail Engineering,

1 Lot                Project Manuals in Spanish including O&M, Warranty, and Engineering

Calculations
1 Lot	As Built Drawings

1 Lot                Recommended Vendor Spare Parts List

1 Lot                Project Management with QA/QC, Safety, and Training

1 Lot                Project manuals in Spanish including project procedures, Systems Turnover

Manuals, project implementation, QA/QC, safety and training
1 lot	Training

Section 3.0 Balance of Plant Equipment Description

3-3

Revision 0 April 15, 2009