## CI Consumables 7EA
[7 empty] | List Total: | Credit Total
[7 empty] | 47291.63 | 0 | #REF!
GT Combustion Inspection Consumable Spares
LINE | CATALOG
ITEM | NUMBER | PART NAME | PART DESCRIPTION | QTY | UM | Price | LINE PRICE |  | HIGH
____________
1 | G0512MG | VALVE | FUEL NZZLE, DUAL, DIST VALVE, F O | 2 |  | 7875 | 15750
2 | G0512MQ | GASKET | FUEL NZZLE, DUAL, CONN/COVER, GSK | 60 |  | 302.4 | 604.8
3 | G0512MS | CONNECTOR | FUEL NZZLE, DUAL, CNCTR, VLV/TUBING | 60 |  | 774 | 1548
4 | G05660D | GASKET | FUEL NZL, SEC, FLM DET, GASKET | 10 |  | 39.05 | 78.1
5 | G05660H | SEAL | FUEL NZL, SEC, SEAL, C RING | 10 |  | 742.6 | 1485.2
6 | G05660Y | BOLT | FUEL NZL, SEC, BOLT, FLAME DET | 8 |  | 11.2 | 22.4
7 | G056611 | SCREW | FUEL NZL, SEC, SCREW, OTR-SLV | 15 |  | 756 | 1512
8 | G056612 | PLATE-LOCK | FUEL NZL, SEC,LOCK PLATE,OTR-SLV | 10 |  | 346.5 | 693
9 | G070107 | RETAINER | CHAMBER ARR, CROSSFIRE TUBE,RETNR | 20 |  | 1642.2 | 3284.4
10 | G07010A | BOLT | CHAMBER ARR, FLOW SLEEVE, BOLT | 40 |  | 47.2 | 94.4
11 | G07010G | GASKET | CHAMBER ARR, FUEL NOZZLE, GASKET | 10 |  | 85 | 170
12 | G07010M | BOLT | CHAMBER ARR, FUEL NOZZ, MNTNG BOLT | 12 |  | 191.4 | 382.8
13 | G07010P | BOLT | CHAMBER ARR, SPARK PLUG, MNTNG BOLT | 2 |  | 15.03 | 30.06
14 | G07010V | GASKET | CHAMBER ARR, SPARK PLUG, GASKET | 2 |  | 4.6 | 9.2
15 | G07010Y | GASKET | CHAMBER ARR, FLAME DETECTOR, GASKET | 4 |  | 21.7 | 43.4
16 | G07010Z | BUSHING | CHAMBER ARR, FLAME DETECTOR, BUSHNG | 4 |  | 171.36 | 342.72
17 | G070114 | GASKET | CHAMBER ARR, CASING, COVER, GASKET | 10 |  | 205.55 | 411.1
18 | G070117 | BOLT | CHAMBER ARR, CASING, COVER, BOLT | 40 |  | 187.6 | 375.2
19 | G07011A | BOLT | CHAMBER ARR, FLAME DTCTR, MNTNG BLT | 4 |  | 36.56 | 73.12
20 | G07012Y | BOLT | CHAMBER ARR, CROSSFIRE TUBE, BOLT | 120 |  | 2441.4 | 4882.8
21 | G070174 | RING PKG | CHAMBER ARR, XFIRE ASSY,PKG RNG | 40 |  | 480.4 | 960.8
22 | G07019V | WASHER | CHAMBER ARR, XFIRE TUBE FLNG,WASHER | 4 |  | 89.16 | 178.32
23 | G0701AA | BOLT | CHAMBER ARR, CVR-ORIENT LOCTR,BOLT | 8 |  | 43.72 | 87.44
24 | G0701G4 | WASHER | CHAMBER ARR, SPARK PLUG,WASHER | 16 |  | 7.6 | 15.2
25 | G0701G5 | WASHER | CHAMBER ARR, FLAME DET MTG, WASHER | 16 |  | 7.6 | 15.2
26 | G071701 | SUPPORT | TRNS PC ARR, FWD MNT SPPRT | 10 |  | 2089.5 | 4179
27 | G071714 | PIN | TRNS PC ARR, AFT MNT LOCATOR PIN | 10 |  | 132.2 | 264.4
28 | G071717 | SEAL | TRNS PC ARR, AFT SEAL, END SEAL | 10 |  | 630 | 1260
29 | G07171A | RETAINER | TRNS PC ARR, AFT SEAL RETAINER | 10 |  | 255.15 | 510.3
30 | G07172D | BOLT | TRNS PC ARR, KIT - COMPONENT | 16 |  | 197.92 | 395.84
31 | G07172D | BOLT | TRNS PC ARR, KIT - COMPONENT | 16 |  | 237.52 | 475.04
32 | G07172D | BOLT | TRNS PC ARR, KIT - COMPONENT | 8 |  | 67.76 | 135.52
33 | G07172D | BOLT | TRNS PC ARR, KIT - COMPONENT | 20 |  | 505.4 | 1010.8
34 | G07172D | BOLT | TRNS PC ARR, KIT - COMPONENT | 10 |  | 76.3 | 152.6
35 | G07172D | PLATE-LOCK | TRNS PC ARR, KIT - COMPONENT | 10 |  | 69.85 | 139.7
36 | G07172D | PLATE-LOCK | TRNS PC ARR, KIT - COMPONENT | 10 |  | 38.1 | 76.2
37 | G07172D | PLATE-LOCK | TRNS PC ARR, KIT - COMPONENT | 8 |  | 11.04 | 22.08
38 | G07172D | PLATE-LOCK | TRNS PC ARR, KIT - COMPONENT | 4 |  | 4.96 | 9.92
39 | G07172D | PLATE-LOCK | TRNS PC ARR, KIT - COMPONENT | 10 |  | 12.85 | 25.7
40 | G07190G | GASKET | CASE ARR, COMB-OTR, GSKT ELONGATED | 4 |  | 53.72 | 107.44
41 | G07191J | BOLT | CASE ARR, COMB-OTR, BOLT, AFT MOUNT | 34 |  | 480.76 | 961.52
42 | G07191M | GASKET | CASE ARR, COMB-OTR, GASKET-AFT | 6 |  | 52.11 | 104.22
43 | G071944 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 12 |  | 25.38 | 50.76
44 | G071944 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 12 |  | 25.38 | 50.76
45 | G071944 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 12 |  | 25.38 | 50.76
46 | G071944 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 12 |  | 25.38 | 50.76
47 | G071944 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 12 |  | 25.38 | 50.76
48 | G071944 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 12 |  | 25.38 | 50.76
49 | G071944 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 12 |  | 25.38 | 50.76
50 | G071944 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 12 |  | 25.38 | 50.76
51 | G071944 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 12 |  | 25.38 | 50.76
52 | G071944 | INSERT | CSE, CMB-OTR, INSERT FWD CSNG FLNG | 12 |  | 25.38 | 50.76
53 | G071945 | INSERT | CSE, CMB-OTR, ISRT, COMB CSG\O WRAP | 6 |  | 10.74 | 21.48
54 | G071945 | INSERT | CSE, CMB-OTR, ISRT, COMB CSG\O WRAP | 6 |  | 10.74 | 21.48
55 | G071945 | INSERT | CSE, CMB-OTR, ISRT, COMB CSG\O WRAP | 6 |  | 10.74 | 21.48
56 | G071945 | INSERT | CSE, CMB-OTR, ISRT, COMB CSG\O WRAP | 6 |  | 10.74 | 21.48
57 | G071945 | INSERT | CSE, CMB-OTR, ISRT, COMB CSG\O WRAP | 6 |  | 10.74 | 21.48
58 | G071945 | INSERT | CSE, CMB-OTR, ISRT, COMB CSG\O WRAP | 6 |  | 10.74 | 21.48
59 | G071945 | INSERT | CSE, CMB-OTR, ISRT, COMB CSG\O WRAP | 6 |  | 10.74 | 21.48
60 | G071945 | INSERT | CSE, CMB-OTR, ISRT, COMB CSG\O WRAP | 6 |  | 10.74 | 21.48
61 | G071945 | INSERT | CSE, CMB-OTR, ISRT, COMB CSG\O WRAP | 6 |  | 10.74 | 21.48
62 | G071945 | INSERT | CSE, CMB-OTR, ISRT, COMB CSG\O WRAP | 6 |  | 10.74 | 21.48
63 | G071946 | PIN | CSE, CMB-OTR, PIN, COMB CSG\O WRAP | 1 |  | 4.595 | 9.19
64 | G071946 | PIN | CSE, CMB-OTR, PIN, COMB CSG\O WRAP | 2 |  | 9.19 | 18.38
65 | G071946 | PIN | CSE, CMB-OTR, PIN, COMB CSG\O WRAP | 2 |  | 9.19 | 18.38
66 | G071946 | PIN | CSE, CMB-OTR, PIN, COMB CSG\O WRAP | 1 |  | 4.595 | 9.19
67 | G071946 | PIN | CSE, CMB-OTR, PIN, COMB CSG\O WRAP | 1 |  | 4.595 | 9.19
68 | G071946 | PIN | CSE, CMB-OTR, PIN, COMB CSG\O WRAP | 1 |  | 4.595 | 9.19
69 | G071946 | PIN | CSE, CMB-OTR, PIN, COMB CSG\O WRAP | 2 |  | 9.19 | 18.38
70 | G071946 | PIN | CSE, CMB-OTR, PIN, COMB CSG\O WRAP | 1 |  | 4.595 | 9.19
71 | G071946 | PIN | CSE, CMB-OTR, PIN, COMB CSG\O WRAP | 1 |  | 4.595 | 9.19
72 | G071947 | INSERT | CSE, CMB-OTR, INSERT XFIRE TUBE FLG | 6 |  | 10.74 | 21.48
73 | G07194B | INSERT | CSE, CMB-OTR, INSRT SPK PL | 2 |  | 6.8 | 13.6
74 | G07194C | INSERT | CSE, CMB-OTR, INSRT FL DET | 4 |  | 13.6 | 27.2
75 | G09223434 | GASKET | PP ARR A AIR, GASKET, SPIRAL-WOUND | 7 |  | 14.49 | 28.98
76 | G09226028 | BOLT | PP AA ARR, BOLT, HEX HEAD | 1 |  | 0.7 | 1.4
77 | G09226045 | BOLT | PP ARR A AIR, BOLT, HEX HEAD | 4 |  | 1.48 | 2.96
78 | G09226558 | NUT | PP AA ARR, NUT, SELF-LOCKING | 2 |  | 3.05 | 6.1
79 | G09242D | GASKET | PP AR, AIR EXTR, MANIFOLD | 4 |  | 32.88 | 65.76
80 | G09242J | GASKET | PP AR, AIR EXTR, PIGTAIL | 25 |  | 51.75 | 103.5
81 | G09242P | BOLT | PP AR, AIR EXTR, BOLT, MNFLD FLNG | 10 |  | 26.2 | 52.4
82 | G09242Y | BOLT | PP AR, AIR EXTR, BOLT, PIGTAIL | 26 |  | 16.38 | 32.76
83 | G09243A | NUT-LOCK | PP, AIR EXTR, NUT-SLFLKG, PGTL | 41 |  | 62.525 | 125.05
84 | G09246562 | NUT-LOCK | PP, AIR EXTR, NUT, SELF-LOCKING | 48 |  | 53.04 | 106.08
85 | G09616646 | WASHER-LCK | WASHER,LOCK-EXTERNAL TOOTH | 30 |  | 1.65 | 3.3
86 | G09616647 | WASHER-LCK | WASHER,LOCK-EXTERNAL TOOTH | 2 |  | 3.15 | 6.3
87 | G09621Y | BOLT | PP ARR, GAS TRBN, BOLT, GAS SUPPLY | 6 |  | 3.78 | 7.56
88 | G09622P | BOLT | PP ARR, GAS TRBN, BOLT, SPPRT CHNL | 8 |  | 29.4 | 58.8
89 | G09623307 | STRIP-LOCK | PP ARR, GAS-TRBN, STRIP, LOCKING | 6 |  | 47.7 | 95.4
90 | G09626050 | BOLT | PP ARR, FUEL GAS, BOLT | 2 |  | 2.31 | 4.62
91 | G096262 | GASKET | PP ARR, GAS, PRM, PIGTAIL, GASKET | 20 |  | 46 | 92
92 | G096267 | BOLT | PP ARR, GAS, PRM MNFLD/NOZZ, BOLT | 32 |  | 75.68 | 151.36
93 | G09626A | NUT-LOCK | PP ARR, GAS, PRM MNFLD/NOZZ, NUT-LK | 32 |  | 16.8 | 33.6
94 | G09626G | GASKET | PP ARR, GAS, PRM MNFLD, GASKET | 2 |  | 6.89 | 13.78
95 | G09626J | BOLT | PP ARR, GAS, PRM MNFLD, BOLT | 4 |  | 2.52 | 5.04
96 | G09626M | NUT-LOCK | PP ARR, GAS, PRM MNFLD, NUT-LOCK | 5 |  | 7.625 | 15.25
97 | G09626S | GASKET | PP ARR, GAS, PRM SUPPLY, GASKET | 2 |  | 11.39 | 22.78
98 | G09626V | BOLT | PP ARR, GAS, PRM SUPPLY, BOLT | 4 |  | 2.1 | 4.2
99 | G09626Y | NUT-LOCK | PP ARR, GAS, PRM SUPPLY, NUT-LOCK | 2 |  | 3.05 | 6.1
100 | G096274 | GASKET | PP ARR, GAS, SCN MNFLD/NOZZ, GASKET | 20 |  | 33.1 | 66.2
101 | G096277 | BOLT | PP ARR, GAS, SCN MNFLD/NOZZ, BOLT | 16 |  | 11.2 | 22.4
102 | G096278 | NUT-LOCK | PP ARR, GAS, SCN, PIGTAIL, NUT-LOCK | 16 |  | 8.4 | 16.8
103 | G09627G | GASKET | PP ARR, GAS, SCN MNFLD, GASKET | 4 |  | 20.04 | 40.08
104 | G09627J | BOLT | PP ARR, GAS, SCN MNFLD, BOLT | 5 |  | 5.775 | 11.55
105 | G09627M | NUT-LOCK | PP ARR, GAS, SCN MNFLD, NUT-LOCK | 8 |  | 12.2 | 24.4
106 | G09627S | GASKET | PP ARR, GAS, SCN SUPPLY, GASKET | 1 |  | 5.01 | 10.02
107 | G09627V | BOLT | PP ARR, GAS, SCN SUPPLY, BOLT | 4 |  | 2.52 | 5.04
108 | G096284 | GASKET | PP ARR, GAS, TRN MNFLD/NOZZ, GASKET | 20 |  | 33.1 | 66.2
109 | G096287 | BOLT | PP ARR, GAS, TRN MNFLD/NOZZ, BOLT | 16 |  | 11.2 | 22.4
110 | G096288 | BOLT | PP ARR, GAS, TRN, PGTL/NOZZ, BOLT | 16 |  | 8.4 | 16.8
111 | G09628G | GASKET | PP ARR, GAS, TRN MNFLD, GASKET | 4 |  | 20.04 | 40.08
112 | G09628J | BOLT | PP ARR, GAS, TRN MNFLD, BOLT | 7 |  | 8.085 | 16.17
113 | G09628M | NUT-LOCK | PP ARR, GAS, TRN MNFLD, NUT-LOCK | 8 |  | 12.2 | 24.4
114 | G09628S | GASKET | PP ARR, GAS, TRN SUPPLY, GASKET | 1 |  | 5.01 | 10.02
115 | G09628V | BOLT | PP ARR, GAS, TRN SUPPLY, BOLT | 4 |  | 2.52 | 5.04
116 | G096501 | GASKET | PPG ARR AA, GASKET, PIGTAIL | 20 |  | 26.3 | 52.6
117 | G09650P | BOLT | PPG ARR AA, BOLT, MANIFOLD FLNG | 2 |  | 1.26 | 2.52
118 | G09650P | BOLT | PPG ARR AA, BOLT, MANIFOLD FLNG | 4 |  | 2.52 | 5.04
119 | G09650V | BOLT | PPG ARR AA, BOLTS, PIGTAIL FLNG | 16 |  | 11.2 | 22.4
120 | G09650Y | NUT | PPG ARR AA, NUTS, PIGTAIL FLNG | 16 |  | 24.4 | 48.8
121 | G09653435 | GASKET | PPG ARR AA, GASKET, SPIRAL WOUND | 1 |  | 3.445 | 6.89
122 | G09653435 | GASKET | PPG ARR AA, GASKET, SPIRAL WOUND | 2 |  | 6.89 | 13.78
123 | G09656051 | BOLT | BOLT, HEX HEAD | 4 |  | 2.52 | 5.04
124 | G09656558 | NUT | NUT,SELF-LOCKING | 2 |  | 3.05 | 6.1
125 | G09656558 | NUT | NUT,SELF-LOCKING | 4 |  | 6.1 | 12.2
126 | G09656559 | NUT | NUT,SELF-LOCKING | 2 |  | 3.05 | 6.1
127 | G09656647 | NUT | NUT,SELF-LOCKING | 8 |  | 12.6 | 25.2
128 | G11210A | BOLT | DTCTR, FLME (28FD), BOLT, MNTNG | 16 |  | 54.64 | 109.28
129 | G121431 | IGNITER | SPRK PLG, BALL JOINT, IGNITER | 2 |  | 589.26 | 1178.52
130 | G121437 | ASSEMBLY | SPRK PLG, BALL JOINT, SLV&BALL ASM | 1 |  | 216.745 | 433.49
131 | G12143G | RING-PACKING | SPRK PLG, BALL JOINT, RING, PACKING | 4 |  | 42.26 | 84.52
132 | G12143J | GASKET | SPRK PLG, BALL JOINT, GASKET | 2 |  | 4.6 | 9.2
133 | G12143M | BOLT | SPRK PLG, BALL JOINT, BOLT 12PT | 2 |  | 18.99 | 37.98
134 | G14011D | BOLT | NOZZ 1ST-STG, ECCENT RET PIN - BOLT | 1 |  | 4.935 | 9.87
135 | G14011M | PLATE-LOCK | NOZZ 1ST-STG, ECCENT RET PIN LKPL | 4 |  | 2.26 | 4.52

## HGP Consumables 7EA
[7 empty] | List Total: | Credit Total
[7 empty] | 11996 | 0 | #REF!
GT Hot Gas Path Inspection Spares
LINE | CATALOG
ITEM | NUMBER | PART NAME | PART DESCRIPTION | QTY | UM | Price | LINE PRICE |  | HIGH
____________
1 | G07055D | INSERT | CASE ARR,TURB, INST-VT CL FWD OUTSD | 4 |  | 6.56 | 26.24
2 | G07055S | STUD-BB | CASE ARR,TURB, HRZ JNT-BB STUD | 1 |  | 70.56 | 70.56
3 | G070561 | BOLT | CASE ARR,TURB, HRZ JNT-BOLT | 4 |  | 147.32 | 589.28
4 | G070564 | BOLT | CASE ARR,TURB, HRZ JNT-BOLT | 2 |  | 33.7 | 67.4
5 | G07056G | NUT | CASE ARR,TURB, HRZ JNT-COVERED NUT | 2 |  | 78.12 | 156.24
6 | G07056J | NUT-LOCK | CASE ARR,TURB, HRZ JNT-LOCK NUT | 4 |  | 10.5 | 42
7 | G09090G | GASKET | PP ARR C&SA, GSKT, BRNG SLNG PIPING | 3 |  | 6.15 | 18.45
8 | G09090S | BOLT | PP ARR C&SA, BLT, BRG SLG PIPEFLNG | 3 |  | 1.42 | 4.26
9 | G09091A | BOLT | PP ARR C&SA, BLT, AE11 CSNG FLNG | 7 |  | 0.84 | 5.88
10 | G09092P | GASKET | PP ARR C&SA, GSKT, AE11 CSNG FLNG | 4 |  | 12.86 | 51.44
11 | G09093325 | PLATE-LOCK | PP ARR C&SA, PLATE,LOCKING,NUT&BOLT | 48 |  | 1.13 | 54.24
12 | G09093413 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 4 |  | 5.24 | 20.96
13 | G09093413 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 7 |  | 5.24 | 36.68
14 | G09093413 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 4 |  | 5.24 | 20.96
15 | G09093414 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 24 |  | 6.15 | 147.6
16 | G09093414 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 3 |  | 6.15 | 18.45
17 | G09093414 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 18 |  | 6.15 | 110.7
18 | G09093415 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 2 |  | 7.72 | 15.44
19 | G09093415 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 2 |  | 7.72 | 15.44
20 | G09093416 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 2 |  | 9.09 | 18.18
21 | G09093416 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 5 |  | 9.09 | 45.45
22 | G09093416 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 3 |  | 9.09 | 27.27
23 | G09093417 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 10 |  | 12.86 | 128.6
24 | G09093418 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 1 |  | 13.97 | 13.97
25 | G09093418 | GASKET | PP ARR C&SA, GASKET,SPIRAL-WOUND | 1 |  | 13.97 | 13.97
26 | G09094Y | GASKET | PP ARR C&SA,GSKT,BFLY VLV AE11/SPCR | 10 |  | 13.97 | 139.7
27 | G09096026 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 5 |  | 0.53 | 2.65
28 | G09096028 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 3 |  | 1.4 | 4.2
29 | G09096028 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 3 |  | 1.4 | 4.2
30 | G09096028 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 3 |  | 1.4 | 4.2
31 | G09096029 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 2 |  | 4.73 | 9.46
32 | G09096030 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 9 |  | 1.42 | 12.78
33 | G09096030 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 3 |  | 1.42 | 4.26
34 | G09096030 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 9 |  | 1.42 | 12.78
35 | G09096031 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 2 |  | 2.21 | 4.42
36 | G09096031 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 2 |  | 2.21 | 4.42
37 | G09096032 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 1 |  | 0.63 | 0.63
38 | G09096032 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 1 |  | 0.63 | 0.63
39 | G09096033 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 1 |  | 2.68 | 2.68
40 | G09096033 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 1 |  | 2.68 | 2.68
41 | G09096048 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 4 |  | 2.68 | 10.72
42 | G09096048 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 5 |  | 2.68 | 13.4
43 | G09096048 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 2 |  | 2.68 | 5.36
44 | G09096049 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 4 |  | 4.11 | 16.44
45 | G09096049 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 4 |  | 4.11 | 16.44
46 | G09096101 | BOLT | PP ARR C&SA, BOLT,HEX HEAD | 1 |  | 1.89 | 1.89
47 | G09096556 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 2 |  | 2.21 | 4.42
48 | G09096556 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 1 |  | 2.21 | 2.21
49 | G09096556 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 1 |  | 2.21 | 2.21
50 | G09096557 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 1 |  | 6.62 | 6.62
51 | G09096557 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 2 |  | 6.62 | 13.24
52 | G09096557 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 1 |  | 6.62 | 6.62
53 | G09096558 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 15 |  | 1.05 | 15.75
54 | G09096558 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 8 |  | 1.05 | 8.4
55 | G09096558 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 15 |  | 1.05 | 15.75
56 | G09096559 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 4 |  | 3.05 | 12.2
57 | G09096559 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 7 |  | 3.05 | 21.35
58 | G09096559 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 7 |  | 3.05 | 21.35
59 | G09096559 | NUT-LOCK | PP ARR C&SA, NUT,SELF-LOCKING | 4 |  | 3.05 | 12.2
60 | G14011D | BOLT | NOZZ 1ST-STG, ECCENT RET PIN - BOLT | 1 |  | 9.87 | 9.87
61 | G14011G | BOLT | NOZZ 1ST-STG, HOR HLD DWN CLMP BOLT | 1 |  | 56.7 | 56.7
62 | G14011M | PLATE-LOCK | NOZZ 1ST-STG, ECCENT RET PIN LKPL | 4 |  | 1.13 | 4.52
63 | G14014G | BOLT | NOZZ 1ST-STG, RTNG RING BOLT | 1 |  | 228.22 | 228.22
64 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.21 | 11.21
65 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
66 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
67 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
68 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.21 | 11.21
69 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
70 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
71 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
72 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.21 | 11.21
73 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
74 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
75 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
76 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.21 | 11.21
77 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
78 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
79 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
80 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.21 | 11.21
81 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
82 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
83 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
84 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.21 | 11.21
85 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
86 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
87 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
88 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.21 | 11.21
89 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
90 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
91 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
92 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.21 | 11.21
93 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
94 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
95 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
96 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.21 | 11.21
97 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
98 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
99 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
100 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.21 | 11.21
101 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
102 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
103 | G14014J | INSERT | NOZZ 1ST-STG, RTG RNG WIR-LK INSERT | 1 |  | 11.76 | 11.76
104 | G14014M | INSERT | NOZZ 1ST-STG, RTG RG WIR-LK BLT INS | 1 |  | 14.32 | 14.32
105 | G14020M | PLATE-LOCK | NOZZ 2ND STG, NOZ RET PN PLT LKPL | 2 |  | 0.95 | 1.9
106 | G14021S | BOLT | NOZZ 2ND STG, NOZ RET PIN PLT BLT | 2 |  | 6.83 | 13.66
107 | G14030D | BOLT | SPPRT RNG, 1ST-STG, RNG MNT BOLT | 5 |  | 21.9 | 109.5
108 | G14030G | SCREW | SPPRT RNG, 1ST-STG, SHIM SCREW | 4 |  | 5.15 | 20.6
109 | G140311 | INSERT | SPPRT RNG, 1ST-STG, INSERT | 24 |  | 14.32 | 343.68
110 | G16040J | BOLT | B & D ARR, BLT, DSCH CASE/COMB WRPR | 23 |  | 9.38 | 215.74
111 | G16040V | BOLT | B & D ARR, BLT, CMP DSCH/TURB SHELL | 4 |  | 70.56 | 282.24
112 | G16040Y | BOLT | B & D ARR,BLT,CMB WRPR/TB SHELL-INR | 16 |  | 15.03 | 240.48
113 | G160414 | BOLT | B & D ARR, BLT, TURB SHELL/EXH FRM | 5 |  | 16.44 | 82.2
114 | G16045P | BOLT | B&D ARR,BLT,CMB WRPR/TRB SHELL-OTR | 1 |  | 31.19 | 31.19
115 | G16046Y | NUT | B & D ARR, NUT, TRB SHELL/EXH FRAME | 5 |  | 10.5 | 52.5
116 | G160517 | WASHER | ENCL TO BASE ARR,WSHR,RUBB-FLSH ENC | 2 |  | 0.63 | 1.26
117 | G16051A | WASHER | ENCL TO BASE ARR,WSHR,PLN-FLSH ENC | 9 |  | 7.25 | 65.25
118 | G16051D | BOLT | ENCL TO BASE ARR,BOLT-FLSH/ENC 3.5 | 2 |  | 0.21 | 0.42
119 | G16052J | GASKET | ENCL-BASE, GSKT,DRY ADHSV INL PLNM | 360 |  | 0.95 | 342
120 | G16140D | GASKET | ENCL ASM,CMPT,GSKT,FLSH-FBGL BLB | 20 |  | 13.42 | 268.4
121 | G16140P | BOLT | ENCL ASM,CMPT,BOLT,INLT PLNM/SDE FR | 9 |  | 0.84 | 7.56
122 | G16140Y | BOLT | ENCL ASM,CMPT,BOLT,ROOF COV/FRAME | 3 |  | 0.47 | 1.41
123 | G16141A | WASHER | ENCL ASM,CMPT,WSHR, INLT PLN/TB CMP | 9 |  | 0.32 | 2.88
124 | G16141Y | NUT | ENCL ASM,CMPT,INLT PLNM NUT | 9 |  | 7.25 | 65.25
125 | G16146001 | BOLT | ENCL ASM,CMPT,BOLT, HEX HEAD | 3 |  | 0.47 | 1.41
126 | G16146503 | NUT | ENCL ASM,CMPT,NUT, HEX | 3 |  | 7.35 | 22.05
127 | G162501 | BOLT | PLNM ASM EX, BOLT, EXP JNT SEG-FWD | 40 |  | 58.83 | 2353.2
128 | G162504 | EXPANSION-JT | PLNM ASM EX, EXP JNT SEGMENT-FWD | 20 |  | 68.04 | 1360.8
129 | G162507 | GASKET | PLNM ASM EX, GSKT, EXP JNT SEG-FWD | 1 |  | 245.12 | 245.12
130 | G16250A | BOLT | PLNM ASM EX, BOLT, EXP JNT SEG-AFT | 40 |  | 5.15 | 206
131 | G16250G | EXPANSION-JT | PLNM ASM EX, EXP JNT FLX PL SEG-AFT | 20 |  | 46.7 | 934
132 | G16250J | GASKET | PLNM ASM EX, GSKT, FLX PL SEG-AFT | 4 |  | 123.48 | 493.92
133 | G16250P | GASKET | PLNM ASM EX,GSKT,C/L HORIZ JNT | 4 |  | 253.58 | 1014.32
134 | G16251H | GASKET | PLNM ASM EX, GSKT, CL TRNVRS JT | 1 |  | 253.58 | 253.58
135 | G16251N | BOLT | PLNM ASM EX, BOLT, CL TRNSVRS JT | 3 |  | 2.11 | 6.33
136 | G16256559 | NUT | PLNM ASM EX, NUT, CL TRNSVRS JT | 14 |  | 3.05 | 42.7

## OperatSpares 7EA
List Total:
[7 empty] | 481439.91 | #REF!
GT Turbine Operational Spares
LINE | CATALOG
ITEM | NUMBER | PART NAME | PART DESCRIPTION | QTY | UM | Price | LINE PRICE | HIGH
____________
1 | G02290V | THERMOMETER | INSTM,TRBN LO, LO TANK THERMOMETER | 1 |  | 119.7 | 119.7
2 | G02291K | THERMOMETER | INSTM,TRBN LO, TMP SW | 1 |  | 109.62 | 109.62
3 | G0235A0V | QUILL | INST ARR, BRG#1, QUILL | 1 |  | 156.45 | 156.45
4 | G0235A1H | PROXIMITOR | INST ARR, BRG#1, PRXMTR (39VS12) | 1 |  | 429.51 | 429.51
5 | G0235A1K | PROXIMITOR | INST ARR, BRG#1, PRXMTR (39VS11) | 1 |  | 429.51 | 429.51
6 | G0235A1N | PROXIMITOR | INST ARR, BRG#1, PRXMTR (77RP11) | 1 |  | 429.51 | 429.51
7 | G0235A1R | PROXIMITOR | INST ARR, BRG#1, PRXMTR (96VC12) | 1 |  | 429.51 | 429.51
8 | G0235A1T | PROXIMITOR | INST ARR, BRG#1, PRXMTR (96VC11) | 1 |  | 429.51 | 429.51
9 | G0235A9J | EXTENSION | INST ARR,BRG #1, VIB DET EXT 96VC12 | 1 |  | 273 | 273
10 | G0235A9M | EXTENSION | INST ARR,BRG #1, VIB DET EXT 96VC11 | 1 |  | 273 | 273
11 | G0235AHD | EXTENSION | INST ARR,BRG #1,VIB DET EXT 39VS11 | 1 |  | 273 | 273
12 | G0235AHE | EXTENSION | INST ARR,BRG #1,VIB DET EXT 39VS12 | 1 |  | 273 | 273
13 | G0235AHG | EXTENSION | INST ARR,BRG #1,VIB DET EXT 77RP11 | 1 |  | 383.99 | 383.99
14 | G0235BAJ | PROXIMITOR | INST ARR, BRG#2, PRXMTR (39VS22) | 1 |  | 429.51 | 429.51
15 | G0235BAK | PROXIMITOR | INST ARR, BRG#2, PRXMTR (39VS21) | 1 |  | 429.51 | 429.51
16 | G0235BAL | PROXIMITOR | INST ARR, BRG#2, PRXMTR (39VS23) | 1 |  | 429.51 | 429.51
17 | G0235BAM | PROXIMITOR | INST ARR, BRG#2, PRXMTR (39VS24) | 1 |  | 429.51 | 429.51
18 | G0235C3A | QUILL | INST ARR, BRG#3, QUILL | 2 |  | 150.94 | 301.88
19 | G0235CAM | PROXIMITOR | INST ARR,BRG NO 3, VIB DTCTR PRXMTR | 2 |  | 429.51 | 859.02
20 | G0235CBY | EXTENSION | INST ARR,BRG NO. 3 EXT, VIB DETCTR | 2 |  | 216.3 | 432.6
21 | G050202 | ACCUM | CNTRL ARR,ACCESS SYSTEM,ACCUMULATOR | 2 |  | 1440.6 | 2881.2
22 | G05020G | WASHER-LCK | SLND ARR-HYDR DUMP WASHER-LOCK | 4 |  | 0.63 | 2.52
23 | G05020S | WASHER-LCK | SLND AR-STRT CLT&HDR DMP WSHR-LK | 8 |  | 3.13 | 25.04
24 | G050801 | PICKUP | FLW DVDR & MAG PCKUP ARR, PICKUP | 3 |  | 123.48 | 370.44
25 | G05080A | PLATE-LOCK | FLW DVDR & MAG PCKUP ARR, LCKPLT | 2 |  | 3.31 | 6.62
26 | G05103G | WASHER | FUEL PUMP,WASHER,PLAIN-PUMP BASE | 2 |  | 7.35 | 14.7
27 | G05163D | FILTER | FUEL OIL BYP VLV, HYDRAULIC FILTER | 1 |  | 878.85 | 878.85
28 | G05167P | TRNSDR-LIN | FUEL OIL BYP VLV, LIN POS TRNSDCR | 2 |  | 1291.25 | 2582.5
29 | G053301 | VLV-SERVO | SRVO ARR, FO BYP VLV, VALVE | 1 |  | 2586.02 | 2586.02
30 | G053307 | WASHER-LCK | SRVO ARR, FO BYP VLV, LKWSHER | 4 |  | 12.68 | 50.72
31 | G05330A | SCREW | SRVO ARR, FO BYP VLV, SCREW | 2 |  | 2.21 | 4.42
32 | G05400V | WASHER-LCK | SRVO&DRV ARR, VAR IGV, LCKWSHR | 4 |  | 12.68 | 50.72
33 | G054101 | VLV-SERVO | SRVO ARR, SR & CV, SERVOVALVE | 2 |  | 2499 | 4998
34 | G054107 | WASHER-LCK | SRVO ARR, SR & CV, LCKWSHR, MNTNG | 8 |  | 12.68 | 101.44
35 | G05440A | FILTER | VLV,STP,RATIO&CONT, HYDRAULIC FLTER | 1 |  | 878.85 | 878.85
36 | G054601 | PICKUP | MAG PICKUP ARR-HP, MAG PICKUP | 3 |  | 138.86 | 416.58
37 | G054807 | FILTER | ACTUATOR ASSEMBLY, IGV, HYD FILTER | 1 |  | 878.85 | 878.85
38 | G05480A | TRANSDUCER | ACTUATOR ASSEMBLY, IGV, TRANSDUCER | 2 |  | 1515.86 | 3031.72
39 | G0557T4G | VALVE | TRNSDCR ARR, BALL VALVE | 3 |  | 743.82 | 2231.46
40 | G055904 | PROBE | SNSR ARR, INL/EXH, PRBE, EXH DCT PR | 2 |  | 131.62 | 263.24
41 | G05590D | VALVE | SNSR ARR, INL/EXH, VLV, 3-WAY VALVE | 1 |  | 276.15 | 276.15
42 | G05641D | INDICATOR | VALVE, SPLITTER, PRIMARY VLV POS | 2 |  | 31.5 | 63
43 | G05641G | BEARING | VALVE, SPLITTER, LVDT | 2 |  | 31.5 | 63
44 | G056443 | GASKET | VALVE, SPLITTER,VLV CTRL MDL,CVR-PL | 1 |  | 12.6 | 12.6
45 | G05644D | O-RING | VALVE, SPLITTER,VLV CTRL MDL | 2 |  | 12.6 | 25.2
46 | G056801 | VLV-SERVO | SERVO ARR,TRANS VALVE,SERVOVALVE | 1 |  | 2467.25 | 2467.25
47 | G060700 | COMPRESSOR | COMPRESSOR, AIR, ATMG | 1 |  | 25989.6 | 25989.6
48 | G061100 | PUMP | PUMP, LIQUID FUEL | 1 |  | 51018.45 | 51018.45
49 | G061300 | DIVIDER-FLOW | FLW DVDR, LIQ FUEL | 1 |  | 24030 | 24030
50 | G062300 | TCPL | THERMOCOUPLE,EXHAUST (TT-XD,TT-XDT) | 18 |  | 682.24 | 12280.32
51 | G062801 | PUMP | PUMP, HYD-AUX, PUMP | 1 |  | 1141.09 | 1141.09
52 | G062804 | MOTOR | PUMP, HYD-AUX, MOTOR | 1 |  | 1987.44 | 1987.44
53 | G06374M | CONNECTOR | TC ARR,REMOVBL,CONNECTOR,TTWS3FO1 | 1 |  | 22.83 | 22.83
54 | G06374P | CONNECTOR | TC ARR,REMOVBL,CONNECTOR,TTWS2AO1 | 1 |  | 22.83 | 22.83
55 | G06374S | CONNECTOR | TC ARR,REMOVBL,CONNECTOR,TTWS1AO1 | 1 |  | 22.83 | 22.83
56 | G06374V | CONNECTOR | TC ARR,REMOVBL,CONNECTOR,TTWS2FO1 | 1 |  | 22.83 | 22.83
57 | G06374Y | CONNECTOR | TC ARR,REMOVBL,CONNECTOR,TTWS3FO2 | 1 |  | 22.83 | 22.83
58 | G063751 | CONNECTOR | TC ARR,REMOVBL,CONNECTOR,TTWS2AO2 | 1 |  | 22.83 | 22.83
59 | G063754 | CONNECTOR | TC ARR,REMOVBL,CONNECTOR,TTWS2FO2 | 1 |  | 22.83 | 22.83
60 | G063757 | CONNECTOR | TC ARR,REMOVBL,CONNECTOR,TTWS1AO2 | 1 |  | 22.83 | 22.83
61 | G06375D | REDUCER | TC ARR,REMOVBL,REDUCER,TTIB1 | 1 |  | 1.89 | 1.89
62 | G06375G | CONNECTOR | TC ARR,REMOVBL,CONNECTOR,TTWS1FI2 | 1 |  | 41.37 | 41.37
63 | G06375P | CONNECTOR | TC ARR,REMOVBL,CONNECTOR,TTWS1FI1 | 1 |  | 41.37 | 41.37
64 | G06375S | REDUCER | TC ARR,REMOVBL,REDUCER,TTIB2 | 1 |  | 1.89 | 1.89
65 | G06375V | CONNECTOR | TC ARR,REMOVBL,CONNECTOR, TTIB1 | 1 |  | 29.2 | 29.2
66 | G0637BW | REDUCER | TC ARR,REMOVBL,REDUCER,TTIB3 | 1 |  | 1.89 | 1.89
67 | G06390S | MANIFOLD | FL GS FLW MEAS SYS,MTR TB 5-VLV MFD | 1 |  | 777.63 | 777.63
68 | G09030D | VLV-CHECK | PPG ARR, L O , PUMP DISCH CHK VALVE | 1 |  | 352.59 | 352.59
69 | G09046P | GASKET | PP,OIL TNK EXT, GSKT, AUX HYD PMP | 1 |  | 17.46 | 17.46
70 | G09052X | SIGHT | PP LO FD&DRN, SIGHT FL, BRG3 DRN\BS | 2 |  | 348.97 | 697.94
71 | G09082J | VLV-CHECK | PP AR, CO-INT, CHECK VALVE | 2 |  | 155.77 | 311.54
72 | G09096C | VLV-BUTTERFLY | PP C&SA, BFLY VLV, AIR CLNR INLET | 1 |  | 736.58 | 736.58
73 | G09096D | VLV-BALL | PP ARR C&SA, BLL VLV, AIR CLN BLWDN | 4 |  | 341.72 | 1366.88
74 | G09096E | VLV-BUTTERFLY | PP C&SA, BFLY VLV, AIR CLN BLWDN | 1 |  | 266.86 | 266.86
75 | G09103205 | CLAMP | PP ARR,FUEL OIL, CLAMP, LOOP | 1 |  | 2.68 | 2.68
76 | G09103413 | GASKET | PP ARR,FUEL OIL,GSKT,STP VLV-LO TNK | 2 |  | 5.24 | 10.48
77 | G09103414 | GASKET | PP ARR,FUEL OIL,GSKT,INLT-TRSFR VLV | 3 |  | 6.15 | 18.45
78 | G09103435 | GASKET | PP ARR, FUEL OIL, GASKET, PUMP-INLT | 1 |  | 6.89 | 6.89
79 | G0910344401 | GASKET | PP ARR, FUEL OIL,GSKT,PMP-INLT LINE | 2 |  | 4.14 | 8.28
80 | G0910344404 | GASKET | PP ARR,FUEL OIL,GSKT,PMP-DSCRG LINE | 2 |  | 4.14 | 8.28
81 | G09103536 | O-RING | PP ARR,FUEL OIL, O-RING | 2 |  | 4.6 | 9.2
82 | G091047 | GASKET | PP ARR,FUEL OIL, GASKET, PMP-DSCHRG | 1 |  | 3.77 | 3.77
83 | G09106025 | BOLT | PP FUEL OIL, BOLT, HEX HEAD | 1 |  | 1.82 | 1.82
84 | G09106028 | BOLT | PP FUEL OIL, BOLT, HEX HEAD | 1 |  | 1.4 | 1.4
85 | G09106030 | BOLT | PP FUEL OIL, BOLT, HEX HEAD | 3 |  | 1.42 | 4.26
86 | G09106044 | BOLT | PP FUEL OIL, BOLT, HEX HEAD | 2 |  | 0.84 | 1.68
87 | G09106045 | BOLT | PP FUEL OIL, BOLT, HEX HEAD | 2 |  | 0.74 | 1.48
88 | G09106052 | BOLT | PP FUEL OIL, BOLT, HEX HEAD | 7 |  | 1.05 | 7.35
89 | G09106101 | BOLT | PP FUEL OIL, BOLT, HEX HEAD | 3 |  | 1.89 | 5.67
90 | G09106111 | SCREW | PP ARR,FUEL OIL, SCREW,CAP HEX HEAD | 9 |  | 0.21 | 1.89
91 | G09106253 | BOLT-U | PP ARR,FUEL OIL, BOLT-U | 1 |  | 6.98 | 6.98
92 | G09106256 | BOLT-U | PP ARR,FUEL OIL, BOLT-U | 1 |  | 6.89 | 6.89
93 | G09106262 | BOLT-U | PP ARR,FUEL OIL, BOLT-U | 1 |  | 15.03 | 15.03
94 | G09106379 | SCREW | PP ARR,FUEL OIL, SCREW,SOCKET HEAD | 2 |  | 1.1 | 2.2
95 | G09106556 | NUT-LOCK | PP ARR, FUEL OIL, NUT-LOCK | 1 |  | 2.21 | 2.21
96 | G09106557 | NUT-LOCK | PP ARR, FUEL OIL, NUT-LOCK | 2 |  | 6.62 | 13.24
97 | G09106558 | NUT-LOCK | PP ARR, FUEL OIL, NUT-LOCK | 4 |  | 6.62 | 26.48
98 | G09106559 | NUT-LOCK | PP ARR, FUEL OIL, NUT-LOCK | 7 |  | 6.62 | 46.34
99 | G09106646 | WASHER-LCK | PP ARR,FUEL OIL,WASHER-LCK,EXT TTH | 2 |  | 0.11 | 0.22
100 | G09106648 | WASHER-LCK | PP ARR,FUEL OIL,WASHER-LCK,EXT TTH | 1 |  | 3.13 | 3.13
101 | G09106649 | WASHER-LCK | PP ARR,FUEL OIL,WASHER-LCK,EXT TTH | 4 |  | 2.52 | 10.08
102 | G091407 | VLV-BUTTERFLY | PP ARR, CLG WTR, LO HT EX ISOL VLV | 1 |  | 361.04 | 361.04
103 | G091608 | HOSE | PP AR,ST MNS,HS-FLX,FD PMP INLET | 1 |  | 1465.3 | 1465.3
104 | G091609 | HOSE | PP AR,ST MNS,HS-FLX,FD PMP OUTLET | 1 |  | 842.84 | 842.84
105 | G091627 | VLV-BUTTERFLY | PP, STRT MNS, BFLY VLV, STRNR INLET | 1 |  | 736.58 | 736.58
106 | G09261J | GAUGE | CBNT ASM,GAUGE,PR,DL IND (OL-2) | 1 |  | 78.12 | 78.12
107 | G09261M | GAUGE | CBNT ASM,GAUGE,PR,DL IND (OL-3) | 1 |  | 78.12 | 78.12
108 | G09261S | GAUGE | CBNT ASM,GAUGE,PR,DL IND (OL-4) | 1 |  | 74.34 | 74.34
109 | G09261V | GAUGE | CBNT ASM,GAUGE,PR,DL IND (OL-5) | 1 |  | 74.34 | 74.34
110 | G092624 | GAUGE | CBNT ASM,GAUGE,PR,DL IND (OL-1) | 1 |  | 74.34 | 74.34
111 | G092627 | GAUGE | CBNT ASM,GAUGE,PR,DL IND (OH-1) | 1 |  | 90.72 | 90.72
112 | G09262A | GAUGE | CBNT ASM,GAUGE,PR,DL IND (MLF) | 1 |  | 216.14 | 216.14
113 | G09262D | GAUGE | CBNT ASM,GAUGE,PR,DL IND (HPF1) | 1 |  | 212.52 | 212.52
114 | G092687 | VALVE | CBNT ASM, VALVE, GAUGE ISOLATION | 3 |  | 118.44 | 355.32
115 | G09268A | VALVE | CBNT ASM, VALVE, TEST | 1 |  | 297.05 | 297.05
116 | G09268P | BOTTLE | CBNT ASM, GAUGE, BOTTLE,SAMPLE | 1 |  | 6.15 | 6.15
117 | G092901 | STRAINER | STRAINER ASSY, FUEL GAS, STRAINER | 1 |  | 2969.4 | 2969.4
118 | G09470M | SCREW | MNFLD ASM,HYDRL,SCRW,MTG RELIEF VLV | 2 |  | 3.89 | 7.78
119 | G09470Q | NIPPLE | MNFLD ASM,HYDRLC,PIPE-NIPPL,BLD VLV | 1 |  | 6.44 | 6.44
120 | G094801 | GAUGE | BASE, FAB &MCH-ACC, LO LIQ LVL GAGE | 1 |  | 809.03 | 809.03
121 | G09530K | NOZZLE | CMPRSR WSH,WTR WSH NZL ASM-ON-LINE | 3 |  | 398.48 | 1195.44
122 | G09530L | NOZZLE | CMPRSR WSH,WTR WSH NZL ASM-OFF-LINE | 3 |  | 935.81 | 2807.43
123 | G09530M | NOZZLE | CMPR WSH, W WSH NZL ASM-ON-LINE-FWD | 3 |  | 275.31 | 825.93
124 | G095311 | VLV-NEEDLE | CMPRSR WSH, DRAIN VALVE | 1 |  | 143.69 | 143.69
125 | G097901 | VLV-BALL | PPG ARR, INLT PLNM DRN, VLV,WTR DRN | 1 |  | 421.42 | 421.42
126 | G09821J | FILTER | PP ARR C&SA,FLTR,FLD PR CONTRL AIR | 1 |  | 422.63 | 422.63
127 | G099104 | TRANSDUCER | GAS FUEL MODULE,TRNSDCR,PRESS,ELEC | 3 |  | 1314.77 | 3944.31
128 | G09910A | SWITCH | GAS FUEL MODULE, SWITCH,PRESS-EP | 3 |  | 531.3 | 1593.9
129 | G09910D | SWITCH | GAS FUEL MODULE, SWITCH,PRESS-EP | 1 |  | 1122.38 | 1122.38
130 | G09920A | PICKUP | LIQUID FUEL MODULE, PICKUP | 3 |  | 123.48 | 370.44
131 | G100600 | PUMP | PUMP, LUBE OIL, AUX | 1 |  | 12931.38 | 12931.38
132 | G100701 | MOTOR | PUMP, LUBE OIL, MOTOR (EMERG) | 1 |  | 13178.55 | 13178.55
133 | G100704 | PUMP | PUMP, LUBE OIL, PUMP (EMERG) | 1 |  | 11783.31 | 11783.31
134 | G101600 | VLV-RELIEF | VLV, RELIEF, LUBE OIL (VR-1) | 1 |  | 1761.65 | 1761.65
135 | G101900 | VALVE-SOL | VLV, SOLENOID (20FG,20FL,20TV,20HD) | 1 |  | 5122.66 | 5122.66
136 | G102200 | VALVE | VLV, CONT 4TH&10TH STG EXT(VA2-1,2) | 1 |  | 7123.03 | 7123.03
137 | G102300 | VALVE | VALVE, RGLTR,PRESS-LO,ASSY, VPR2-1 | 1 |  | 3038.7 | 3038.7
138 | G102600 | VALVE | VLV, REG-FALSE STRT DRN (VA17) | 1 |  | 1540.56 | 1540.56
139 | G102700 | VALVE | VLV, CLNG WTR, AA PRECLR (VTR2) | 1 |  | 4208.9 | 4208.9
140 | G103500 | VALVE | VLV,CLNG WTR,LUBE OIL (VTR1-1) | 1 |  | 6882.9 | 6882.9
141 | G103800 | SWITCH | SWTCH, LIQ LVL-LUBE OIL, 71QH/71QL | 1 |  | 1754 | 1754
142 | G105104 | CARTRIDGE | FILTER-HYDRALIC SUPPLY, CARTRIDGE | 2 |  | 160 | 320
143 | G105300 | CARTRIDGE | CARTRIDGE, FILTER-MAIN LUBE OIL | 24 |  | 11.1 | 266.4
144 | G107100 | VALVE-SOL | VLV, SOLENOID-CMPRSR BLEED (20CB-1) | 1 |  | 3956.06 | 3956.06
145 | G107500 | CARTRIDGE | LIQD FUEL, MAIN FUEL CART (FF-1) | 14 |  | 11.1 | 155.4
146 | G108200 | VALVE | GAS FUEL SYSTEM PURGE VALVE | 1 |  | 7599.31 | 7599.31
147 | G112101 | DETECTOR | DTCTR, FLME (28FD), DETECTOR | 4 |  | 3171 | 12684
148 | G121301 | LEAD | IGNITION SYS, LEAD, SPRK PLG | 2 |  | 738.99 | 1477.98
149 | G121304 | LEAD | IGNITION SYS, LEAD, SPRK PLG(SHORT) | 1 |  | 489 | 489
150 | G12130A | EXCITER | IGNITION SYS, EXCITER (95SG) | 1 |  | 5162 | 5162
151 | G121400 | ASM-SPARK PLUG | SPRK PLG ASM | 2 |  | 1934.52 | 3869.04
152 | G1218A1J | WIRE-LOCK | SENSOR ARR, VBRTN, WIRE-LOCK | 2 |  | 21.69 | 43.38
153 | G1218A8Y | WASHER-LCK | SENSOR ARR,VBRTN,WSHR,SNSR MTG WSHR | 8 |  | 1.26 | 10.08
154 | G1218A91 | SCREW-CAP | SENSOR ARR,VBRTN,SCRW,SNSR MTG SCRW | 8 |  | 6.44 | 51.52
155 | G1218B8Y | WASHER-LCK | SENSOR ARR,VBRTN,WSHR,SNSR MTG WSHR | 4 |  | 1.26 | 5.04
156 | G1218B91 | SCREW-CAP | SENSOR ARR,VBRTN,SCRW,SNSR MTG SCRW | 4 |  | 6.44 | 25.76
157 | G1218C1J | WIRE-LOCK | SENSOR ARR, VBRTN, WIRE-LOCK | 2 |  | 21.69 | 43.38
158 | G1218C8Y | WASHER-LCK | SENSOR ARR,VBRTN,WSHR,SNSR MTG WSHR | 8 |  | 1.26 | 10.08
159 | G1218C91 | SCREW-CAP | SENSOR ARR,VBRTN,SCRW,SNSR MTG SCRW | 8 |  | 6.44 | 51.52
160 | G130321 | PICKUP | CMPRSSR RTR, SPEED PICKUP | 1 |  | 8529.15 | 8529.15
161 | G131300 | COUPLING | COUPLING, ACC GEAR ASSEMBLY | 1 |  | 12000.45 | 12000.45
162 | G131900 | COUPLING | COUPLING,OUTPUT | 1 |  | 81916.8 | 81916.8
163 | G20TW1 | VALVE | TB(CPRSR)WSH WI SOL(MTR) VLV-OFF-LN | 1 |  | 1205.4 | 1205.4
164 | G20TW3 | VALVE | TRB(CPRSR)WSH WI SOL(MTR)VLV-ON-LNE | 1 |  | 1205.4 | 1205.4
165 | G23QT-1 | HEATER | IMMERSION HEATER LUBE OIL TANK | 1 |  | 584.85 | 584.85
166 | G23QT-2 | HEATER | IMMERSION HEATER LUBE OIL TANK | 1 |  | 584.85 | 584.85
167 | G26BT-1 | SWITCH | SWITCH, TURB COMPT TEMP | 1 |  | 484 | 484
168 | G26BT-2 | SWITCH | SWITCH, TURB COMPT TEMP | 1 |  | 484 | 484
169 | G26HA-3 | THERMOSTAT | ACCESSORY COMPARTMENT THERMOSTAT | 1 |  | 291 | 291
170 | G26QA-1 | SWITCH | LUBE OIL HEADER HIGH TEMP ALARM | 1 |  | 335 | 335
171 | G26QL-1 | SW-TEMP | LUBE OIL TANK TEMP , HEATERS ON/OFF | 1 |  | 21.42 | 21.42
172 | G26QL-1 | SW-TEMP | LUBE OIL TANK TEMP , HEATERS ON/OFF | 1 |  | 335 | 335
173 | G26QN-1 | SW-TEMP | LUBE OIL TANK TEMPERATURE NORMAL | 1 |  | 21.42 | 21.42
174 | G26QN-1 | SW-TEMP | LUBE OIL TANK TEMPERATURE NORMAL | 1 |  | 335 | 335
175 | G26QT-1A | SWITCH | LUBE OIL HEADER HIGH TEMP TRIP | 1 |  | 339 | 339
176 | G26QT-1B | SWITCH | LUBE OIL HEADER HIGH TEMP TRIP | 1 |  | 339 | 339
177 | G26VG-1 | THERMOSTAT | THRMST,LOAD COMPT HIGH TEMP-ALARM | 1 |  | 484 | 484
178 | G26VG-2 | THERMOSTAT | THRMST,LOAD CPLG COMPT VENTILATING | 1 |  | 484 | 484
179 | G33FL1 | SWITCH | LIQUID FUEL STOP VALVE LIMIT SWITCH | 1 |  | 319.39 | 319.39
180 | G33FL2 | SWITCH | LIQUID FUEL STOP VALVE LIMIT SWITCH | 1 |  | 319.39 | 319.39
181 | G39V-1A | SENSOR | SENSOR ARR, VBRTN, SENSOR | 1 |  | 1287.72 | 1287.72
182 | G39V-1B | SENSOR | SENSOR ARR, VBRTN, SENSOR | 1 |  | 1287.72 | 1287.72
183 | G39V-2A | SENSOR | VIBRATION SENSOR TURBINE | 1 |  | 1287.72 | 1287.72
184 | G39V-3A | SENSOR | SENSOR ARR, VBRTN, SENSOR | 1 |  | 1287.72 | 1287.72
185 | G39V-3B | SENSOR | SENSOR ARR, VBRTN, SENSOR | 1 |  | 1287.72 | 1287.72
186 | G39VS-11 | PROBE | VIBRATION SENSOR (NON-CONTACTING) | 1 |  | 660.45 | 660.45
187 | G39VS-21 | PROBE | VIBRATION SENSOR (NON-CONTACTING) | 1 |  | 243.6 | 243.6
188 | G39VS-22 | PROBE | VIBRATION SENSOR (NON-CONTACTING) | 1 |  | 243.6 | 243.6
189 | G39VS-23 | PROBE | VIBRATION SENSOR (NON-CONTACTING) | 1 |  | 267.75 | 267.75
190 | G39VS-24 | PROBE | VIBRATION SENSOR (NON-CONTACTING) | 1 |  | 267.75 | 267.75
191 | G39VS-31 | PROBE | VIBRATION SENSOR (NON-CONTACTING) | 1 |  | 272.9 | 272.9
192 | G39VS-32 | PROBE | VIBRATION SENSOR (NON-CONTACTING) | 1 |  | 272.9 | 272.9
193 | G43HR-1 | SWITCH | HYDRAULIC RATCHET CONTROL SWITCH | 1 |  | 214.2 | 214.2
194 | G45FLC-20A | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 1 |  | 393.75 | 393.75
195 | G45FLC-20B | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 1 |  | 393.75 | 393.75
196 | G45FLC-21A | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 1 |  | 376 | 376
197 | G45FLC-21B | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 1 |  | 376 | 376
198 | G45FT-1A | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 1 |  | 376 | 376
199 | G45FT-1B | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 1 |  | 376 | 376
200 | G45FT-2A | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 1 |  | 376 | 376
201 | G45FT-2B | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 1 |  | 376 | 376
202 | G45FT-3A | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 1 |  | 376 | 376
203 | G45FT-3B | DETECTOR | FIRE DETECTOR-TURBINE COMPARTMENT | 1 |  | 376 | 376
204 | G63EA-1 | SW-PRESS | EXHAUST DUCT PRESSURE HIGH SWITCH | 1 |  | 299.25 | 299.25
205 | G63ET-1 | SW-PRESS | EXHAUST DUCT PRESSURE HIGH HIGH | 1 |  | 299.25 | 299.25
206 | G63ET-2 | SW-PRESS | EXHAUST DUCT PRESSURE HIGH HIGH | 1 |  | 299.25 | 299.25
207 | G63HF-1 | SWITCH | HYD FLTR DFFRNTL PRSSR ALARM | 1 |  | 501.11 | 501.11
208 | G63HQ-1 | SWITCH | LO HYD SPPL PRSSP-AUX HYD PMP STRT | 1 |  | 283 | 283
209 | G63QA-1 | SWITCH | LOW LUBE OIL PRESS-AUX PUMP START | 1 |  | 260 | 260
210 | G63QQ-1 | SWITCH | MN LUB OIL FLTR DFFRNTL PRESS-ALARM | 1 |  | 416 | 416
211 | G65GC-1 | VLV-SERVO | GAS CNTRL VLV SRVO VLV | 1 |  | 2537.81 | 2537.81
212 | G65GS-1 | VLV-SERVO | GAS FUEL SPLITTER VALVE SERVO VALVE | 1 |  | 2467.25 | 2467.25
213 | G77RP11 | INDICATOR | KEYPHASOR BRG #1 (INDICATOR) | 1 |  | 272.9 | 272.9
214 | G90SR-1 | VLV-SERVO | STOP/SPEED (PRESS) RATIO SERVO VLV | 1 |  | 2537.81 | 2537.81
215 | G96AP-1A | TRANSMITTER | BAROMETRIC PRESSURE TRANSMITTER | 1 |  | 1383.9 | 1383.9
216 | G96AP-1B | TRANSMITTER | BAROMETRIC PRESSURE TRANSMITTER | 1 |  | 1383.9 | 1383.9
217 | G96AP-1C | TRANSMITTER | BAROMETRIC PRESSURE TRANSMITTER | 1 |  | 1383.9 | 1383.9
218 | G96BD-1 | TRANSMITTER | TRB CMPR INLT BLMTH DIFF PR TRNSMTR | 1 |  | 2696.57 | 2696.57
219 | G96CS-1 | TRANSMITTER | INLET AIR TOTAL PRSSR TRNSMTTR | 1 |  | 2469 | 2469
220 | G96EP-1 | TRANSMITTER | EXHAUST PRESSURE TRANSMITTER | 1 |  | 2400.3 | 2400.3
221 | G96FF-1 | TRANSMITTER | FUEL GAS FLOW ORIFICE DIFF PRESSURE | 1 |  | 2696.57 | 2696.57
222 | G96FF-2 | TRANSMITTER | FUEL GAS FLOW ORIFICE DIFF PRESSURE | 1 |  | 2696.57 | 2696.57
223 | G96FG-1 | TRANSMITTER | FUEL GAS FLW ORFC UPSTRM PRS XMTR | 1 |  | 1549.97 | 1549.97
224 | G96GC-5 | TRANSDUCER | GAS CONTROL VALVE LVDT | 1 |  | 1507.63 | 1507.63
225 | G96GC-6 | TRANSDUCER | GAS CONTROL VALVE LVDT | 1 |  | 1507.63 | 1507.63
226 | G96GS-1 | TRANSDUCER | GAS FUEL SPLITTER VALVE LVDT | 1 |  | 2927.06 | 2927.06
227 | G96GS-2 | TRANSDUCER | GAS FUEL SPLITTER VALVE LVDT | 1 |  | 2927.06 | 2927.06
228 | G96SR-1 | TRANSDUCER | STOP/SPEED RATIO VALVE LVDT | 1 |  | 1771.35 | 1771.35
229 | G96SR-2 | TRANSDUCER | STOP/SPEED RATIO VALVE LVDT | 1 |  | 1771.35 | 1771.35
230 | G96TV-1 | TRANSDUCER | TURB INLET GUIDE VANE LVDT | 1 |  | 1515.86 | 1515.86
231 | G96TV-2 | TRANSDUCER | TURB INLET GUIDE VANE LVDT | 1 |  | 1515.86 | 1515.86
232 | G96VC11 | TRANSMITTER | SHAFT AXIAL POS TRANSMITTER, BRNG 1 | 1 |  | 660.45 | 660.45
233 | G96VC12 | TRANSMITTER | SHAFT AXIAL POS TRANSMITTER, BRNG 1 | 1 |  | 660.45 | 660.45
234 | GA1220A | GASKET | SENSOR ARR,HUMDTY, GSKT, SENSOR ASM | 1 |  | 63.79 | 63.79
235 | GA1220G | WASHER-LCK | SENSOR ARR,HUMDTY,WSHR,SENSOR ASM | 8 |  | 2.84 | 22.72
236 | GA12504 | VLV-BALL | PP ARR,LO FLSH-FLD,VLV,#2 BRG DRAIN | 6 |  | 491.45 | 2948.7
237 | GA12509 | VLV-BALL | PP ARR,LO FLSH-FLD,VLV,#3 BRG DRAIN | 1 |  | 330.86 | 330.86
238 | GA1251E | VLV-BALL | PP ARR, LO FLSH-FLD, BALL VALVE | 1 |  | 179.92 | 179.92
239 | GA1251J | STRAINER | PP ARR, LO FLSH-FLD, STRAINER | 1 |  | 70.56 | 70.56
240 | GA1251JR | STRAINER | PP ARR, LO FLSH-FLD, STRAINER, REPL | 1 |  | 73.08 | 73.08
241 | GA1251K | STRAINER | PP ARR, LO FLSH-FLD, STRAINER | 1 |  | 44.3 | 44.3
242 | GA1251KR | STRAINER | PP ARR, LO FLSH-FLD, STRAINER, REPL | 2 |  | 23.68 | 47.36
243 | GA1251L | STRAINER | PP ARR, LO FLSH-FLD, STRAINER | 2 |  | 64.05 | 128.1
244 | GBTJ11A&B | TCPL | TCPL BRG METAL TEMP | 1 |  | 158.55 | 158.55
245 | GBTJ12A&B | TCPL | TCPL BRG METAL TEMP | 1 |  | 158.55 | 158.55
246 | GBTJ21A&B | TCPL | TCPL BRG METAL TEMP A, BRNG 2 | 1 |  | 158.55 | 158.55
247 | GBTJ22A&B | TCPL | TCPL BRG METAL TEMP A, BRNG 2 | 1 |  | 158.55 | 158.55
248 | GBTJ31A&B | TCPL | BEARING METAL TEMP | 1 |  | 158.55 | 158.55
249 | GBTJ32A&B | TCPL | BEARING METAL TEMP | 1 |  | 158.55 | 158.55
250 | GBTTA11A&B | TCPL | TCPL BRG METAL TEMP - THRUST ACTIVE | 1 |  | 158.55 | 158.55
251 | GBTTA12A&B | TCPL | TCPL BRG METAL TEMP - THRUST ACTIVE | 1 |  | 158.55 | 158.55
252 | GBTTI11A&B | TCPL | TCPL BRG METAL TMP - THRUST INACTVE | 1 |  | 158.55 | 158.55
253 | GBTTI12A&B | TCPL | TCPL BRG METAL TMP - THRUST INACTVE | 1 |  | 158.55 | 158.55
254 | GCT-DA-1 | TCPL | TCPL, COMPRESSOR DISCHARGE TEMP 1 | 1 |  | 773.85 | 773.85
255 | GCT-DA-2 | TCPL | TCPL, COMPRESSOR DISCHARGE TEMP 2 | 1 |  | 773.85 | 773.85
256 | GCT-DA-3 | TCPL | TCPL, COMPRESSOR DISCHARGE TEMP 3 | 1 |  | 773.85 | 773.85
257 | GCTIF1A&B | TCPL | COMP. INLET THERMOCOUPLE | 1 |  | 276.52 | 276.52
258 | GCTIF2A&B | TCPL | COMP. INLET THERMOCOUPLE | 1 |  | 276.52 | 276.52
259 | GCT-IF-3/R | RTD | COMP. INLET DETECTOR | 1 |  | 224.6 | 224.6
260 | GFH14-1 | FILTER | HYDRAULIC SUPPLY FILTER-SPLITTR VLV | 1 |  | 878.85 | 878.85
261 | GFH6-1 | FILTER | IGV SERVO HYDRAULIC SUPPLY FILTER | 1 |  | 878.85 | 878.85
262 | GFH7-1 | FILTER | FUEL GAS SRVO HYD OIL SUPPLY FILTER | 1 |  | 878.85 | 878.85
263 | GFH8-1 | FILTER | GAS FUEL SERVO HYDRLC SUPPLY FILTER | 1 |  | 878.85 | 878.85
264 | GFT-GI-1 | TCPL | FUEL GAS TEMP SENSOR | 1 |  | 309.12 | 309.12
265 | GLTB1D1A&B | TCPL | LO THERMOCOUPLE NO 1 BRNG DRAIN | 1 |  | 322.4 | 322.4
266 | GLTB2D1A&B | TCPL | LO THERMOCOUPLE NO2 BRNG DRAIN | 1 |  | 322.4 | 322.4
267 | GLTB3D1A&B | TCPL | LO THERMOCOUPLE NO3 BRNG DRAIN | 1 |  | 322.4 | 322.4
268 | GLTTH1A&B | TCPL | LO THERMOCOUPLE TURBINE HEADER | 1 |  | 316.37 | 316.37
269 | GTT-IB-1 | TCPL | TCPL,TURB TEMP INNER BARREL | 1 |  | 356.21 | 356.21
270 | GTT-IB-2 | TCPL | TCPL,TURB TEMP INNER BARREL | 1 |  | 356.21 | 356.21
271 | GTT-IB-3 | TCPL | TCPL,TURB TEMP INNER BARREL | 3 |  | 356.21 | 1068.63
272 | GTT-WS1AO-1 | TCPL | TCPL, WHLSPC -STG 1 AFT OUTER -1 | 1 |  | 732.9 | 732.9
273 | GTT-WS1AO-2 | TCPL | TCPL, WHLSPC -STG 1 AFT OUTER -2 | 1 |  | 732.9 | 732.9
274 | GTT-WS1FI-1 | TCPL | TURB TEMP, WLSPC STG-1 FWD INR -1 | 1 |  | 732.9 | 732.9
275 | GTT-WS1FI-2 | TCPL | TURB TEMP, WLSPC STG-1 FWD INR -2 | 1 |  | 732.9 | 732.9
276 | GTT-WS2AO-1 | TCPL | TCPL, WHLSPC -STG 2 AFT OUTER -1 | 1 |  | 732.9 | 732.9
277 | GTT-WS2AO-2 | TCPL | TCPL, WHLSPC -STG 2 AFT OUTER -2 | 1 |  | 732.9 | 732.9
278 | GTT-WS2FO-1 | TCPL | TCPL, WHLSPC -STG 2 FWD OUTER -1 | 1 |  | 732.9 | 732.9
279 | GTT-WS2FO-2 | TCPL | TCPL, WHLSPC -STG 2 FWD OUTER -2 | 1 |  | 732.9 | 732.9
280 | GTT-WS3AO-1 | TCPL | TCPL, WHLSPC -STG 3 AFT OUTER -1 | 1 |  | 380.36 | 380.36
281 | GTT-WS3AO-2 | TCPL | TCPL, WHLSPC -STG 3 AFT OUTER -2 | 1 |  | 380.36 | 380.36
282 | GTT-WS3FO-1 | TCPL | TCPL, WHLSPC -STG 3 FWD OUTER -1 | 1 |  | 732.9 | 732.9
283 | GTT-WS3FO-2 | TCPL | TCPL, WHLSPC -STG 3 FWD OUTER -2 | 1 |  | 732.9 | 732.9
284 | GVAB1-1 | VLV-BLEED | HYDRAULC SYSTEM AIR BLEED VLV(MAIN) | 1 |  | 298.25 | 298.25
285 | GVAB2-1 | VLV-BLEED | HYDRAULC SYSTEM AIR BLEED VLV (AUX) | 1 |  | 298.25 | 298.25
286 | GVCK3-1 | VLV-CHECK | HYDRAULIC PUMP CHECK VALVE | 1 |  | 312.74 | 312.74
287 | GVCK3-2 | VLV-CHECK | HYDRAULIC PUMP CHECK VALVE | 1 |  | 312.74 | 312.74
288 | GVH5-1 | VALVE | STOP/SPEED RATIO VALVE, DUMP VALVE | 1 |  | 4113.65 | 4113.65
289 | GVR21-1 | VLV-RELIEF | MAIN HYD SPPLY PMP PRESS RELIEF VLV | 1 |  | 1252.44 | 1252.44
290 | GVR22-1 | VLV-RELIEF | AUX HYD SPPLY PMP PRESS RELIEF VLV | 1 |  | 1252.44 | 1252.44

## MSD 7EA
List Total:
291506
MSD Spares (Estimated)
LINE | CAT
ITEM | LOC | PART NAME | PART DESCRIPTION | LINE PRICE
1 | 0507 | SPARE PARTS FOR | (0991)-VALVE,STOP-FUEL GAS | 18780
2 | 0509 | SPARE PARTS FOR | VALVE ASSY,CONTROL-FUEL GAS | 37643
4 | 0511 | SPARE PARTS FOR | VALVE,STOP-FUEL OIL | 4366
5 | 0516 | SPARE PARTS FOR | VALVE ASSY,BYPASS-FUEL OIL | 4934
6 | 0557 | SPARE PARTS FOR | PRESSURE TRANSDUCER ARR,UNIT | 6000
7 | 0559 | SPARE PARTS FOR | SENSOR ARR,INLET/EXHAUST | 14811
9 | 0573 | SPARE PARTS FOR | SERVO ARRANGEMENT,PREMIX STOP | 2820
10 | 0639 | SPARE PARTS FOR | FUEL GAS FLOW MEASUREMENT SYS | 8884
11 | 0929 | SPARE PARTS FOR | STRAINER ASSY,FUEL GAS | 4366
13 | 1005 | SPARE PARTS FOR | PUMP,LUBE OIL-MAIN | 14170
14 | 1006 | SPARE PARTS FOR | PUMP,LUBE OIL-AUXILIARY | 4527
15 | 1007 | SPARE PARTS FOR | PUMP,LUBE OIL-EMERGENCY | 6173
17 | 1059 | SPARE PARTS FOR | PUMP,DC,EMERGENCY-SEALING OIL | 5749
18 | 1207 | SPARE PARTS FOR | BATTERY&ACCESSORIES | 3497
20 | 557T | SPARE PARTS FOR | PRESSURE TRANSDUCER ARR,TURB | 9042
34 | A130 | SPARE PARTS FOR | AIR PROCESSING UNIT | 14152
36 | A138 | SPARE PARTS FOR | MONITOR,VIBRATION,REMOTE | 47919
37 | A139 | SPARE PARTS FOR | MONITOR,HAZARDOUS GAS,ALARM | 15034
38 | A141 | SPARE PARTS FOR | TRANSFORMER,ISOLATION,STAT STR | 16660
45 | G002 | SPARE PARTS FOR | INLET GAS SCRUBBER | 33637
46 | G007 | SPARE PARTS FOR | FILTER SEPARATOR,FUEL GAS | 18342

## Mark V 7EA
[6 empty] | List Total: | Credit Total
[6 empty] | 127263.62 | 0 | #REF!
MARK V TMR Spares
LINE | CATALOG
ITEM | NUMBER | PART NAME | PART DESCRIPTION | QTY | UM | LINE PRICE |  | HIGH
____________
1 |  |  | TERMINATOR (93 OHMS) | 1 |  | 29
2 |  |  | 2AG FUSE 1.5A,250V | 10 |  | 30
3 |  |  | RES 50 5% 40W WW | 1 |  | 33
4 |  |  | DIODE MOD,1200V-45A,SKKD46/12 | 1 |  | 50
5 |  |  | KEYPAD | 1 |  | 81.9
6 |  |  | SHUNT | 1 |  | 8
7 |  |  | GROUND STRAP 7 INCH | 1 |  | 12
8 |  |  | ARCNET CONTRL BD | 1 |  | 653.2
9 |  |  | PRINTER RIBBON/CARTRIDGE | 1 |  | 113.7
10 |  |  | RESISTOR | 1 |  | 15.95
11 |  |  | RESISTOR | 1 |  | 59
12 |  |  | FUSE (5 A) | 10 |  | 40
13 |  |  | FUSE (7 A) | 10 |  | 40
14 |  |  | FUSE (1.5A) | 10 |  | 40
15 |  |  | FUSE (10A) | 10 |  | 40
16 |  |  | FUSE (15A) | 10 |  | 40
17 |  |  | FUSE 5 A | 10 |  | 60
18 |  |  | FUSE 8 A | 10 |  | 60
19 |  |  | FUSE 3.2A/250V, SLO-BLOW | 10 |  | 30
20 |  |  | COMP ENET ADAPTER | 1 |  | 746
21 |  |  | CAP-METALLIZED-MYLAR | 1 |  | 29
22 |  |  | RELAY, DPDT, SEALED, NO LAMP | 1 |  | 12
23 |  |  | 30A FILTER | 1 |  | 245
24 |  |  | TERM. BD (C) | 1 |  | 4486.15
25 |  |  | TERM. DIGITAL CONT. IN | 1 |  | 4486.15
26 |  |  | TERM. BD DIGITAL CONT. IN | 1 |  | 4486.15
27 |  |  | TERM. BD RLY/SOLENOID | 1 |  | 4486.15
28 |  |  | TERM. BD RLY SOLENOID | 1 |  | 3901
29 |  |  | TERMINATION BD.<P> MODULE | 1 |  | 4300.85
30 |  |  | TERM. BOARD (R-S-T) | 1 |  | 4486.15
31 |  |  | DRIVE CONTROL CARD | 1 |  | 5673
32 |  |  | LAN COMM CARD | 1 |  | 7652.1
33 |  |  | TERM. BD (C) ANALOG I/O | 1 |  | 4486.15
34 |  |  | TERM.BD (C)R-S-T TC I/O | 1 |  | 4486.15
35 |  |  | TERM BD(R-S-T) ANALOG I/O | 1 |  | 4486.15
36 |  |  | TC2000 COMMON ANALOG I/O | 1 |  | 5192.25
37 |  |  | DIG. I/O BD. CONF. COAT | 1 |  | 5005
38 |  |  | EMERGENCY OVER SPEED BOARD | 1 |  | 7409.45
39 |  |  | COMM. CIRCUITS FOR THE EOS BD. | 1 |  | 7955.82
40 |  |  | POWER DISTRIBUTION MODULE | 1 |  | 5768.4
41 |  |  | DC INPUT PWR SUPPLY BOARD | 1 |  | 7409.45
42 |  |  | (RST) ANALOG I/O BOARD | 1 |  | 7409.45
43 |  |  | (RST) OVERFLOW BOARD | 1 |  | 7409.45
44 |  |  | RELAY OUTPUT BOARD | 1 |  | 6338.65
45 |  |  | GT TMR/SIMPLEX TRIP BD | 1 |  | 6891.8
46 |  |  | MOV | 2 |  | 6
47 |  |  | SILCONE FLAME DETECTOR | 1 |  | 551
48 |  |  | CONTACT BLOCK | 1 |  | 33

## InitiCapital Spares 7EA
[5 empty] | List Total: |  |  |  |  | List Total: | Credit Total
[5 empty] | 7760351.9 |  |  |  |  | 7760351.9 | 0
GT Capital Spares
LINE | CATALOG | [5 empty] | SIMILAR-TO | UNIT
ITEM | NUMBER | PART NAME | PART DESCRIPTION | QTY | SYS PRICE | UM | DWG NUMBER | PRICE | Price | LINE PRICE
____________
1 | G0705L1 | KIT | CASE ARR, TURB, SHROUD KIT - STG1 | 1 | 182902 |  | 339A9964G002 | 182902 |  | 182902
2 | G0705LA | KIT | CASE ARR, TURB, SHROUD KIT - STG2 | 1 | 137414 |  | 339A9965G005 | 137414 |  | 137414
3 | G0705LG | KIT | CASE ARR, TURB, SHROUD KIT - STG3 | 1 | 74762 |  | 339A9966G005 | 74762 |  | 74762
4 | G13014X | KIT | CMPRSR STATR, VANE ARR, KIT -BLADES | 1 | 892751 |  | 106L1708G002 | 892751 |  | 892751
5 | G13014Z | KIT | CMPRSR STATR, VANE SET, IGV, KIT | 1 | 207783 |  | 317A9589G004 | 207783 |  | 207783
6 | G13032S | KIT | CMPRSR RTR, BLADE KIT | 1 | 811394 |  | 106L1709G001 | 811394 |  | 811394
7 | G13052J | KIT | ROTOR, TRBN, BUCKET KIT - 1ST STG | 1 | 910540 |  | 314B7165G020 | 910540 |  | 910540
8 | G13052M | KIT | ROTOR, TRBN, BUCKET KIT - 2ND STG | 1 | 901965 |  | 314B7166G023 | 901965 |  | 901965
9 | G13052P | KIT | ROTOR, TRBN, BUCKET KIT - 3RD STG | 1 | 791255 |  | 314B7167G019 | 791255 |  | 791255
10 | G140100 | NOZZLE-ASM | NOZZLE 1ST STG, ASSEMBLY | 1 | 899488 |  | 109E3735G018 | 899488 |  | 899488
11 | G140200 | NOZZLE-ASM | NOZZ 2ND STG, ASSEMBLY | 1 | 926971 |  | 116E1417G001 | 926971 |  | 926971
12 | G140300 | RING-ASM | SPPRT RNG, 1ST-STG ASSEMBLY | 1 | 36558.9 |  | 227C5682G005 | 36558.9 |  | 36558.9
13 | G140900 | NOZZLE-ASM | NOZZLE 3RD STG, ASSEMBLY | 1 | 986568 |  | 112E6649G001 | 986568 |  | 986568

## SUMMARY
2x7EA Spares
GT OPS | 481439.91
MSD Spares | 291506
Mark V Spares | 127263.62
Ci Consumables | 47291.63
HGP Consumables | 11996
Initial Capital Spares | 7760351.9
8719849.06