DESCRIPTION OF LM2500 GAS TURBINE GENERATOR EQUIPMENT

Gas Turbine

General Electric LM2500 PE

Gas Generator Serial Number: 691-098

Power Turbine Serial Number: 4013080-586P03  07482

Generator

GEC Turbine Generators Limited

26375 KVA 12470 VAC 1121 Amps

Serial Number: S3435/01/2201

Gas Turbine Package and Inlet Filter House

Turbine Generator Controls & Relay Protection

Water Injection Skid

Gas Turbine and Generator Lube Storage Systems with Fin Fan Cooler

Turbine Water Wash System

Hydraulic Starter Skid

Motor Control Center for Turbine and Generator Auxiliaries