| 4 | 1 EACH | 1-62500 KVA, 3000A, 12000V, 60HZ Electric Generator with Brushless Excitation EM Serial Number 173228201 |
| --- | --- | --- |
|  |  | NOTES: - Release is for one (1) EM Generator only. - This generator is released upon instructions from PDVSA as acceptable with all existing conditions stated in BIE Inspection Report 4519C.02 dated 18 January 2010, and Leppert-Nutmeg Inspection Report dated February 9, 2009. |