## Sheet1
Scope | Location | Cost (est) | Notes
Liquid fuel Stop Valve | Accessory compartment | 75000
Duplex Fuel Filters w/ trans. Valve | Accessory compartment | 20000
By Pass / Control Valve | Accessory compartment | 80000
Main Fuel Pump | Accessory compartment | 65000
Main pump clutch | Accessory compartment | 25000
Flow divider & isolation valve Assembly | Accessory compartment | 60000
Selector valve | Accessory compartment | 7500
Tubing, fittings, & check valves | Acessory and Turbine Compt | 60000
Duel Fuel nozzles | Turbine Compartment | 550000 | Primary & Secondary
Additional Flame detectors | Turbine Compartment | 30000
Atomizing air booster compressor | Accessory compartment | 30000
Atomizing air main compressor | Accessory compartment | 80000
Atomzing air piping and valves | Accessory and Turbine Compt | 120000
Atomzing air heat exchanger | Turbine or off base | 25000
Atomizing air temp control valve | Off base | 15000
Hot gas separator | Turbine | 15000
Purge and drain system - piping & valves | Turbine Compartment | 120000
Solenoid valves - trip system | Accessory compartment | 20000
Fuel Forwarding pump skid | Off base | 85000
Fuel Metering | Off base | 45000
Water Injection Skid | Off base | 160000 | variable speed pump / vlvs
Water injection tubing / check valves |  | 40000
Controls Software and Hardware |  | 200000
Instrumentation |  | 60000
Cable, Conduit, fittings, & JB's |  | 40000
Engineering & TA's | n/a | 150000 | Field TA's (Mech & controls)
Labor to install |  | 288000 | 80 manweeks (60 hrs / week)
Consumables |  | 25000
Packing and Shipping |  | 30000
Drawings and documentation |  | 35000
| Total Cost | 2555500
| Margin | 1149975 | 45%
| Project Price Per Unit | 3705475
Notes:
1) Does not include import taxes / duties, storage, and in country transportation
2) Does not include commissioning and start-up on fuel systems
3) Does not include foundations for off-base skids (water injection & liquid fuel forwarding)
4) Does not include increased capacity requirements on existing cooling water system to cool atomizing and purge air
5) Assumption: spare motor starters / buckets are available in exisiting MCC
6) Assume there is spare control cards in GE Mark V or VI for device inputs and outputs.