## TAFT RE-INVENTORY PACKING LIST
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
1 | Compressor | PES-001 |  |  | Generator SN2553435/01/580K | 1 | 197 | 96 | 120 | 1313.3333 | 5.0038 | 2.4384 | 3.048 | 10.4902 | 77850 | 35312.1613 | 35.305
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
2 |  | PES-180 | Crate |  | Liquid Fuel Booster Pump Skid | 1 | 116 | 75 | 57 | 286.9792 | 2.9464 | 1.905 | 1.4478 | 6.2992 | 4760 | 2159.0994 | 2.1587
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
3 |  | PES-181 | Crate | NEW | Liquid Fuel Filter | 1 | 63 | 33 | 50 | 60.1562 | 1.6002 | 0.8382 | 1.27 | 3.7084 | 1080 | 489.8797 | 0.48978
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
4 |  | PES-182 | Crate |  | Water Injection Pump Skid | 1 | 176 | 90 | 60 | 550 | 4.4704 | 2.286 | 1.524 | 8.2804 | 13300 | 6032.7777 | 6.0316
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
5 |  | PES-183 | Crate |  | Turbine Vent Fan #1 | 1 | 105 | 65 | 102 | 402.8646 | 2.667 | 1.651 | 2.5908 | 6.9088 | 6000 | 2721.5539 | 2.721
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
6 |  | PES-148 |  |  | Turbine Vent Fan #2 | 1 | 105 | 65 | 102 | 402.8646 | 2.667 | 1.651 | 2.5908 | 6.9088 | 6000 | 2721.5539 | 2.721
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
7 |  | PES-097 |  |  | Generator Right Side End Wall | 1 | 242 | 135 | 37 | 699.5312 | 6.1468 | 3.429 | 0.9398 | 10.5156 | 14500 | 6577.0885 | 6.5758
7 |  | PES-099 |  |  | Generator Wall End, Left Side | 1
7 |  | PES-104 |  |  | Generator Wall, Left, Front | 1
7 |  | PES-118 |  |  | Generator Enclosure Right Wall | 1
7 |  | PES-119 |  |  | Generator Enclosure Left Wall | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
8 |  | PES-013 |  |  | Rain Cap and Transition |  | 75 | 75 | 56 | 182.2917 | 1.905 | 1.905 | 1.4224 | 5.2324 | 800 | 362.8738 | 0.3628 |  | 0.00016453
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
9 |  | PES-012 |  |  | Rain Cap and Transition |  | 75 | 75 | 56 | 182.2917 | 1.905 | 1.905 | 1.4224 | 5.2324 | 800 | 362.8738 | 0.3628 |  | 0.00016453
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
10 |  | PES-068 |  |  | Turbine Filter House Duct Right Top Side |  | 103 | 86 | 91 | 466.4803 | 2.6162 | 2.1844 | 2.3114 | 7.112 | 1600 | 725.7477 | 0.7256 |  | 0.00032906
10 |  | PES-069 |  |  | Turbine Filter House Duct Left Top Side | [13 empty] | 0
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
11 |  | PES-035 |  |  | Hydraulic Start Skid |  | 99 | 66 | 76 | 466.4803 | 2.6162 | 2.1844 | 2.3114 | 7.112 | 5500 | 2494.7577 | 2.4943 |  | 0.00032906 | 0 | 0
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
12 | ROEU-497543-8 | PES-014 |  |  | Filter House Beam | 1 | 480 | 96 | 102 | 2720 | 0 | 0 | 0 | 0 | 46000 | 20865.2462 | 20.861
12 | ROEU-497543-8 | PES-015 |  |  | Turbine Filter House Support Brace (B-15) | 1
12 | ROEU-497543-8 | PES-039 |  |  | Filter House Ladder | 1
12 | ROEU-497543-8 | PES-042 |  |  | Turbine Filter House Catwalk - Right Side | 1
12 | ROEU-497543-8 | PES-043 |  |  | Turbine Filter House Catwalk - Support C-1 | 1
12 | ROEU-497543-8 | PES-044 |  |  | Turbine Filter House Catwalk - Support C-2 | 1
12 | ROEU-497543-8 | PES-045 |  |  | Turbine Filter House Catwalk - Support | 1
12 | ROEU-497543-8 | PES-046 |  |  | Front Filter House Support - (B-12) | 1
12 | ROEU-497543-8 | PES-047 |  |  | Filter House Catwalk Support | 1
12 | ROEU-497543-8 | PES-048 |  |  | Filter House Catwalk Support (C-6) | 1
12 | ROEU-497543-8 | PES-049 |  |  | Turbine Filter House Support | 1
12 | ROEU-497543-8 | PES-050 |  |  | Turbine Filter House Support | 1
12 | ROEU-497543-8 | PES-051 |  |  | Turbine Filter House Cross Brace Left Side | 1
12 | ROEU-497543-8 | PES-052 |  |  | Turbine Filter House Catwalk Left side | 1
12 | ROEU-497543-8 | PES-053 |  |  | Turbine Filter House Top Support Beam Front (B-11) | 1
12 | ROEU-497543-8 | PES-054 |  |  | Turbine Filter House Left Side Support Beam | 1
12 | ROEU-497543-8 | PES-055 |  |  | Turbine Filter House Cross Beam Right Side | 1
12 | ROEU-497543-8 | PES-056 |  |  | Turbine Filter House Support Leg L-1 | 1
12 | ROEU-497543-8 | PES-057 |  |  | Turbine Filter House Support Leg Left | 1
12 | ROEU-497543-8 | PES-058 |  |  | Turbine Filter House Support Braces | 15
12 | ROEU-497543-8 | PES-060 |  |  | Turbine Filter House Top Rear Support Beam (B-11) | 1
12 | ROEU-497543-8 | PES-061 |  |  | Turbine Filter House Right Side Support Beam Bottom | 1
12 | ROEU-497543-8 | PES-062 |  |  | Turbine Filter House Support Leg (S-1) | 1
12 | ROEU-497543-8 | PES-071 |  |  | Turbine Filter House Support leg (S-4) | 1
12 | ROEU-497543-8 | PES-072 |  |  | Turbine Filter House Support Leg (S-2) | 1
12 | ROEU-497543-8 | PES-073 |  |  | Turbine Filter House Support Rear Beam (Bottom) | 1
12 | ROEU-497543-8 | PES-079 |  |  | Turbine Room Filter House Leg Left (S-3) | 1
12 | ROEU-497543-8 | PES-082 |  |  | Turbine Room Filter House Support Leg Right -3 | 1
12 | ROEU-497543-8 | PES-084 |  |  | Turbine Room Filter House Support Leg Right -4 | 1
12 | ROEU-497543-8 | PES-085 |  |  | Turbine Room Filter House Support Leg Left -3 | 1
12 | ROEU-497543-8 | PES-110 |  |  | Generator Roof Platform Left Side | 1
12 | ROEU-497543-8 | PES-111 |  |  | Generator Filter House Ladder | 1
12 | ROEU-497543-8 | PES-133 |  |  | Turbine Filter House Support Beam | 1
12 | ROEU-497543-8 | PES-139 |  |  | Turbine Filter House Support Beam | 1
12 | ROEU-497543-8 | PES-177 |  |  | Beam, turbine removal (same skid as accessory piping) | 1
12 | ROEU-497543-8 | PES-191 |  |  | Turbine Filter House Catwalk Right Side | 1
12 | ROEU-497543-8 | PES-192 |  |  | Turbine Filter House Catwalk Right Side | 1
12 | ROEU-497543-8 | PES-193 |  |  | Turbine Filter House Catwalk Support (C-3X) | 1
12 | ROEU-497543-8 | PES-194 |  |  | Intake Filter House Support Structure (B-13) | 1
12 | ROEU-497543-8 | PES-195 |  |  | Intake Filter House Support Structure (B-13A) | 1
12 | ROEU-497543-8 | PES-196 |  |  | Turbine Filter House Catwalk Handrails | 6
12 | ROEU-497543-8 | PES-197 |  |  | Turbine Filter House Catwalk Handrail | 1
12 | ROEU-497543-8 | PES-198 |  |  | Turbine Filter House Catwalk Handrail | 1
12 | ROEU-497543-8 | PES-200 |  |  | Filter House Cross Brace | 1
12 | ROEU-497543-8 | PES-201 |  |  | Filter House Support Beam | 1
12 | ROEU-497543-8 | PES-202 |  |  | Filter House Support Beam | 1
12 | ROEU-497543-8 | PES-203 |  |  | Filter House Support Beam | 1
12 | ROEU-497543-8 | PES-204 |  |  | Generator Support Beam | 1
12 | ROEU-497543-8 | PES-205 |  |  | Filter House Support Beam | 1
12 | ROEU-497543-8 | PES-206 |  |  | Generator Support Beam | 1
12 | ROEU-497543-8 | PES-207 |  |  | Generator Support Beam | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
13 | INSIDE CONTAINER ROEU 497543-8 | PES-107 |  |  | Loose Items, Miscellaneous Galvinzed Bracing |  | 63 | 33 | 52 | 62.5625 | 1.6002 | 0.8382 | 1.3208 | 3.7592 | na | na | na
13 | INSIDE CONTAINER ROEU 497543-8 | PES-199 |  |  | Stairs, Bundle
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
14 |  | PES-256 |  |  | Control Room - PEEC Building | 1 | 480 | 96 | 114 | 3040 |  | 2.4384 | 2.8956 | 5.334 | 32500 | 14741.7501 | 14.7387
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
15 |  | PES-033 | Crate |  | Turbine Lube Oil Skid & Turbine Lube Oil Tank Vent | 1 | 91 | 67 | 99 | 349.3073 | 2.3114 | 1.7018 | 2.5146 | 6.5278 | 3500 | 1587.5731 | 1.5873
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length | Width | Height | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
16 |  | PES-038 | Crate |  | Generator Lube Oil Tank (In a crate with Tag 189) | 1 | 104 | 99 | 84 | 500.5 | 2.6416 | 2.5146 | 2.1336 | 7.2898 | 5700 | 2585.4762 | 2.585
16 |  | PES-189 | Crate |  | Generator Lube Oil Demister with Tag #038 | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
17 |  | PES-005 | Crate |  | Generator Exhaust Duct | 1 | 65 | 82 | 94 | 289.9421 | 1.651 | 2.0828 | 2.3876 | 6.1214 | 2500 | 1133.9808 | 1.1338
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
18 |  | PES-228 | Crate | NEW | Liquid Fuel Duplex Filter | 4 | 43 | 31 | 43 | 33.1707 | 1.0922 | 0.7874 | 1.0922 | 2.9718 | 488 | 221.353 | 0.22131
ML2-4430/02
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
19 |  | PES-018 |  |  | Coupling Guard Generator to Wall Piece | 1 | 50 | 46 | 43 | 57.2338 | 1.27 | 1.1684 | 1.0922 | 3.5306 | 570 | 258.5476 | 0.25849
19 |  | PES-019 |  |  | Coupling Guard Generator to Wall Piece | 1
19 |  | PES-020 |  |  | Coupling Guard Behind Exhaust Collector Skid | 1
19 |  | PES-021 |  |  | Coupling Guard Behind Exhaust Collector | 1
19 |  | PES-022 |  |  | Center Coupling Guard | 1
19 |  | PES-023 |  |  | Center Coupling Guard | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
20 |  | PES-074 | Crate |  | Turbine Room Louver, Roof Parts A, B and additional pieces | 6 | 67 | 48 | 30 | 55.8333 | 1.7018 | 1.2192 | 0.762 | 3.683 | 650 | 294.835 | 0.29478
20 |  | PES-075 | Crate |  | Turbine Room Louver, Roof Parts A, B and additional pieces | 6
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
21 |  | PES-229 | Crate |  | Tank - Model FF6672 | 1 | 52 | 37 | 27 | 30.0625 | 1.3208 | 0.9398 | 0.6858 | 2.9464 | 350 | 158.7573 | 0.15873
21 |  | PES-230 | Crate |  | Lube Oil Piping | 1
21 |  | PES-036 | Crate |  | Lube Oil Piping | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
22 |  | PES-037 | Crate |  | Lube Oil Piping | 1 | 57 | 22 | 28 | 20.3194 | 1.4478 | 0.5588 | 0.7112 | 2.7178 | 420 | 190.5088 | 0.19047
22 |  | PES-091 | Crate | NEW | Fuel Forwarding Pump | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
23 |  | PES-067 |  |  | Turbine Room Filter House Right Side Top |  | 227 | 72 | 68 | 643.1667 | 5.7658 | 1.8288 | 1.7272 | 9.3218 | 4100 | 1859.7285 | 1.8594
23 |  | PES-070 |  |  | Turbine Room Filter House Duct Right Side
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
24 |  | PES-007 |  |  | Turbine Room Filter Box Support & Exhaust Louver | 1 | 261 | 125 | 54 | 1019.5312 | 6.6294 | 3.175 | 1.3716 | 11.176 | 11000 | 4989.5154 | 4.9885
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
25 |  | PES-092 |  |  | Filter House Support Structure | 1 | 262 | 103 | 56 | 874.5463 | 6.6548 | 2.6162 | 1.4224 | 10.6934 | 7000 | 3175.1462 | 3.1745
25 |  | PES-093 |  |  | Filter House Support Structure | 1
25 |  | PES-094 |  |  | Filter House Support Structure | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
26 |  | PES-190 |  |  | Turbine Intake Silencer |  | 151 | 116 | 96 | 973.1111 | 3.8354 | 2.9464 | 2.4384 | 9.2202 | 12000 | 5443.1077 | 5.442
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
27 |  | PES-031 |  |  | Inlet Filter House - Left Side | 1 | 223 | 152 | 135 | 2648.125 | 5.6642 | 3.8608 | 3.429 | 12.954 | 12000 | 5443.1077 | 5.442
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
28 |  | PES-006 |  |  | Generator Exhaust Transition Inside Package | 1 | 87 | 84 | 61 | 257.9792 | 2.2098 | 2.1336 | 1.5494 | 5.8928 | 2200 | 997.9031 | 0.9977
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
29 |  | PES-003 |  |  | Turbine Filter House | 1 | 176 | 123 | 122 | 1528.3889 | 4.4704 | 3.1242 | 3.0988 | 10.6934 | 8500 | 3855.5346 | 3.8548
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
30 |  | PES-004 |  |  | Generator Filter House (4' x 3" beam inside louver door) | 1 | 180 | 138 | 111 | 1595.625 | 4.572 | 3.5052 | 2.8194 | 10.8966 | 13000 | 5896.7 | 5.8955
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
31 |  | PES-030 |  |  | Inlet Filter House - Right Side | 1 | 222 | 153 | 135 | 2653.5938 | 5.6388 | 3.8862 | 3.429 | 12.954 | 12000 | 5443.1077 | 5.442
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
32 |  | PES-032 |  |  | Inlet Filter House - Plenum | 1 | 216 | 144 | 135 | 2430 | 5.4864 | 3.6576 | 3.429 | 12.573 | 10000 | 4535.9231 | 4.535
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
33 |  | PES-034 |  |  | Fin Fan Cooler LO | 1 | 170 | 98 | 125 | 1205.1505 | 4.318 | 2.4892 | 3.175 | 9.9822 | 9000 | 4082.3308 | 4.0815
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
34 |  | PES-095 |  |  | Exhaust Stack | 1 | 338 | 120 | 117 | 2746.25 | 8.5852 | 3.048 | 2.9718 | 14.605 | 24000 | 10886.2154 | 10.884
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
35 |  | PES-096 |  |  | Exhaust Stack Transition Piece | 1 | 216 | 128 | 132 | 2112 | 5.4864 | 3.2512 | 3.3528 | 12.0904 | 18000 | 8164.6616 | 8.163
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
36 |  | PES-098 | Skid |  | Generator Roof Flashing | 1 | 193 | 12 | 24 | 32.1667 | 4.9022 | 0.3048 | 0.6096 | 5.8166 | 425 | 192.7767 | 0.19274
36 |  | PES-254 |  |  | Pipe Rain Cap for Tag PES-101 - Rear Generator Roof | 1
36 |  | PES-255 |  |  | Pipe Rain Cap for Tag PES-101 - Rear Generator Roof | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
37 |  | PES-208 | Crate |  | Outer Inlet Bell Mouth Clamp Bars | 4 | 92 | 92 | 40 | 195.9259 | 2.3368 | 2.3368 | 1.016 | 5.6896 | 1270 | 576.0622 | 0.57595
37 |  | PES-209 | Crate |  | Inner Inlet Bell Mouth Clamp Bars | 4
37 |  | PES-210 | Crate |  | Water Wash Spray Ring | 1
37 |  | PES-211 | Crate |  | Strainer for Water Wash Spray Ring | 1
37 |  | PES-221 | Crate |  | Stainless Steel Supply Line for PES-210 | 1
37 |  | PES-222 | Crate |  | Supply Hose to Water Wash Spray Ring | 1
37 |  | PES-223 | Crate |  | Bell Mouth Diffuser Ring | 1
37 |  | PES-225 | Crate |  | Bullet Nose | 1
37 |  | PES-226 | Crate |  | Bolts, 25 - 12 MM 1.75 X 3.08 HCSZ | 25
37 |  | PES-226 | Crate |  | Bolts, 35 - 316 Stainless Steel HCS, 1/4 NF x 1.5 | 35
37 |  | PES-226 | Crate | New | Lockwashers,zinc-plated, 45 - 12 mm | 45
37 |  | PES-226 | Crate | New | Bolts, MS-9566-12 | 3
37 |  | PES-226 | Crate | New | Bolts, MS-9566-12 | 5
37 |  | PES-226 | Crate | New | Nuts for P/N MS-9209-16 | 48
37 |  | PES-226 | Crate | New | Bolts for P/N MS-9209-16 | 50
37 |  | PES-226 | Crate |  | Bolts, Bell Mouth Mounting (used) | 37
37 |  | PES-227 | Crate |  | FOD Screen | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
38 |  | PES-009 |  |  | Turbine Skid | 1 | 432 | 147 | 181 | 6651.75 | 10.9728 | 3.7338 | 4.5974 | 19.304 | 82000 | 37194.5694 | 37.187
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
39 |  | PES-088 | crate |  | Instrumentation Wet Panel Right Side | 1 | 101 | 46 | 25 | 67.2164 | 2.5654 | 1.1684 | 0.635 | 4.3688 | 850 | 385.5535 | 0.38548
39 |  | PES-131 | Crate |  | MTTB Cabinet | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
40 |  | PES-008 | Crate |  | CO2 Bottle Rack, Fire Suppression (8) bolts, (2) Electrical Switches, (10) spare hoses, (14) bottle connectors | 34 pcs | 109 | 42 | 83 | 219.8924 | 2.7686 | 1.0668 | 2.1082 | 5.9436 | 1375 | 623.6894 | 0.62356
40 | Box 1-A inside Box 40 | PES-008 | Crate |  | Box 1-A- (Additional Inventory) inside Box 40)
40 | Box 1-A inside Box 40 | PES-008 | Crate |  | Infrared Gas Detecctors | 3
40 | Box 1-A inside Box 40 | PES-008 | Crate |  | Beacon Lights | 4
40 | Box 1-A inside Box 40 | PES-008 | Crate |  | Discharge Bells | 4
40 | Box 1-A inside Box 40 | PES-008 | Crate |  | 225° Flame detectors | 2
40 | Box 1-A inside Box 40 | PES-008 | Crate |  | 450° flame detectors | 2
40 | Box 1-A inside Box 40 | PES-008 | Crate |  | Manual Co2 Release stations | 2
40 | Box 1-A inside Box 40 | PES-008 | Crate |  | Horn silencer switch w/key | 1
40 | Box 2-A inside Box 40 | PES-008 | Crate |  | Box 2-A (Additional Inventory) inside Box 40)
40 | Box 2-A inside Box 40 | PES-008 | Crate |  | Thermal spot detector | 1
40 | Box 2-A inside Box 40 | PES-008 | Crate |  | Manual co2 Release station | 1
40 | Box 2-A inside Box 40 | PES-008 | Crate |  | Flame Detector | 1
40 | Box 2-A inside Box 40 | PES-008 | Crate |  | Audible alarm horns | 1
40 | Box 2-A inside Box 40 | PES-008 | Crate |  | CO2 Bottle Rack, Fire Suppression (8) bolts, (2) Electrical Switches, (10) spare hoses, (14) bottle connectors. | 34 pcs
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
41 |  | PES-250 | Crate | NEW | Expansion Joint and Box of Hardware | 2 | 98 | 78 | 29 | 128.2847 | 2.4892 | 1.9812 | 0.7366 | 5.207 | 1650 | 748.4273 | 0.74828
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
42 |  | PES-251 | Crate | NEW | Baffels | 2 | 102 | 102 | 43 | 258.8958 | 2.5908 | 2.5908 | 1.0922 | 6.2738 | 3500 | 1587.5731 | 1.5873
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
43 |  | PES-252 | Crate | NEW | Baffels | 2 | 102 | 97 | 44 | 251.9306 | 2.5908 | 2.4638 | 1.1176 | 6.1722 | 3500 | 1587.5731 | 1.5873
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
44 | Crate | PES-253 | Crate | NEW | De-Mineral Filter Skid | 1 | 50 | 42 | 56 | 68.0556 | 1.27 | 1.0668 | 1.4224 | 3.7592 | 1000 | 453.5923 | 0.4535
Part Noo: 0-09-012634
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
45 |  | PES-131 | Crate |  | MTTB Cabinet | 1 | 102 | 45 | 38 | 100.9375 | 2.5908 | 1.143 | 0.9652 | 4.699 | 1100 | 498.9515 | 0.49885
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
46 |  | PES-178 | Carton |  | Carton of Swagelok tube fittings (Qty: Unknown) | 1 | 141 | 37 | 19 | 57.3628 | 3.5814 | 0.9398 | 0.4826 | 5.0038 | 1090 | 494.4156 | 0.49432
46 |  | PES-178 | Tubes |  | Stainless Steel Tubing, 2 lots, same tag as carton of Swagelok tube fittings | 2
46 |  | PES-184 |  |  | Clamping bars for Rear Generator Roof | 2
46 |  | PES-185 |  |  | Generator Silencer Clamping Bars Expansion, Set #1 | 4
46 |  | PES-186 |  |  | Generator Silencer Clamping Bars Expansion, Set #2 | 4
46 |  | PES-187 |  |  | Inlet Air Expansion Joint Clamping Bars, Set #2 | 4
46 |  | PES-188 |  |  | Inlet Air Expansion Joint Clamping Bars, Set #2 | 4
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
47 |  | PES-106 | Skid |  | CO2 Bottles | 14 | 95 | 34 | 70 | 130.8449 | 2.413 | 0.8636 | 1.778 | 5.0546 | 4700 | 2131.8839 | 2.1315
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
48 | Box | PES-176 |  |  | ACCESSORY PIPING: Generator lube oil reservoir tank outside piping, inside package piping, return excitier end piping, lube oil piping from reservoir, piping to filter and reservoir lube 01, lube oil piping left side, fuel gas vent pipes outside package. | 74 | 195 | 38 | 42 | 180.1042 | 4.953 | 0.9652 | 1.0668 | 6.985 | 3200 | 1451.4954 | 1.4512
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
49 |  | PES-175 |  |  | Hydraulic Start filters | 2 | 28 | 23 | 33 | 12.2986 | 0.7112 | 0.5842 | 0.8382 | 2.1336 | 170 | 77.1107 | 0.077095
49 |  | PES-175 |  |  | Hydraulic Start small filters | 1
49 |  | PES-175 |  |  | 50' roll of drop warp cloth tape | 1 - 50' roll
49 |  | PES-175 |  |  | Turbine Lube Oil Scavenge filters | 4
49 |  | PES-175 |  |  | Generator supply lube oil filters | 2
49 |  | PES-175 |  |  | Liquid Fuel Filter skid filters | 4
49 |  | PES-175 |  |  | Liquid fuel Pall Filters | 2
49 |  | PES-175 |  |  | Generator Return Oil Filters | 6
49 |  | PES-175 |  |  | LM2500 Fod sock cover | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
50 |  | PES-101 |  |  | Rear Generator Roof | 2 | 194 | 131 | 39 | 573.5799 | 4.9276 | 3.3274 | 0.9906 | 9.2456 | 5500 | 2494.7577 | 2.4943
50 |  | PES-105 |  |  | Generator Roof Panel | 1
50 |  | PES-100 |  |  | Generator Wall, Center End with Door | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
51 |  | PES-257 |  |  | Filter House Screens and Hardware | 5 | 71 | 36 | 7 | 10.3542 | 1.8034 | 0.9144 | 0.1778 | 2.8956 | na
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
52 |  | PES-258 |  |  | Filter House Screens and Hardware | 5 | 71 | 36 | 7 | 10.3542 | 1.8034 | 0.9144 | 0.1778 | 2.8956 | na
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
53 |  | PES-259 |  |  | Filter House Louvers and Hardware | 4 | 114 | 62 | 36 | 147.25 | 2.8956 | 1.5748 | 0.9144 | 5.3848 | 1650 | 748.4273 | 0.74828
53 |  | PES-260 |  |  | Filter House Instruments | 16
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
54 |  | PES-261 | Crate |  | Prefilter Retainer | 70 | 56 | 33 | 21 | 22.4583 | 1.4224 | 0.8382 | 0.5334 | 2.794 | 150 | 68.0388 | 0.068025
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
55 |  | PES-262 | Crate |  | Water Wash Skid | 1 | 57 | 35 | 27 | 31.1719 | 1.4478 | 0.889 | 0.6858 | 3.0226 | 200 | 90.7185 | 0.0907
55 |  | PES-262 |  |  | Filter House Pre-Filter Retainer Springs | 1 lot
55 |  | PES-262 |  |  | Rubber Boot | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER
56 | Crate | PES-263 |  | New | DuraCel XL-90G DHF Filter 24 x 24 x 2 | 24 | 58 | 58 | 80 | 155.7407 | 1.4732 | 1.4732 | 2.032 | 4.9784 | 890 | 403.6972 | 0.40362 |  |  |  |  | staged in warehouse
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER | staged in warehouse
57 | Crate | PES-264 |  | New | DuraCel XL-90G DHF Filter 24 x 24 x 2 | 24 | 58 | 58 | 80 | 155.7407 | 1.4732 | 1.4732 | 2.032 | 4.9784 | 890 | 403.6972 | 0.40362
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER | staged in warehouse
58 | Crate | PES-125 |  | New | DuraCel XL-90G DHF Filter 24 x 24 x 12 | 38 | 58 | 58 | 80 | 155.7407 | 1.4732 | 1.4732 | 2.032 | 4.9784 | 890 | 403.6972 | 0.40362
58 | Crate | PES-125 |  | New | DuraCel XL-90G DHF Filter 24 x 24 x 12 | 8
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER | staged in warehouse
59 |  | PES-127 | Crate |  | Generator to Turbine Coupling | 1 | 122 | 30 | 32 | 67.7778 | 3.0988 | 0.762 | 0.8128 | 4.6736 | 890 | 403.6972 | 0.40362
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER | staged in warehouse
60 |  | PES-128 |  |  | Diffuser seal rings | 7 | 63 | 33 | 12 | 14.4375 | 1.6002 | 0.8382 | 0.3048 | 2.7432 | 200 | 90.7185 | 0.0907
60 |  | PES-128 |  |  | Diffuser shaft cover bolts (1 bag) | 11
60 |  | PES-128 |  |  | Diffuser Seal Ring Spring | 1
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER | staged in warehouse
61 |  | PES-129 | Crate |  | Earth Contact Resistor | 1 | 60 | 48 | 100 | 166.6667 | 1.524 | 1.2192 | 2.54 | 5.2832 | 1000 | 453.5923 | 0.4535
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER | staged in warehouse
62 | Crate | PES-126 |  |  | Bolts, Washer, Nuts (Mixed Lot) | Assorted | 90 | 40 | 18 | 37.5 | 2.286 | 1.016 | 0.4572 | 3.7592 | 1300 | 589.67 | 0.58955
62 |  | PES-010 |  |  | Aircraft bolts for collector/diffuser | Assorted
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | Length (in) | Width (in) | Height (in) | Cubic Feet | Length (meters) | Width (meters) | Height (meters) | CUBIC METERS (cbm) | WEIGHT (lbs) | WEIGHT (kgs) | WEIGHT (mt) | LOAD | TRUCK NO. | TRAILER NO | CARRIER | staged in warehouse
63 | ROEU-497543-8 | PES-002 | Crate |  | TAFT manuals and documentation | Manuals | 32 | 16 | 16 | 4.7407 | 0.8128 | 0.4064 | 0.4064 | 1.6256 | 85 | 38.5553 | 0.038547

## TAFT INVENTORY BY TAG NUMBER
BOX NO. | CONTAINER | TAFT PES Tag & Photo Number No. | CRATE/SKID # | TYPE | Description | QTY | QTY
1 | Compressor | PES-001 |  |  | Generator SN | SN 2553435/01/580K | 1
63 | ROEU-497543-8 | PES-002 | Crate |  | TAFT manuals and documentation |  | Manuals
29 |  | PES-003 |  |  | Turbine Filter House |  | 1
30 |  | PES-004 |  |  | Generator Filter House (4' x 3" beam inside louver door) |  | 1
17 |  | PES-005 |  |  | Generator Exhaust Duct |  | 1
28 |  | PES-006 |  |  | Generator Exhaust Transition Inside Package |  | 1
24 |  | PES-007 |  |  | Turbine Room Filter Box Support & Exhaust Louver |  | 1
40 |  | PES-008 |  |  | Box 1 (Additional Inventory) inside Box 40)
40 |  | PES-008 |  |  | Infrared Gas Detecctors |  | 3
40 |  | PES-008 |  |  | Beacon Lights |  | 4
40 |  | PES-008 |  |  | Discharge Bells |  | 4
40 |  | PES-008 |  |  | 225° Flame detectors |  | 2
40 |  | PES-008 |  |  | 450° flame detectors |  | 2
40 |  | PES-008 |  |  | Manual Co2 Release stations |  | 2
40 |  | PES-008 |  |  | Horn silencer switch w/key |  | 1
40 |  | PES-008 |  |  | Box 2 (Additional Inventory) inside Box 40)
40 |  | PES-008 |  |  | Thermal spot detector |  | 1
40 |  | PES-008 |  |  | Manual co2 Release station |  | 1
40 |  | PES-008 |  |  | Flame Detector |  | 1
40 |  | PES-008 |  |  | Audible alarm horns |  | 1
40 |  | PES-008 | Box 1 and Box 2 in Box 40 |  | CO2 Bottle Rack, Fire Suppression (8) bolts, (2) Electrical Switches, (10) spare hoses, (14) bottle connectors. (See Box 1 and Box 2 items added, further in this inventory.) |  | 34 pcs
38 |  | PES-009 |  |  | Turbine Skid |  | 1
62 |  | PES-010 |  |  | Aircraft bolts for collector/diffuser |  | Assorted
9 |  | PES-012 |  |  | Rain Cap and Transition |  | 1
8 |  | PES-013 |  |  | Rain Cap and Transition |  | 1
12 | ROEU-497543-8 | PES-014 |  |  | Filter House Beam |  | 1
12 | ROEU-497543-8 | PES-015 |  |  | Turbine Filter House Support Brace (B-15) |  | 1
19 |  | PES-018 |  |  | Coupling Guard Generator to Wall Piece |  | 1
19 |  | PES-019 |  |  | Coupling Guard Generator to Wall Piece |  | 1
19 |  | PES-020 |  |  | Coupling Guard Behind Exhaust Collector Skid |  | 1
19 |  | PES-021 |  |  | Coupling Guard Behind Exhaust Collector |  | 1
19 |  | PES-022 |  |  | Center Coupling Guard |  | 1
19 |  | PES-023 |  |  | Center Coupling Guard |  | 1
31 |  | PES-030 |  |  | Inlet Filter House - Right Side |  | 1
27 |  | PES-031 |  |  | Inlet Filter House - Left Side |  | 1
32 |  | PES-032 |  |  | Inlet Filter House - Plenum |  | 1
15 |  | PES-033 |  |  | Turbine Lube Oil Skid & Turbine Lube Oil Tank Vent |  | 1
33 |  | PES-034 |  |  | Fin Fan Cooler LO |  | 1
11 |  | PES-035 |  |  | Hydraulic Start Skid |  | 1
21 |  | PES-036 |  |  | Lube Oil Piping |  | 1
22 |  | PES-037 |  |  | Lube Oil Piping |  | 1
16 |  | PES-038 | Crate |  | Generator Lube Oil Tank (In a crate with Tag 189) |  | 1
12 | ROEU-497543-8 | PES-039 |  |  | Filter House Ladder |  | 1
12 | ROEU-497543-8 | PES-042 |  |  | Turbine Filter House Catwalk - Right Side |  | 1
12 | ROEU-497543-8 | PES-043 |  |  | Turbine Filter House Catwalk - Support C-1 |  | 1
12 | ROEU-497543-8 | PES-044 |  |  | Turbine Filter House Catwalk - Support C-2 |  | 1
12 | ROEU-497543-8 | PES-045 |  |  | Turbine Filter House Catwalk - Support |  | 1
12 | ROEU-497543-8 | PES-046 |  |  | Front Filter House Support - (B-12) |  | 1
12 | ROEU-497543-8 | PES-047 |  |  | Filter House Catwalk Support |  | 1
12 | ROEU-497543-8 | PES-048 |  |  | Filter House Catwalk Support (C-6) |  | 1
12 | ROEU-497543-8 | PES-049 |  |  | Turbine Filter House Support |  | 1
12 | ROEU-497543-8 | PES-050 |  |  | Turbine Filter House Support |  | 1
12 | ROEU-497543-8 | PES-051 |  |  | Turbine Filter House Cross Brace Left Side |  | 1
12 | ROEU-497543-8 | PES-052 |  |  | Turbine Filter House Catwalk Left Side |  | 1
12 | ROEU-497543-8 | PES-053 |  |  | Turbine Filter House Top Support Beam Front (B-11) |  | 1
12 | ROEU-497543-8 | PES-054 |  |  | Turbine Filter House Left Side Support Beam |  | 1
12 | ROEU-497543-8 | PES-055 |  |  | Turbine Filter House Cross Beam Right Side |  | 1
12 | ROEU-497543-8 | PES-056 |  |  | Turbine Filter House Support Leg L-1 |  | 1
12 | ROEU-497543-8 | PES-057 |  |  | Turbine Filter House Support Leg Left |  | 1
12 | ROEU-497543-8 | PES-058 |  |  | Turbine Filter House Support Braces |  | 15
12 | ROEU-497543-8 | PES-060 |  |  | Turbine Filter House Top Rear Support Beam (B-11) |  | 1
12 | ROEU-497543-8 | PES-061 |  |  | Turbine Filter House Right Side Support Beam Bottom |  | 1
12 | ROEU-497543-8 | PES-062 |  |  | Turbine Filter House Support Leg (S-1) |  | 1
23 |  | PES-066 |  |  | Turbine Room Filter House Left Side Top |  | 1
23 |  | PES-067 |  |  | Turbine Room Filter House Right Side Top |  | 1
10 |  | PES-068 |  |  | Turbine Filter House Duct Right Top Side |  | 1
10 |  | PES-069 |  |  | Turbine Filter House Duct Left Top Side |  | 1
23 |  | PES-070 |  |  | Turbine Room Filter House Duct Right Side |  | 1
12 | ROEU-497543-8 | PES-071 |  |  | Turbine Filter House Support Leg (S-4) |  | 1
12 | ROEU-497543-8 | PES-072 |  |  | Turbine Filter House Support Leg (S-2) |  | 1
12 | ROEU-497543-8 | PES-073 |  |  | Turbine Filter House Support Rear Beam (Bottom) |  | 1
20 |  | PES-074 | Crate |  | Turbine Room Louver, Roof Parts A, B and additional pieces |  | 6
20 |  | PES-075 | Crate |  | Turbine Room Louver, Roof Parts A, B and additional pieces |  | 6
12 | ROEU-497543-8 | PES-079 |  |  | Turbine Room Filter House Leg Left (S-3) |  | 1
12 | ROEU-497543-8 | PES-082 |  |  | Turbine Room Filter House Support Leg Right -3 |  | 1
12 | ROEU-497543-8 | PES-083 |  |  | Turbine Room Filter House Support Leg Right -4 |  | 1
12 | ROEU-497543-8 | PES-084 |  |  | Turbine Room Filter House Support Leg Left -3 |  | 1
39 |  | PES-088 |  |  | Instrumentation Wet Panel Right Side |  | 1
22 |  | PES-091 |  | NEW | Fuel Forwarding Pump |  | 1
25 |  | PES-092 |  |  | Filter House Support Structure |  | 1
25 |  | PES-093 |  |  | Filter House Support Structure |  | 1
25 |  | PES-094 |  |  | Filter House Support Structure |  | 1
34 |  | PES0-95 |  |  | Exhaust Stack |  | 1
35 |  | PES-096 |  |  | Exhaust Stack Transition Piece |  | 1
7 |  | PES-097 |  |  | Generator Right Side End Wall |  | 1
36 |  | PES-098 |  | Skid | Generator Roof Flashing |  | 1
7 |  | PES-099 |  |  | Generator Wall End, Left Side |  | 1
50 |  | PES-100 |  |  | Generator Wall, Center End with Door |  | 1
50 |  | PES-101 | Skid |  | Rear Generator Roof |  | 2
7 |  | PES-104 |  |  | Generator Wall, Left, Front |  | 1
50 |  | PES-105 |  |  | Generator Roof Panel |  | 1
47 |  | PES-106 |  |  | CO2 Bottles |  | 14
13 | ROEU 497543-8 | PES-107 |  |  | Loose Items, Miscellaneous Galvinzed Bracing |  | 14
12 | ROEU-497543-8 | PES-110 |  |  | Generator Roof Platform Left Side |  | 1
12 | ROEU-497543-8 | PES-111 |  |  | Generator Filter House Ladder |  | 1
7 |  | PES-118 |  |  | Generator Enclosure Right Wall |  | 1
7 |  | PES-119 |  |  | Generator Enclosure Left Wall |  | 1
58 | Crate | PES-125 |  | New | DuraCel XL-90G DHF Filter 24 x 24 x 4 |  | 38
58 | Crate | PES-125 |  | New | DuraCel XL-90G DHF Filter 24 x 24 x 12 |  | 8
62 | Crate | PES-126 |  |  | Bolts, Washer, Nuts (Mixed Lot) |  | Assorted
59 |  | PES-127 | Crate |  | Generator to Turbine Coupling |  | 1
60 |  | PES-128 | Crate |  | Diffuser seal rings | Inside Turbine Package | 7
60 |  | PES-128 |  |  | Diffuser shaft cover bolts (1 bag) | Inside Turbine Package | 11
60 |  | PES-128 |  |  | Diffuser Seal Ring Spring | Inside Turbine Package | 1
61 |  | PES-129 | Crate |  | Earth Contact Resistor |  | 1
45 |  | PES-131 |  |  | MTTB Cabinet |  | 1
12 | ROEU-497543-8 | PES-133 |  |  | Turbine Filter House Support Beam |  | 1
12 | ROEU-497543-8 | PES-139 |  |  | Turbine Filter House Support Beam |  | 1
6 |  | PES-148 |  |  | Turbine Vent Fan #2 |  | 1
49 |  | PES-175 |  |  | Hydraulic Start filters |  | 2
49 |  | PES-175 |  |  | Hydraulic Start small filters |  | 1
49 |  | PES-175 |  |  | 50' roll of drop warp cloth tape |  | 1 - 50' roll
49 |  | PES-175 |  |  | Turbine Lube Oil Scavenge filters |  | 4
49 |  | PES-175 |  |  | Generator supply lube oil filters |  | 2
49 |  | PES-175 |  |  | Liquid Fuel Filter skid filters |  | 4
49 |  | PES-175 |  |  | Liquid fuel Pall Filters |  | 2
49 |  | PES-175 |  |  | Generator Return Oil Filters |  | 6
49 |  | PES-175 |  |  | LM2500 Fod sock cover |  | 1
48 | Box | PES-176 |  |  | ACCESSORY PIPING: Generator lube oil reservoir tank outside piping, inside package piping, return excitier end piping, lube oil piping from reservoir, piping to filter and reservoir lube 01, lube oil piping left side, fuel gas vent pipes outside package. |  | 74
12 | ROEU-497543-8 | PES-177 |  |  | Beam, turbine removal (same skid as accessory piping) |  | 1
46 |  | PES-178 | Carton |  | Carton of Swagelok tube fittings (Qty: Unknown) |  | 1
46 |  | PES-178 | Tubes |  | Stainless Steel Tubing, 2 lots, same tag as carton of Swagelok tube fittings |  | 2
2 |  | PES-180 |  |  | Liquid Fuel Booster Pump Skid |  | 1
3 |  | PES-181 |  | NEW | Liquid Fuel Filter |  | 1
4 |  | PES-182 |  |  | Water Injection Pump Skid |  | 1
5 |  | PES-183 |  |  | Turbine Vent Fan #1 |  | 1
46 |  | PES-184 |  |  | Clamping bars for Rear Generator Roof |  | 2
46 |  | PES-185 |  |  | Generator Silencer Clamping Bars Expansion, Set #1 | Identified as "Generator, Vent Air Expansion Joint Brackets (Gen Side) | 4
46 |  | PES-186 |  |  | Generator Silencer Clamping Bars Expansion, Set #2 | Identified as "Generator, Venyt Air Expansio Joint Brackets (Gen Side) | 4
46 |  | PES-187 |  |  | Inlet Air Expansion Joint Clamping Bars, Set #2 |  | 4
46 |  | PES-188 |  |  | Inlet Air Expansion Joint Clamping Bars, Set #2 |  | 4
16 |  | PES-189 |  |  | Generator Lube Oil Demister with Tag #038 |  | 1
26 |  | PES-190 |  |  | Turbine Intake Silencer |  | 1
12 | ROEU-497543-8 | PES-191 |  |  | Turbine Filter House Catwalk Right Side |  | 1
12 | ROEU-497543-8 | PES-192 |  |  | Turbine Filter House Catwalk Right Side |  | 1
12 | ROEU-497543-8 | PES-193 |  |  | Turbine Filter House Catwalk Support (C-3X) |  | 1
12 | ROEU-497543-8 | PES-194 |  |  | Intake Filter House Support Structure (B-13) |  | 1
12 | ROEU-497543-8 | PES-195 |  |  | Intake Filter House Support Structure (B-13A) |  | 1
12 | ROEU-497543-8 | PES-196 |  |  | Turbine Filter House Catwalk Handrails |  | 6
12 | ROEU-497543-8 | PES-197 |  |  | Turbine Filter House Catwalk Handrail |  | 1
12 | ROEU-497543-8 | PES-198 |  |  | Turbine Filter House Catwalk Handrail |  | 1
13 | ROEU 497543-8 | PES-199 |  |  | Stairs, Bundle |  | 6
12 | ROEU-497543-8 | PES-200 |  |  | Filter House Cross Brace |  | 1
12 | ROEU-497543-8 | PES-201 |  |  | Filter House Support Beam |  | 1
12 | ROEU-497543-8 | PES-202 |  |  | Filter House Support Beam |  | 1
12 | ROEU-497543-8 | PES-203 |  |  | Filter House Support Beam |  | 1
12 | ROEU-497543-8 | PES-204 |  |  | Generator Support Beam |  | 1
12 | ROEU-497543-8 | PES-205 |  |  | Filter House Support Beam |  | 1
12 | ROEU-497543-8 | PES-206 |  |  | Generator Support Beam |  | 1
12 | ROEU-497543-8 | PES-207 |  |  | Generator Support Beam |  | 1
37 |  | PES-208 |  |  | Outer Inlet Bell Mouth Clamp Bars |  | 4
37 |  | PES-209 |  |  | Inner Inlet Bell Mouth Clamp Bars |  | 4
37 |  | PES-210 |  |  | Water Wash Spray Ring |  | 1
37 |  | PES-211 |  |  | Strainer for Water Wash Spray Ring |  | 1
37 |  | PES-221 |  |  | Stainless Steel Supply Line for PES-210 |  | 1
37 |  | PES-222 |  |  | Supply Hose to Water Wash Spray Ring |  | 1
37 |  | PES-223 |  |  | Bell Mouth Diffuser Ring |  | 1
37 |  | PES-224 |  |  | Bell Mouth Seal |  | 1
37 |  | PES-225 |  |  | Bullet Nose |  | 1
37 |  | PES-226 |  |  | Bolts, 25 - 12 MM 1.75 X 3.08 HCSZ |  | 25
37 |  | PES-226 |  |  | Bolts, 35 - 316 Stainless Steel HCS, 1/4 NF x 1.5 |  | 35
37 |  | PES-226 |  | New | Lockwashers,zinc-plated, 45 - 12 mm |  | 45
37 |  | PES-226 |  | New | Bolts, MS-9566-12 |  | 3
37 |  | PES-226 |  | New | Bolts, MS-9566-12 |  | 5
37 |  | PES-226 |  | New | Nuts for P/N MS-9209-16 |  | 48
37 |  | PES-226 |  | New | Bolts for P/N MS-9209-16 |  | 50
37 |  | PES-226 |  |  | Bolts, Bell Mouth Mounting (used) |  | 37
37 |  | PES-227 |  |  | FOD Screen |  | 1
18 |  | PES-228 |  | NEW | Liquid Fuel Duplex Filter | ML2-4430/02 | 4
21 |  | PES-229 |  |  | Tank | Model No 2FF6672 | 1
21 |  | PES-230 |  |  | Lube Oil Piping |  | 1
41 |  | PES-250 | Crate | NEW | Expansion Joint and Box of Hardware |  | 2
42 |  | PES-251 | Crate | NEW | Baffels |  | 2
43 |  | PES-252 | Crate | NEW | Baffels |  | 2
44 | Crate | PES-253 | Crate | NEW | De-Mineral Filter Skid | 0-09-012634 | 1
36 |  | PES-254 |  |  | Pipe Rain Cap for Tag PES-101 - Rear Generator Roof |  | 1
36 |  | PES-255 |  |  | Pipe Rain Cap for Tag PES-101 - Rear Generator Roof |  | 1
14 |  | PES-256 |  |  | Control Room - PEEC Building |  | 1
51 |  | PES-257 |  |  | Filter House Screens and Hardware |  | 5
52 |  | PES-258 |  |  | Filter House Screens and Hardware |  | 5
53 |  | PES-259 |  |  | Filter House Louvers and Hardware |  | 4
53 |  | PES-260 |  |  | Filter House Instruments |  | 16
54 |  | PES-261 | Crate |  | Prefilter Retainer |  | 70
55 |  | PES-262 | Crate | New | Water Wash Skid |  | 1
55 |  | PES-262 | Crate |  | Filter House Pre-Filter Retainer Springs |  | 1 lot
55 |  | PES-262 | Crate | New | Rubber Boot |  | 1
56 | Crate | PES-263 |  | New | DuraCel XL-90G DHF Filter 24 x 24 x 2 |  | 24
57 | Crate | PES-264 |  | New | DuraCel XL-90G DHF Filter 24 x 24 x 2 |  | 24