Section 1.0	Introduction

PDVSA desires to build a 20 MW dual fuel generating facility to be installed and operational within the schedule agreed upon.  ProEnergy EPC Services proposes to install (1) Owner Finished GE LM2500 PE Gas Turbine Generator including the supply of the following major equipment items:

- One (1) Exhaust Stack

- Gas Fuel Filtration and Regulation as required, with installation by the Contractor of a new pipeline from facility fuel gas supply source.

- Liquid Fuel pipeline from pipeline feeding existing LM 2500.

- A 13.8KV Cable to be provided by Contractor from GTG to Owners’ substation for connection by Owners GSU Transformer.