Scope of Supply

(2 ea)  FT-4 P&W

Simple Cycle

Venezuela

T 8020

The proposed “EPC” Balance of Plant Scope of Work for the installation of the above project in Venezuela is outlined.

- Civil, Foundations, and Structural

.. Site preparation assuming the site is level and soil of 1500 to 2000 psf

.. Concrete foundations for 2ea Gas Turbines with associated ancillaries

.. Gravel on site

.. Paved roads and removal areas for turbine and generators

.. Plant fencing with gates

- Buildings

.. .. Modular Control Building to house the FT-4, TCP, GCP, MCC, Batteries, and       chargers.

.. Plant office/control and maintenance prefabricated insulated building

.. Liquid fuel unloading shed

.. Liquid fuel centrifuge shed

- Mechanical

.. Fuel gas regulators – adequate gas pressure to be furnished

.. Liquid with raw fuel storage, pumping, cleaning, with day tank

.. Instrument air compressor

.. Oily water separator

.. Small water treatment system with storage tanks for fuel treatment

.. Plant instrumentation

.. Plant pipe, valves, fittings etc.

- Electrical

.. 13.8 KV Generator Breakers, aux breaker to feed aux transformers

.. Aux transformers

.. BOP electrical including DP Panels, MCC’s, Lighting Panels, etc.

.. Area Lighting

.. Plant ground grid, cathodic protection, and lightning protection

.. Cable, conduit, and cable tray

- Instrumentation

.. Plant instrumentation to augment the GTG’s instrumentation and Plant DCS

6.0 Plant DCS System

.. PLC based DCS system to interface with the GTG’s and BOP

- Engineering

- Plant Project Management

.. Scheduling, Construction Management, O&M Manuals, Commissioning and Start UP, As Built drawings, etc.

Items not included in Proposal:

- Main Generator Step Up Transformers or substation

- Fire Water System

- Fuel Gas Compressors

- Water Injection into gas turbines

- Import duties, taxes, VAT, etc.

- In-country Transportation to Site (optional-separated)

- Permits including Building, Environmental, Sound, etc.