#### Class Purpose

#### To provide management, operation, and maintenance personnel with 7EA gas turbine components and generator familiarization.  Students will be able to state component purpose and function and will be able to follow flow-paths on all 7EA mechanical system prints, placing emphasis on plant operation and maintenance troubleshooting.

#### Recommended Trainees

#### Personnel requiring general familiarization specifically in the areas of routine maintenance, on-site repair, operations, troubleshooting, and performance.

| Topics I. Abbreviations/Terminology/Symbols II. Introduction – 1 day - Gas Turbine Fundamentals - Conduct of Operations - III. Gas Turbine – 2 days - Gas Turbine Fundamentals - Operation - Maintenance - Fuel System - Lube Oil System - Air Intake/Exhaust - Start System - Bleed Air System | IV. Maintenance – 1 days A. Maintenance Objectives B. Maintenance Schedules C. Inspections D. Standard Practices & Procedures V. Generator – 1 day - A. Generator Theory B. Generator Construction - Excitation / AVR - VI. BOP System Familiarization – 5 days - . A. Water Treatment Plant - Cooling Water - Instrument Air - Fire System - Waste Water Treatment System - Fuel Gas System |
| --- | --- |